## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000386253 611101C10AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386790 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000383511 761412C00600UOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000367732 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001346007 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5002613084 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001463471 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000365539 92100IC03500U08 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000392967 M4003 MANHATTAN-CDT ( US - HOUSTON ) | 5000384815 GENERAL CABLE ( US - MARION ) | 5001597457 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000390691 711101C05000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000369235 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000392962 7901418 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385419 61A601C12AWGU0GN500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002310174 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001346005 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | AE Utd.Arab Emir. | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000386254 GENERAL CABLE ( US - YORK ) | 5000386792 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383512 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000367733 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  |  | 5001463472 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000365640 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000392968 9015 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | 5000384816 MANHATTAN-CDT ( US - HOUSTON ) | 5001598994 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390692 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000369236 761404C01600W0BK800 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000392963 M4032 MANHATTAN-CDT ( US - HOUSTON ) | 5000385521 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002310176 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  | AF Afghanistan | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000386255 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386793 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001301507 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000367734 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  |  | 5001463473 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001277327 DB2ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000392969 THE OKONITE COMPANY ( US - HOUSTON ) | 5001288395 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) |  | 5000390693 THE OKONITE COMPANY ( US - HOUSTON ) | 5001635774 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001597470 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000385522 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002310177 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | AG Antigua/Barbuda | We are currently at full capacity
|  | POE - Port of Export | 5000386257 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386794 116671072 THE OKONITE COMPANY ( US - HOUSTON ) | 5001327958 DA7LU12BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000367735 RS COMPONENTS LTD ( GB - CORBY ) |  |  | 5001463474 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893562 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001597472 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002426595 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001301532 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001893583 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001599012 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385523 THE OKONITE COMPANY ( US - HOUSTON ) | 5002310179 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | AI Anguilla | Missing information / not enough information provided
|  |  | 5001429824 DW3WU01Y JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000386795 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893754 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775591 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | 5001775666 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002612713 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001599014 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  |  | 5001775657 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002332541 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5001604323 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000385525 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002310181 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | AB Abu Dhabi | Other
|  |  | 5001437360 0D06551006 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001429831 DW1WU01W JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002332625 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5002157817 12111408 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  | 5002612743 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001604325 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  |  | 5002158120 12134210 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002612717 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001893785 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429793 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  |  | AL Albania
|  |  | 5001775609 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001437366 0D06551410 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | [6 empty] | 5002612735 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | 5002612733 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001437353 0D06551204 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  |  | AM Armenia
|  |  |  | 5001775615 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | [12 empty] | 5001775602 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | AN Dutch Antilles
|  |  |  | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [15 empty] | AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2024-10-06 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | GS-001210 - 10247517.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | scan.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419083 |  | 147.66 | 5,000 | N/A | 126 |  | 2024-07-24 03:55 | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 111171025 |  |  | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J002-C309 RASTANURA NAJMAH COMMUNITY MAI | 04 BOAT | MOQ= 50 Spools price as per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5000386793 10016872 GENERAL CABLE USNUMBER 24014SUPERSEDED NUMBER TP AP-06201
6.2 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418910 |  | 214.47 | 500 | N/A | 126 |  | 2024-08-07 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced cables |  | 11151235 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | K004-G259 GSOD AVIATION DEPT. KFIA-DAM | 04 BOAT | MOQ= 50 spools price per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5000385521 10016871 GENERAL CABLE USBICC GENERAL
6.3 | WIRE; ELEC; 10 AWG; 1 CONDUCTOR; |  | WIRE ELECTRICAL; 10 AWG CONDUCTO;1 CONDUCTO;YELLOW;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418984 |  | 338.59 | 500 | N/A | 126 |  | 2025-02-23 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra advanced cables |  | 11111245 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT | MOQ= 50 Spools price per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5000386253 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 6111-01C-10AWG-U0 YL-55001437360 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0D06551006500
6.4 | WIRE; ELECTRICAL; 13.3 SQ MM (6 AWG); 1 |  | WIRE ELECTRICAL; 13.3 SQ MM (6 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;142.9 KG/KM (96 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET MOISTURE; HEAT & OIL RESISTANT; FLAME RETARDANT REEL MARKED WITH ARAMCO PURCHASE ORDER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSTALLATION AND VOLTAGE RATING. | Yes |  | SAR | each | 1000708618 |  | 943.2 | 1,000 | N/A | 126 |  | 2024-11-03 02:55 | 5002612743 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 11121065 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | MOQ= 50 spools price per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5001463471 10013002 JEDDAH CABLES COMPANY LTD SA5001463472 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001463473 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001463474 100205
6.5 | WIRE; BUILDING; 450-750V; |  | WIRE ELECTRICAL; 50 MM2 CONDUCTO;1 CONDUCTO;BLACK;450-750 V SUPPLY;NYA WIRE;12.5 MM OD;490 KG/KM LG;TR 85 DEG C MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | Yes |  | SAR | Meter | 1000420049 |  | 18.41 | 1,000 | N/A | 126 |  | 2024-12-22 02:55 | 5002158120 12134210 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12134210 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | MOQ= 1000 Meter price per meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000390691 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 05000 - U0 BK-85001301532 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158120 10044083
6.6 | CABLE; ELECTRICAL; LOW VOLTAGE; TFE; |  | CABLE ELECTRICAL LOW VOLTAGE; TFE TYPE;420 STRANDS CONDUCTO;POWER TYPE;21.15 SQ MM (4 AWG) CONDUCTO;600 V SUPPLY;1 CONDUCTO;8.8 MM (0.346 IN) CABLE OD;238 KG/KM (160 LBS PER 1000 FT) LG;HEAVY GLASS BRAID SILICONE JACKET;0.63 MM (0.025 IN) INSUL TH;ASTM B160;FOR MOTOR & TRANSFORMER LEADS;CARTON OR FULLY PROTECTED REEL;TR 250 DEG C;WRAPPED TEFLON TAPE INSUL;HIGH TEMPERATURE NICKEL CLAD COPPER CONDUCTO;UL-83;APPARATUS; CLASS K STRANDED PER ASTM B172; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | Discontinued Item | SAR | Feet | 1000414117 |  |  | 72 |  |  |  | 2024-12-22 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002310177 10013724 SAUDI CABLE COMPANY SA5002310174 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5002310181 10046468 ELSEWEDY CABLES COMPANY SA5002310176 10013206 MIDDLE EAST SPECIALI
6.7 | WIRE; ELECTRICAL; 16 MM2; 1 |  | WIRE ELECTRICAL; 16 MM2 CONDUCTO;1 CONDUCTO;YELLOW;600V SUPPLY;PVC WIRE;8.5 MM OD;TR 75 DEG C;STRANDED 126/0.4 MM;PVC INSUL;STRANDED COPPER CONDUCTO;POWER TYPE;BS-6231;FLEXIBLE; PVC COVERED; SUPPLIED IN 25 M REELS | Yes |  | SAR | Role | 1000412952 |  | 6.67 | 1 | N/A | 126 |  | 2024-12-22 02:55 | 5002157817 12111408 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12111408 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | MOQ= 1000m price per meter |  | <Strong>Manufacturer Part Number Text :</Strong>5002157817 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12111408SUPERSEDED NUMBER 121115905001775591 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000367734 100137
6.8 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.56 MM (0.140 IN) OD;TR 90 DEG C MAXIMUM;SOLID;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;MOISTURE HEAT; OIL RESISTANT; FLAME RETARDANT; CARTON OR FULLY PROTECTED REEL; APPROX 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | Discontinued Item | SAR | Feet | 1000420843 |  |  | 2,810 |  |  |  | 2024-12-19 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000392967 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M40035000392968 10019733 AMERICAN INSULATED WIRE CORPORATION USLEVITON MANUFACTURING COMPANYNUMBER 9015MAT TYPE SIS5001604325 10013
6.9 | WIRE; SWITCHBOARD; 600V; |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.81 MM (0.150 IN) OD;29.8 KG/KM (20 LBS PER 1000 FT) LG;TR 90 DEG C MAXIMUM;41 STRANDS;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;CLASS K PER ASTM B174; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 0.8 MM (0.030 IN) INSUL THK; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000420812 |  | 178.87 | 3,831 |  | 126 |  | 2024-12-22 02:55 | 5002612733 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 11281020 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ= 50 Spools price per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5000392962 10016871 GENERAL CABLE USBICC GENERALCATALOG NUMBER 79014-185000392963 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M40325001893785 10037887 EGYTECH CABLES EL SEWEDY EG50026127
6.10 | WIRE; ELECTRICAL; 13.3 MM2 (6 AWG)/7 |  | WIRE ELECTRICAL; 13.3 MM2 (6 AWG)/7 STRANDS CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THW WIRE;6.35 MM (1/4 IN) OD;137 KG/KM (92.8 LBS PER 1000 FT) LG;TR 85 DEG C MAXIMUM;CLASS B;PVC INSUL;COPPER CONDUCTO;IPCEA S-70-547; ANSI C8.35; UL;MEDIUM HARD-DRAWN; CONCENTRIC-LAY-STRANDED; 0.76 MM (0.030 IN) COVER THK | No | Discontinued Item | SAR | Feet | 1000412349 |  |  | 1,000 |  |  |  | 2024-10-21 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001597457 10013002 JEDDAH CABLES COMPANY LTD SA5001598994 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )
6.11 | WIRE; SWITCHBOARD; 600V; |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.81 MM (0.150 IN) OD;29.8 KG/KM (20 LBS PER 1000 FT) LG;TR 90 DEG C MAXIMUM;41 STRANDS;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;CLASS K PER ASTM B174; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 0.8 MM (0.030 IN) INSUL THK; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000420812 |  | 178.87 | 1,000 |  | 126 |  | 2024-12-22 02:55 | 5002612733 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 11281020 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | MOQ= 50 Spools price per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5000392962 10016871 GENERAL CABLE USBICC GENERALCATALOG NUMBER 79014-185000392963 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M40325001893785 10037887 EGYTECH CABLES EL SEWEDY EG50026127
6.12 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER & CONTROL TYPE;5 (6/10) KV SUPPLY;12 CONDUCTO;6 SQ MM CONDUCTO;7 STRANDS CONDUCTO;25.2 MM (0.990 IN) CABLE OD;COPPER CONDUCTO;IEC 228 CLASS 2;XLPE INSUL;BLACK;PVC JACKET;TR 90 DEG C;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;CARTON OR FULLY PROTECTED REEL;XLPE TYPE;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 12; ABRASION; MOISTURE ACID; OIL & SUNLGHT RESISTANT; FLAME RETARDANT PER IEC 332.3; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000418116 |  | 36.21 | 500 |  | 126 |  | 2024-12-22 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra advanced Cables |  | 19925243 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | MOQ= 500m price per meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000383511 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-12C-00600-UO BK85001327958 10013002 JEDDAH CABLES COMPANY LTD SAPART NUMBER DA7LU12BEG5001893754 10037887 EGYTECH CABL
6.13 | CABLE; GROUNDING; 35 SQ MM; 7 S |  | CABLE; GROUNDING TYPE;35 SQ MM DIA;7 STRANDS;BARE COPPER;IEC 228;1 CONDUCTOR; SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED; 7.4 MM (0.2900 IN) 0D; 301 KG/KM | Yes |  | SAR | Meter | 1000412305 |  | 12.22 | 1,000 |  | 126 |  | 2024-12-23 02:55 | 5002612713 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 14110080 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT | MOQ= 1000m price per meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000365539 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 9210-0IC-03500-U0-85001893562 10037887 EGYTECH CABLES EL SEWEDY EG5002612713 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO
6.14 | CORD; ELECTRICAL; 4 CONDUCTOR; 16 SQ |  | CORD ELECTRICAL; 4 CONDUCTO;16 SQ MM CONDUCTO;SOLID STRAND CONDUCTO;1.0 KV SUPPLY;COPPER CONDUCTO;POWER;25.1 MM OD;BLACK;PVC; GALVANIZED-STEEL WIRE ARMORED JACKET;XLPE INSUL;ARMORED SWA; KM; JACKET MATERIAL SPEC; IEC-502; INSULATION THICKNESS; 2 MM; PACKAGING; REE | No | Discontinued Item | SAR | Meter | 1000413456 |  |  | 100 |  |  |  | 2024-12-22 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000369236 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 7614-04C01600-W0BK8-005001893583 10037887 EGYTECH CABLES EL SEWEDY EG5002612717 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO.
6.15 | WIRE; MAGNET; 0.823 MM2 (18 AWG); 1 |  | WIRE MAGNET; 0.823 MM2 (18 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;HEAVY POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; NET 7.5 KG/KM (5.02 LBS PER 1000 FT); APPROX 36.3 KG (80 LBS) PER SPOOL MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND A BUCKET TO PRECLUDE DAMAGE DURING SHIPPING AND HANDLING | No | Discontinued Item | SAR | US pound | 1000420613 |  |  | 80 |  |  |  | 2024-12-23 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001346005 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.16 | WIRE; MAGNET; 1.04 MM2 (17 AWG); 1 |  | WIRE MAGNET; 1.04 MM2 (17 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; NET 9.4 KG/KM (6.34 LBS PER 1000 FT); APPROX 36.3 KG (80 LBS) PER SPOOL MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No | Discontinued Item | SAR | US pound | 1000420616 |  |  | 15 |  |  |  | 2024-12-23 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001346007 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.17 | CORD; ELECTRICAL; 1.31MM2 (16 AWG) 600V |  | CORD ELECTRICAL; 3 CONDUCTO;1.31 MM2 (16 AWG) CONDUCTO;7 STRANDS CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC;10.5 MM OD;BLACK; WHITE; GREEN;PVC JACKET;THERMOPLASTIC OR TFN INSUL;TR 90 DEG C;150 KG/KM (101 LBS/1000 FT) LG;FOR PENDANT OR PORTABLE;UL-62;STRANDED PER ASTM B174; FOR EXTRA HARD USE IN DAMP LOCATIONS;ARTON OR FULLY PROTECTED REEL; MIN 26 MAX 104 STRANDS; HARD SERVICE CORD; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER; AND PACKAGING TO CONFORM TO UL-62; 0.8 MM (0.030 IN) THK INSULATION; 1.5 MM (0.062 IN) TH COVER; ORIGINAL CABLE WAS SUPPLIED BY FURUKAWA CABLE PART# 2CY-912013 REV 1; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 62; UL OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | Discontinued Item | SAR | Feet | 1000418808 |  |  | 11,000 |  |  |  | 2024-09-29 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000384815 10016865 GENERAL CABLE USBICC CABLES CORPORATION5000384816 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIES5002426595 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.5001288395 100197
6.18 | CABLE ELECTRICAL; 300/500V; 3; STRANDED; |  | CABLE ELECTRICAL; 300/500V SUPPLY;3 CONDUCTO;STRANDED CONDUCTO;9.7 MM CABLE OD;POWER TYPE;FLEXIBLE COPPER CONDUCTO;PVC INSUL;TR 70 DEG C;SHORT CIRCUIT TEMPRATURE 160 DEG C. (100 METER PER COIL) | No | Discontinued Item | SAR | Meter | 1001001835 |  |  | 1 |  |  |  | 2024-12-23 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | K003-C300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002613084 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL22: Answer Type: Text (multiple lines) Acceptable Values: Any Value