## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5002222133 61A601C10AWGU0BL800 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001301553 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | AE Utd.Arab Emir. | 5000381000 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385292 61A601C12AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000391248 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002322162 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002613071 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002612738 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AF Afghanistan | 5000381001 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385294 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000391249 THE OKONITE COMPANY ( US - HOUSTON ) | 5002322163 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002921189 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | AG Antigua/Barbuda | 5000381002 761401C02500U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385295 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001301540 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002322164 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We are currently at full capacity
|  | POE - Port of Export |  |  | AI Anguilla | 5000381003 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385297 THE OKONITE COMPANY ( US - HOUSTON ) | 5002158130 12154260 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002322165 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
[5 empty] | AB Abu Dhabi | 5000381004 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000385299 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5002322166 10006077280005 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | Other
[5 empty] | AL Albania | 5001301497 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001429779 DW2WU01B JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5002613077 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - Jeddah )
[5 empty] | AM Armenia | 5001893702 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001437350 0D06551203 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  |  | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - Riyadh )
[5 empty] | AN Dutch Antilles | 5002143812 C316XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775600 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh )
[5 empty] | AO Angola | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
[5 empty] | AQ Antarctica | 5002332587 ELSEWEDY CABLES COMPANY ( SA - Yanbu )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2024-09-29 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | Aramco_4203179760 TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | 10247152.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | WIRE;ELEC; 3.31MM2 (12 AWG) BLACK - 600V |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 150 M/COIL (500 FT/COIL); NYLON JACKET; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418878 |  | 235.51 | 3,330 | N/A | 84 |  | 2024-08-10 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra cables |  | 11131035 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | MOQ= 50 spools PRICE PER SPOOL |  | <Strong>Manufacturer Part Number Text :</Strong>5000385292 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 61A6-01C12AWG-U0BK5-00SUPERSEDED NUMBER 6111-01C-12AWG-U0 BK55000385295 10016872 GENERAL CABLE USNUMBER 240125001437350 10
6.2 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;10 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 10 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893719 |  | 26.64 | 40 | N/A | 84 |  | 2024-08-10 03:55 | 5002613077 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | MOQ= 2000 M |  | <Strong>Manufacturer Part Number Text :</Strong>5002322166 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728-00055002613077 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322163 10013724 SAUDI | MS8314004SHTS050120055020646381000101.pdf
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;25 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;9.9 MM (0.39 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTUER MARKINGS;210 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417495 |  | 8.58 | 500 |  | 84 |  | 2024-08-10 03:55 | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT | MOQ= 2000M |  | <Strong>Manufacturer Part Number Text :</Strong>5000381002 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-01C-02500-U0 BK85001893702 10037887 EGYTECH CABLES EL SEWEDY EG5002157848 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA
6.4 | WIRE;ELEC; 5.26MM2 (10 AWG) GREEN- 600V |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419212 |  | 368.5 | 5,500 | N/A | 84 |  | 2024-08-10 03:55 | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | Z004-C137 DHAHRAN DH SABGSD NORTH DH WAR | 04 BOAT | MOQ= 50 SPOOLS PRICE PER SPOOL |  | <Strong>Manufacturer Part Number Text :</Strong>5000387556 10016872 GENERAL CABLE USNUMBER 24010SUPERSEDED NUMBER TP AP-062015000387557 10020512 THE OKONITE COMPANY USNUMBER 116-67-11345000387558 10021675 SOUTHWIRE COMPANY INCORPORATED USMAT TYPE T
6.5 | WIRE;ELEC; 5.26MM2 (10 AWG) BLACK- 600V |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 368.42 | 6,000 | N/A | 84 |  | 2024-08-10 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | Z004-C137 DHAHRAN DH SABGSD NORTH DH WAR | 04 BOAT | MOQ= 50 SPOOLS PRICE PER SPOOL |  | <Strong>Manufacturer Part Number Text :</Strong>5000387654 10016872 GENERAL CABLE USNUMBER 24010SUPERSEDED NUMBER TP AP-062015000387655 10020512 THE OKONITE COMPANY USNUMBER 116-67-11315002158074 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.
6.6 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT) | Yes |  | SAR | Meter | 1000836395 |  | 357.92 | 500 | N/A | 84 |  | 2025-04-20 03:55 | 5002613071 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | MOQ= 50 SPOOLS PRICE PER SPOOL |  | <Strong>Manufacturer Part Number Text :</Strong>5002222133 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-01C10AWG-U0BL8-005002613071 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002921189 10013827 SAUDI MODERN
6.7 | WIRE; ELECTRICAL; 185 MM2; 1 |  | WIRE ELECTRICAL; 185 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;21.6 MM OD;182 KG/KM LG;TR 85 DEG C MAXIMUM;37 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | Yes |  | SAR | Meter | 1000420168 |  | 77.87 | 1,000 |  | 84 |  | 2024-08-10 03:55 | 5002158130 12154260 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ= 1500 M |  | <Strong>Manufacturer Part Number Text :</Strong>5001301540 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158130 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12154260SUPERSEDED NUMBER 121512605000391248 10013
6.8 | WIRE; ELECTRICAL; 70 MM2 (2/0 AWG); 1 |  | WIRE ELECTRICAL; 70 MM2 (2/0 AWG) CONDUCTO;1 CONDUCTO;YELLOW WITH GREEN STRIPE;450/750 V SUPPLY;CU/PVC WIRE;14.7 MM (0.580 IN) OD;736.6 KG/KM (495 LBS PER 1000 FT) LG;TR 85 DEG C;CLASS A & AA;PVC INSUL;STRANDED COPPER CONDUCTO;BUILDING TYPE;IEC 60227;THERMOPLASTIC WET AND DRY LOCATION GRD; | Yes |  | SAR | Meter | 1000438852 |  | 29.07 | 1,695.2 |  | 84 |  | 2024-08-10 03:55 | 5002612738 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT | MOQ= 2000M |  | <Strong>Manufacturer Part Number Text :</Strong>5001301553 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002612738 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value