## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000365642 92100IC05000U08 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000372967 M1223 MANHATTAN-CDT ( US - HOUSTON ) | 5000442283 SAUDI CABLE COMPANY ( SA - Jeddah ) | AE Utd.Arab Emir. | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002322187 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001117385 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000377323 761403C10AWGUOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000365643 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000372968 22TE19343SXE THERMAX ( US - WHITESTONE ) | 5001302341 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | AF Afghanistan | 5000377320 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5002322188 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001117387 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5000377325 3625 ROME CABLE CORPORATION ( US - ARLINGTON ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5001277328 DB3ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000372969 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | 5001893794 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AG Antigua/Barbuda | 5000377321 THE OKONITE COMPANY ( US - HOUSTON ) | 5002322189 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001117389 THE OKONITE COMPANY ( US - RICHMOND ) | 5000377326 THE OKONITE COMPANY ( US - HOUSTON ) | We are currently at full capacity
|  | POE - Port of Export | 5001893563 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001470695 OKAZAKI MANUFACTURING COMPANY ( JP - CHUO-KU, TOKYO ) | 5002332639 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | AI Anguilla | 5001427180 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002322190 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001117413 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5001427181 DA7LU03BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | Missing information / not enough information provided
|  |  | 5002612714 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001470780 SUMITOMO ELECTRIC INDUSTRIES L ( JP - HITACHI-SHI, IBARAKI-KEN ) |  | AB Abu Dhabi | 5001437334 0102R10306 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002322191 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001569308 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001437335 0102R10307 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | Other
|  |  |  | 5001470822 WATLOW ELECTRIC MANUFACTURING ( US - SAINT LOUIS ) |  | AL Albania | 5001893657 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002613082 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001592573 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5001893658 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
|  |  |  | 5001470896 THE OKONITE COMPANY ( US - HOUSTON ) |  | AM Armenia | 5002243981 GENERAL CABLE ( US - MARION ) |  | 5001606605 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5002243982 GENERAL CABLE ( US - MARION )
|  |  |  | 5001471050 HEXATRONIC CABLES AND INTERCON ( SE - HUDIKSVALL ) |  | AN Dutch Antilles | 5002332554 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | 5001894078 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5002332555 ELSEWEDY CABLES COMPANY ( SA - Yanbu )
|  |  |  | 5001471145 PRYSMIAN POWERLINK SRL ( IT - MILAN ) |  | AO Angola |  |  | 5002205985 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT )
|  |  |  | 5001471181 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  | AQ Antarctica |  |  | 5002332742 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
|  |  |  | 5001893627 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | AR Argentina |  |  | 5002364369 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
[6 empty] | AS Samoa,American |  |  | 5002364370 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
[6 empty] | AT Austria |  |  | 5002364371 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
[6 empty] | AU Australia |  |  | 5002527068 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
[6 empty] | AW Aruba |  |  | 5002983461 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
[6 empty] | AZ Azerbaijan |  |  | 5002983462 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;4 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 4 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893724 |  |  | 200 |  |  |  | 2024-12-23 02:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002613082 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322188 10013724 SAUDI CABLE COMPANY SA5002322191 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5002322189 1 | MS8314004SHTS050120055021124311000101.pdf
6.2 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;177.35 SQ MM (350 MCM) CONDUCTO;37 STRANDS CONDUCTO;52.3 MM (2.060 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;2.9 MM (0.115 IN) INSUL TH;133% INSUL LV;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;6200 KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL; (1000 FT/COIL);MV TYPE;FOR DIRECT BURIAL; CONDUIT DUCT 15-SAMSS-502;DRY AND WET LOCATIONS; EXTRUDED; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 2.8 MM (0.11 IN) JKT TH | No |  | USD | Feet | 1000414986 |  |  | 100 |  |  |  | 2025-06-01 03:55 | [6 empty] | Normal/staged | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001569308 30000865 SAUDI CABLE COMPANY SA5002364371 30006546 BAHRA ADVANCED CABLES MANUFACTURER SACO. LTD.5002364369 30004750 BAOSHENG SCIENCE & TECHNOLOGY CNINNOVATION CO. LTD5002364370 30005137 QING | 15SAMSS502032720235021136097000101.pdf
6.3 | CABLE; GROUNDING; 50 SQ MM; 19 | CABLE; GROUNDING TYPE;50 SQ MM DIA;19 STRANDS;BARE COPPER;IEC 228 CLASS 2;SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED; CAT NO CXX1-14X | No |  | USD | Meter | 1000412308 |  |  | 500 |  |  |  | 2025-08-03 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000365642 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 9210-0IC-05000-U0-85001893563 10037887 EGYTECH CABLES EL SEWEDY EG5002612714 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO
6.4 | CORD; ELECTRICAL; 3 CONDUCTOR; 3.31 | CORD ELECTRICAL; 3 CONDUCTO;3.31 SQ MM (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;9.9 MM (0.390 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;164 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-1569;CLASS B; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.80 MM(0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000416479 |  |  | 1,641 |  |  |  | 2025-03-09 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000377227 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-03C-12AWG UO BK7SUPERSEDED NUMBER 7614-03C-12AWG UO BK85001893657 10037887 EGYTECH CABLES EL SEWEDY EG5001437334 10013
6.5 | CORD; ELECTRICAL; 3 CONDUCTOR; 5.25 | CORD ELECTRICAL; 3 CONDUCTO;5.25 SQ MM (10 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;MOISTURE; HEAT OIL GASOLINE; ACID ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; REEL MARKED WITH; ARAMCO PURCHASE ORDER STOCK NUMBER SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD 44 & 1277; UL OR EQUIVALENT APROVED LABELED OR LISTED REQUIRED; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; CONDUCTOR MATERIAL SPEC; ASTM B8; CLASS B; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000416513 |  |  | 500 |  |  |  | 2025-03-09 03:55 | [6 empty] | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000377323 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-03C-10AWG UO BK85000377325 10017431 ROME CABLE CORPORATION USNUMBER 36255001893658 10037887 EGYTECH CABLES EL SEWEDY E
6.6 | CORD; ELECTRICAL; 3 CONDUCTOR; 0.33 | CORD ELECTRICAL; 3 CONDUCTO;0.33 SQ MM (22 AWG) CONDUCTO;19 X 34 STRANDS CONDUCTO;600 V SUPPLY;SILVER PLATE COPPER CONDUCTO;TFE OR PFA;3.2-4 MM (0.126-0.156 IN) OD;WHITE;TEF OR PFA TEFLON TAPE JACKET;TEFLON; SIVER BRAID PLATED COPPER SHIELD INSUL;TR -65 TO 200 DEG C;38 KG/KM (25.3 LBS PER 1000 FT) LG;FOR HIGH TEMPERATURE; CABLE TRAY; CONDUIT; DUCT; UL-83;MIL-W-16878/4 (TYPE-E;BLACK; WHITE; RED; 0.25 MM (0.010 IN) INSULATION TH; 2.5 MM (0.100 IN) OUTER JACKET TH; BLACK AND WHITE INSULATION; OIL; GASOLINE; ACID; ALKALI; MOISTURE FLAME AND SUNLIGHT RESISTANT; PASSES VW-1 VERTICAL WIRE FLAME TEST; MINIMUM OF 152 M (500 FT) UNCUT LENGTH PER REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO ICEA UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; OUTER MARKINGS; VOLTAGE; NUMBER; SIZE OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURED; INSULATION THICKNESS; 0.28 MM (0.011 IN); CONDUCTOR MATERIAL SPEC; ASTM B8 CLASS C; SHIELDING MATERIAL; SILVER PLATED COPPER BRAID; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000415131 |  |  | 100 |  |  |  | 2025-01-06 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000372968 10024109 THERMAX USCABLE DESIGN TECHNOLOGIES -CDTNUMBER 22-TE-1934(3)SXE5000372967 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M12235001470695 10001266 OKAZAKI MANUFACTURING CO
6.7 | CABLE; ELECTRICAL; 600/1000 V; 3 CORE | CABLE ELECTRICAL; 600/1000 V SUPPLY;3 CORE WITH NEUTRAL CONDUCTOR CONDUCTO;25 MM2 (4 AWG) CONDUCTO;STRANDED CONDUCTO;POWER TYPE;34.0 MM (1.340 IN) CABLE OD;UF TYPE;COPPER CONDUCTO;1.5 MM (0.060 IN) INSUL TH;PVC INSUL;TR 60 DEG C;PVC JACKET;BLACK;ASTM B8;ASTM D1047;ASTM D1047;UNARMOURED ARMOR;REEL;FOR DIRECT BURIAL;2276.8 KGS PER KM (1530 LBS PER 1000 FT) LG;UL LISTED;100 METER ROLL | No |  | USD | Meter | 1000438679 |  |  | 200 |  |  |  | 2024-12-27 02:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893794 10037887 EGYTECH CABLES EL SEWEDY EG5001302341 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000442283 10013724 SAUDI CABLE COMPANY SA5002332639 10046468 ELSEWEDY CABLES CO
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf