## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000927184 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000920650 SUMITOMO ELECTRIC INDUSTRIES L ( JP - HITACHI-SHI, IBARAKI-KEN ) | 5002222220 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AE Utd.Arab Emir. | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000927185 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001272232 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002251357 DEMIRER KABLO TESISLERI SANAYI ( TR - BOZUYUK ) | AF Afghanistan | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000927186 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5001318577 DEMIRER KABLO TESISLERI SANAYI ( TR - BOZUYUK ) | 5002251370 SUMITOMO ELECTRIC INDUSTRIES L ( JP - OSAKA ) | AG Antigua/Barbuda | We are currently at full capacity
|  | POE - Port of Export | 5000927190 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5001336123 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5002263721 SUMITOMO ELECTRIC INDUSTRIES L ( JP - HITACHI-SHI, IBARAKI-KEN ) | AI Anguilla | Missing information / not enough information provided
|  |  | 5000927191 THE OKONITE COMPANY ( US - RICHMOND ) | 5001692508 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5002280524 FURUKAWA ELECTRIC CO LTD ( JP - ICHIHARA-SHI, CHIBA-KEN ) | AB Abu Dhabi | Other
|  |  | 5000927192 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5001871782 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5002292537 BAOSHENG HIGH VOLTAGE CABLE CO ( CN - BAOYING YANGZHOU ) | AL Albania
|  |  | 5001692502 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5001929481 BAOSHENG HIGH VOLTAGE CABLE CO ( CN - BAOYING YANGZHOU ) | 5002292860 SHENYANG FURUKAWA CABLE CO LTD ( CN - SHENYANG ) | AM Armenia
|  |  | 5001779380 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | 5002043029 SUMITOMO ELECTRIC INDUSTRIES L ( JP - OSAKA ) | 5002300526 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) | AN Dutch Antilles
|  |  | 5001871781 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5002159182 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) | 5002307724 @@ LS CABLE & SYSTEM LTD ( KR - GUMI, GYEONGBUK ) | AO Angola
|  |  | 5001920977 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) | 5002280520 FURUKAWA ELECTRIC CO LTD ( JP - ICHIHARA-SHI, CHIBA-KEN ) | 5002310820 SILEC CABLE ( FR - MONTEREAU ) | AQ Antarctica
|  |  | 5002159181 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | 5002292579 SHENYANG FURUKAWA CABLE CO LTD ( CN - SHENYANG ) | 5002580009 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | AR Argentina
|  |  | 5002300525 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) | 5002379189 DUBAI CABLE COMPANY (PVT) LTD ( AE - DUBAI ) | 5002581624 TAIHAN CABLE & SOLUTION CO LTD ( KR - DANGJIN, CHUNGNAM ) | AS Samoa,American
|  |  | 5002332034 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | 5002430604 @@ LS CABLE & SYSTEM LTD ( KR - GUMI, GYEONGBUK ) | 5002896720 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | AT Austria
|  |  | 5002366569 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | 5002476712 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) |  | AU Australia
|  |  | 5002379188 DUBAI CABLE COMPANY (PVT) LTD ( AE - DUBAI ) | 5002580008 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) |  | AW Aruba
|  |  | 5002476711 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | 5002581623 TAIHAN CABLE & SOLUTION CO LTD ( KR - DANGJIN, CHUNGNAM ) |  | AZ Azerbaijan
|  |  | 5002580007 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | 5003100359 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  | BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 69 KV SUPPLY; 1 CONDUCTOR; 400 SQ MM (750 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000011.pdf
6.2 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 69 KV SUPPLY; 1 CONDUCTOR; 630 SQ MM (1250 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000021.pdf
6.3 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 69 KV SUPPLY; 1 CONDUCTOR; 800 SQ MM (1750 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000031.pdf
6.4 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 69 KV SUPPLY; 1 CONDUCTOR; 1200 SQ MM CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000041.pdf
6.5 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 50 SQ MM (1/0 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000051.pdf
6.6 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 185 SQ MM (350 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000061.pdf
6.7 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 400 SQ MM (750 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000071.pdf
6.8 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 1000 SQ MM (2000 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000081.pdf
6.9 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 500 SQ MM (1000 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000091.pdf
6.10 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 15 KV OR 12/20 KV SUPPLY; 1 CONDUCTOR; 240 SQ MM (500 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 1;000 METERS | No |  | USD | each | 6000000797 |  |  | 1,000 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000101.pdf
6.11 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 69 KV SUPPLY; 1 CONDUCTOR; 400 SQ MM (750 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000011.pdf
6.12 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 69 KV SUPPLY; 1 CONDUCTOR; 630 SQ MM (1250 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000021.pdf
6.13 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 69 KV SUPPLY; 1 CONDUCTOR; 800 SQ MM (1750 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000031.pdf
6.14 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 69 KV SUPPLY; 1 CONDUCTOR; 1200 SQ MM CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000041.pdf
6.15 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 50 SQ MM (1/0 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000051.pdf
6.16 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 185 SQ MM (350 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000061.pdf
6.17 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 400 SQ MM (750 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000071.pdf
6.18 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 1000 SQ MM (2000 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000081.pdf
6.19 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 500 SQ MM (1000 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000091.pdf
6.20 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 15 KV OR 12/20 KV SUPPLY; 1 CONDUCTOR; 240 SQ MM (500 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 1;000 METERS | No |  | USD | each | 6000000797 |  |  | 1,000 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000101.pdf
6.21 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 15 KV OR 12/20 KV SUPPLY; 3 CONDUCTOR; 150 SQ MM (300 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 800 METERS | No |  | USD | each | 6000000797 |  |  | 800 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000151.pdf
6.22 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 15 KV OR 12/20 KV SUPPLY; 1 CONDUCTOR; 300 SQ MM (600 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 800 METERS | No |  | USD | each | 6000000797 |  |  | 800 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000161.pdf
6.23 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 1 CONDUCTOR; 240 SQ MM (500 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED REQUIRED CABLE LENGTH IS 800 METERS | No |  | USD | each | 6000000797 |  |  | 800 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000171.pdf
6.24 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 35 KV SUPPLY; 3 CONDUCTOR; 185 SQ MM (350 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED REQUIRED CABLE LENGTH IS 800 METERS | No |  | USD | each | 6000000797 |  |  | 800 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000181.pdf
6.25 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 69 KV SUPPLY; 1 CONDUCTOR; 500 SQ MM (1000 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000191.pdf
6.26 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 115 KV SUPPLY; 1 CONDUCTOR; 1600 SQ MM (3200 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000201.pdf
6.27 | CABLE; POWER; 69 KV THROUGH 138 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 115 KV SUPPLY; 1 CONDUCTOR; 1200 SQ MM (2400 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000799 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000211.pdf
6.28 | CABLE; POWER; 230 KV | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 230 KV SUPPLY; 1 CONDUCTOR; 630 SQ MM (1200 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000012143 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150400 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751504001001000490000221.pdf
6.29 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 15 KV OR 12/20 KV SUPPLY; 1 CONDUCTOR; 400 SQ MM (750 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000231.pdf
6.30 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 15 KV OR 12/20 KV SUPPLY; 1 CONDUCTOR; 630 SQ MM (1250 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000241.pdf
6.31 | CABLE; POWER; 5KV THROUGH 35 KV | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 15 KV OR 12/20 KV SUPPLY; 1 CONDUCTOR; 95 SQ MM (3/0) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL; UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; ARMORED. REQUIRED CABLE LENGTH IS 500 METERS | No |  | USD | each | 6000000797 |  |  | 500 |  |  |  | 2024-11-30 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | E - Exempt |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  |  | 10010004901751502001001000490000251.pdf
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK35: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf