## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5001117783 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001122018 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5001122099 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001117819 MARMON INDUSTRIAL ENERGY & INF ( US - MOUNT PLEASANT ) | 5001122050 Belden Inc ( US - RICHMOND ) | AF Afghanistan | 5001122121 Belden Inc ( US - RICHMOND ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5001117845 THE OKONITE COMPANY ( US - ASHTON ) | 5001122066 MARMON INDUSTRIAL ENERGY & INF ( US - MOUNT PLEASANT ) | AG Antigua/Barbuda | 5001122157 MARMON INDUSTRIAL ENERGY & INF ( US - MOUNT PLEASANT ) | We are currently at full capacity
|  | POE - Port of Export | 5002327237 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) | 5001122092 THE OKONITE COMPANY ( US - ASHTON ) | AI Anguilla | 5001122183 THE OKONITE COMPANY ( US - ASHTON ) | Missing information / not enough information provided
|  |  | 5002338600 Belden Inc ( US - RICHMOND ) | 5002327243 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) | AB Abu Dhabi | 5002327244 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) | Other
|  |  | 5002486360 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002486371 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AL Albania | 5002486373 SAUDI CABLE COMPANY ( SA - JEDDAH )
|  |  | 5002647308 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | 5002647313 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | AM Armenia | 5002647315 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK )
|  |  | 5002647309 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE ) | 5002647314 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE ) | AN Dutch Antilles | 5002647316 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE )
AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
2.1 | Do you accept the bidding instructions & conditions in this section? |  |  |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  |  |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  |  |  | 2024-12-24 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  |  |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  |  |  | 10253734.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  |  |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  |  |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  |  |  | scan.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
6.1 | CABLE; 300V PLTC 1/PR 16 AWG (1.31MM2) O |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; PLTC TYPE;7 STRANDS CONDUCTO;INSTRUMENTATION TYPE;1.31 SQ MM (16 AWG) CONDUCTO;300 V SUPPLY;2 (1 PAIR) CONDUCTO;6.1 MM (0.240 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME MARKINGS;60 KG/KM (40 LBS PER 1000 FT) LG;PVC JACKET;NEC-725;0.38 MM (0.015 IN) INSUL TH;ASTM B8; CLASS B;ALUM MYLAR TAPE SHIELDIN;FOR CABLE TRAY; CONDUIT; DUCT; AERIAL;NEC 725;NEC 725;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C DRY; 75 DEG C WET;XLPE OR PVC INSUL;COPPER CONDUCTO;34-SAMSS-913;SHIELDED; TWISTED; WITH BOLT TEX; COPPER DRAIN WIRE; FLAME AND SUNLIGHT RESISTANT; 0.15 MM (0.020 IN) OUTER JACKET THICKNESS; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO 34-SAMSS-913; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000420382 |  | 0.92 | 5,000 |  | 98 |  | 2025-01-29 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA ADVANCED CABLES |  | 90006351 |  |  | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | MOQ : 2000 METER Price as per METER |  | <Strong>Manufacturer Part Number Text :</Strong> 5002486371 30000865 SAUDI CABLE COMPANY SA PART NUMBER T413204 SUPERSEDED NUMBER T403178 5000391758 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01P16AWG-U0BK7-03 SUPERSEDED NUMBER 021X-01P16AWG-U0BK7-PL 021Z-01P16AWG-U0BK7-PL 5002647313 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002647314 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5000391880 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER 1030A 5000391883 10020512 THE OKONITE COMPANY US PART NUMBER 264-10-4951 5000391882 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER 2X52-6951A-200R1 SUPERSEDED NUMBER 1852-6860R 5001122050 30001526 Belden Inc US Fomerly; BELDEN WIRE AND CABLE NUMBER 1030A 5001122066 30001824 MARMON INDUSTRIAL ENERGY & INFRASTR US NUMBER - 5001122092 30001857 THE OKONITE COMPANY US PART NUMBER 264-10-4951 5002327243 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5001470701 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5001471105 10024603 $$ ABB AUTOMATION PRODUCTS GMBH DE INSTRUMENTATION 5001470828 10023035 WATLOW ELECTRIC MANUFACTURING US 5002638938 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002638937 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5001470652 10028102 ** CBI ELECTRIC ABERDARE ATC TELECO ZA 5001470792 10026424 SUMITOMO ELECTRIC INDUSTRIES LTD JP HITAKA/MINATO WORKS 5001471007 10000947 ** LEONI KERPEN GMBH DE 5001471056 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5002486014 10013724 SAUDI CABLE COMPANY SA PART NUMBER T413204 SUPERSEDED NUMBER T403178 5001471151 10024590 PRYSMIAN POWERLINK SRL IT 5001122018 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01P16AWG-U0BK7-03 SUPERSEDED NUMBER 021X-01P16AWG-U0BK7-PL 021Z-01P16AWG-U0BK7-PL | 502119498400010134SAMSS9131000999166.pdf
6.2 | CABLE; E&I; LOW VOLTAGE 300V; 16 AWG |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC/NEC-CL3/PLTC TYPE;7 STRANDS CONDUCTO;INSTRUMENTATION; SHIELDED TYPE;1.31 SQ MM (16 AWG) CONDUCTO;300 V SUPPLY;1 TRIAD; (3 SINGLE INSULATED CONDUCTORS AND TWISTED TOGETHER CONDUCTO;6.6 MM (0.260 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME MARKINGS;74 KG/KM (50 LBS PER 1000 FT) LG;PVC JACKET;NEC-725;0.38 MM (0.015 IN) INSUL TH;ASTM B8; CLASS B;ALUM MYLAR TAPE/BELD FOIL SHIELDIN;FOR CABLE TRAY; CONDUIT; DUCT; AERIAL;UL 1581;NEC 725;CARTON/OR FULLY PROTECTED REEL; (1000 FT/COIL);TR 90 DEG C DRY; 75 DEG C WET;XLPE OR PVC INSUL;COPPER CONDUCTO;34-SAMSS-913;NEC-725 CL 2813;TWISTED; WITH BOLTTEXT; COPPER DRAIN WIRE; FLAME AND SUNLIGHT RESISTANT; 1 TRIAD; 0.51 MM (0.020 IN) OUTER JACKET THICKNESS; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO 34- SAMSS-913; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000420387 |  | 1.22 | 1,650 |  | 98 |  | 2025-01-29 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAGRA ADVANCED CABLES |  | 90029351 |  |  | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | MOQ : 2000 METER Price as per METER |  | <Strong>Manufacturer Part Number Text :</Strong> 5002486373 30000865 SAUDI CABLE COMPANY SA PART NUMBER T413203 5000391884 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 021X-01T16AWG-U0BK7-PL SUPERSEDED NUMBER 0211-01T-16AWG-UO BK8 0211-01T16AWG-UOBK7-03 021X-01T16AWG-U0BK7-PL 021Z-01T16AWG-U0BK7-PL 0224-01T16AWG-U0BK7-03 5002647315 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002647316 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5000391886 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER 1031A 5000391887 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER 1862-6860R 5001122121 30001526 Belden Inc US Fomerly; BELDEN WIRE AND CABLE NUMBER 1031A 5001122157 30001824 MARMON INDUSTRIAL ENERGY & INFRASTR US NUMBER - 5001122183 30001857 THE OKONITE COMPANY US 5002327244 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5001470702 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5001471106 10024603 $$ ABB AUTOMATION PRODUCTS GMBH DE INSTRUMENTATION 5001470829 10023035 WATLOW ELECTRIC MANUFACTURING US 5002638940 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002638939 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5001470653 10028102 ** CBI ELECTRIC ABERDARE ATC TELECO ZA 5001470794 10026424 SUMITOMO ELECTRIC INDUSTRIES LTD JP HITAKA/MINATO WORKS 5001471008 10000947 ** LEONI KERPEN GMBH DE 5001471057 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5001471152 10024590 PRYSMIAN POWERLINK SRL IT 5002486016 10013724 SAUDI CABLE COMPANY SA PART NUMBER T413203 5000391888 10020512 THE OKONITE COMPANY US 5001122099 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 021X-01T16AWG-U0BK7-PL SUPERSEDED NUMBER 0211-01T-16AWG-UO BK8 0211-01T16AWG-UOBK7-03 021X-01T16AWG-U0BK7-PL 021Z-01T16AWG-U0BK7-PL 0224-01T16AWG-U0BK7-03 | 502119498800010134SAMSS9131000999166.pdf
6.3 | CABLE; 300V PLTC 1/PR 16 AWG (1.31MM2) O |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; PLTC TYPE;7 STRANDS CONDUCTO;INSTRUMENTATION TYPE;1.31 SQ MM (16 AWG) CONDUCTO;300 V SUPPLY;2 (1 PAIR) CONDUCTO;6.1 MM (0.240 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME MARKINGS;60 KG/KM (40 LBS PER 1000 FT) LG;PVC JACKET;NEC-725;0.38 MM (0.015 IN) INSUL TH;ASTM B8; CLASS B;ALUM MYLAR TAPE SHIELDIN;FOR CABLE TRAY; CONDUIT; DUCT; AERIAL;NEC 725;NEC 725;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C DRY; 75 DEG C WET;XLPE OR PVC INSUL;COPPER CONDUCTO;34-SAMSS-913;SHIELDED; TWISTED; WITH BOLT TEX; COPPER DRAIN WIRE; FLAME AND SUNLIGHT RESISTANT; 0.15 MM (0.020 IN) OUTER JACKET THICKNESS; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO 34-SAMSS-913; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000420382 |  | 0.92 | 1,000 |  | 98 |  | 2025-04-24 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRAH ADVANCED CABLES |  | 90006351 |  |  | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT | MOQ : 2000 METER Price as per METER |  | <Strong>Manufacturer Part Number Text :</Strong> 5002486371 30000865 SAUDI CABLE COMPANY SA PART NUMBER T413204 SUPERSEDED NUMBER T403178 5000391758 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01P16AWG-U0BK7-03 SUPERSEDED NUMBER 021X-01P16AWG-U0BK7-PL 021Z-01P16AWG-U0BK7-PL 5002647313 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002647314 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5000391880 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER 1030A 5000391883 10020512 THE OKONITE COMPANY US PART NUMBER 264-10-4951 5000391882 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER 2X52-6951A-200R1 SUPERSEDED NUMBER 1852-6860R 5001122050 30001526 Belden Inc US Fomerly; BELDEN WIRE AND CABLE NUMBER 1030A 5001122066 30001824 MARMON INDUSTRIAL ENERGY & INFRASTR US NUMBER - 5001122092 30001857 THE OKONITE COMPANY US PART NUMBER 264-10-4951 5002327243 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5001470701 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5001471105 10024603 $$ ABB AUTOMATION PRODUCTS GMBH DE INSTRUMENTATION 5001470828 10023035 WATLOW ELECTRIC MANUFACTURING US 5002638938 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002638937 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5001470652 10028102 ** CBI ELECTRIC ABERDARE ATC TELECO ZA 5001470792 10026424 SUMITOMO ELECTRIC INDUSTRIES LTD JP HITAKA/MINATO WORKS 5001471007 10000947 ** LEONI KERPEN GMBH DE 5001471056 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5002486014 10013724 SAUDI CABLE COMPANY SA PART NUMBER T413204 SUPERSEDED NUMBER T403178 5001471151 10024590 PRYSMIAN POWERLINK SRL IT 5001122018 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01P16AWG-U0BK7-03 SUPERSEDED NUMBER 021X-01P16AWG-U0BK7-PL 021Z-01P16AWG-U0BK7-PL | 502121686600010134SAMSS9131000999166.pdf
6.4 | CABLE; 300V 12/PR 18 AWG (0.821MM2) SHLD |  |  |  | CORD ELECTRICAL; 24 (12 PR) CONDUCTO;0.82 SQ MM (18 AWG) CONDUCTO;7 STRANDS CONDUCTO;300 V SUPPLY;TINNED COPPER CONDUCTO;THERMOSET; INSTRUMENTATION;21.2 MM (0.835 IN) OD;PVC JACKET;XLPE OR PVC; ALUM MYLAR TAPE SHIELD INSUL;TR 90 DEG C DRY; 75 DEG C WET;461 KG/KM (310 LBS PER 1000 FT) LG;FOR CABLE TRAY; CONDUIT; DUCT; AERIAL;UL;34-SAMSS-913;TWISTED IN PAIRS; WITH BOLD TEXT STRANDED TINNED COPPER DRAIN WIRE FOR EACH PAIR; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; TYPE OF INSULATION AND VOLTA CABLE TRATING; MANUFACTURING AND TESTING OF CABLE TO TO CONFORM TO ICEA S-16-402; UL OR OR EQUIVALENT APPROVED LABELED REQUIRED; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURED; JACKET MATERIAL SPEC; NEC; INSULATION THICKNESS; 1.52 MM (0.060 IN); CONDUCTOR MATERIAL SPEC; ASTM B8 CLASS B; INSULATION MATERIAL SPEC; NEC; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Feet | 1000415037 |  | 4.88 | 330 |  | 98 |  | 2025-08-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRAH ADVANCED CABELS |  | 90003862 |  |  | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT | MOQ : 2000 METER Price as per METER |  | <Strong>Manufacturer Part Number Text :</Strong> 5002486360 30000865 SAUDI CABLE COMPANY SA PART NUMBER 12PT2-J-XFISYU REFERENCE NUMBER T413211 5000372748 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 041Z-12P18AWG-U0BK8-PL SUPERSEDED NUMBER 0421-12P-18AWG-U0 BK8 0424-12P18AWG-U0BK7-03 5002647308 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002647309 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5000372850 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER 1 X 74-81209-0 5000372852 10020512 THE OKONITE COMPANY US PART NUMBER 261-11-3912 5001117819 30001824 MARMON INDUSTRIAL ENERGY & INFRASTR US NUMBER - 5001117845 30001857 THE OKONITE COMPANY US PART NUMBER 261-11-3912 5002327237 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5002338600 30001526 Belden Inc US Fomerly; BELDEN WIRE AND CABLE PART NUMBER 12PT2-J-XFISYU REFERENCE NUMBER T413211 5001470689 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5001470816 10023035 WATLOW ELECTRIC MANUFACTURING US 5001893621 10037887 EGYTECH CABLES EL SEWEDY EG 5002638932 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5002638933 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5001470596 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED 5001470640 10028102 ** CBI ELECTRIC ABERDARE ATC TELECO ZA 5001470768 10026424 SUMITOMO ELECTRIC INDUSTRIES LTD JP HITAKA/MINATO WORKS 5001471044 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5001471139 10024590 PRYSMIAN POWERLINK SRL IT 5001470995 10000947 ** LEONI KERPEN GMBH DE 5002486001 10013724 SAUDI CABLE COMPANY SA PART NUMBER 12PT2-J-XFISYU REFERENCE NUMBER T413211 5001117783 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 041Z-12P18AWG-U0BK8-PL SUPERSEDED NUMBER 0421-12P-18AWG-U0 BK8 0424-12P18AWG-U0BK7-03 | 502121686800010134SAMSS9131000999166.pdf
Note on Q5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN8: Answer Type: Text (multiple lines) Acceptable Values: Any Value