## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5001363069 M. P. HUSKY ( US - GREENVILLE ) | 5002639507 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000381334 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001363116 M. P. HUSKY ( US - GREENVILLE ) | 5002640197 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5001363190 M. P. HUSKY ( US - GREENVILLE ) | AE Utd.Arab Emir. | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002108508 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002639510 M. P. HUSKY ( US - GREENVILLE ) | 5000381335 THE OKONITE COMPANY ( US - HOUSTON ) | 5002108555 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002640200 M. P. HUSKY ( US - GREENVILLE ) | 5002108628 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | AF Afghanistan | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002219202 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002639512 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5001277333 HB9LU01BG4 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002219249 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002640202 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002219288 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | AG Antigua/Barbuda | We are currently at full capacity
|  | POE - Port of Export | 5002264134 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002639513 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5001893708 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002264181 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002640203 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002264220 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | AI Anguilla | Missing information / not enough information provided
|  |  | 5002372067 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002639515 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002143854 C349XA10100SBK52CMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002372208 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002640205 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002372510 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | AB Abu Dhabi | Other
|  |  | 5002520961 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002639516 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002157853 14515019 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002521008 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002640206 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002521078 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | AL Albania
|  |  | 5002588926 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002639517 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  | 5002589001 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002640207 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002589121 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | AM Armenia
|  |  | 5002588927 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002639518 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) |  | 5002589002 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002640208 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002589122 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | AN Dutch Antilles
|  |  | 5002588928 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002639519 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  | 5002589003 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002640209 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002589123 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | AO Angola
|  |  | 5002786415 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002786487 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  | 5002786462 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002786570 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002786809 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | TRAY; CABLE; STRAIGHT; 3.66 M (12 FT) | TRAY CABLE STRAIGHT; 3.66 M (12 FT) LG;152.4 MM (6 IN) DP;609.6 MM (24 IN) WD;STYLE LADDER;ALUM;NEMA VE-1;SAES-P-104;228.6 MM (9 IN) RUNG SPACING; 13/16 IN FLANGE MANUFACTURER REFERENCES; 5000312852 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA OK 10011881 NUMBER 1B68-24SL-12-09 5001078141 ABAHSAIN-COPE SAUDI ARABIA LIMITED SA XX 30000242 5001174593 Unknown Plant SA XX 30003058 NUMBER 1B68-24SL-12-09 5001363190 M. P. HUSKY US OK 30003168 5002107963 BRANCH OF EATON INDUSTRIES MIDDLE SA OK 10042226 5002108628 BRANCH OF EATON INDUSTRIES MIDDLE SA OK 30005404 5002218781 RAWAFID ADWAA FACTORY FOR SA OK 10041120 PART NUMBER AL-ST-E64A4-A-T 5002219288 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA OK 30005041 5002264220 ABAHSAIN COPE S.A. CO. LTD SA OK 30005833 5002371408 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA OK 10005799 5002371409 LEGRAND SAUDI ELECTRIC INDUSTRIES SA OK 10013758 5002371410 MP HUSKY LLC US OK 10042327 5002371411 THOMAS AND BETTS SAUDI ARABIA SA OK 10043654 5002372510 LEGRAND SAUDI ELECTRIC INDUSTRIES SA OK 30000881 5002372511 WAHAH ELECTRIC SUPPLY COMPANY OF SA XX 30001034 NUMBER - 5002372512 THOMAS AND BETTS SAUDI ARABIA SA XX 30005518 5002521078 WAHAH ELECTRIC SUPPLY COMPANY OF SA OK 30007397 NUMBER - 5002587359 COOPER B-LINE INCORPORATED US OK 10024108 NUMBER - 5002587360 FAS ALJAZEERA UNITED FACTORY CO. SA OK 10056487 NUMBER - 5002587361 FACTORY OF MODERN METAL INDUSTRIES SA OK 10057693 NUMBER - 5002587362 BAAMER ELECTRIC FACTORY SA OK 10057911 NUMBER - 5002587363 AL MISBAH HOUSE FOR STEEL WORKS CO. SA OK 10059969 NUMBER - 5002589120 Eaton B-Line US XX 30002063 NUMBER - 5002589121 BAAMER ELECTRIC FACTORY SA OK 30005792 NUMBER - 5002589122 FAS ALJAZEERA UNITED FACTORY CO. SA OK 30006571 NUMBER - 5002589123 FACTORY OF MODERN METAL INDUSTRIES SA OK 30007642 NUMBER - 5002589124 AL MISBAH HOUSE FOR STEEL WORKS CO. SA XX 30007981 NUMBER - 5002786809 ADHWA AL-RAWAFID ELECTRIC SA OK 30008964 PART NUMBER AL-ST-E64A4-A-T TRAY CABLE STRAIGHT; 3.66 M (12 FT) LG;152.4 MM (6 IN) DP;609.6 MM (24 IN) WD;STYLE LADDER;ALUM;NEMA VE-1;SAES-P-104;228.6 MM (9 IN) RUNG SPACING; 13/16 IN FLANGE | No |  | USD | each | 1000375865 |  |  | 14 |  |  |  | 2024-12-12 02:55 | [6 empty] | Normal/staged | S | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C004-269/ELS YANBU ELECTRICAL SHOP | 05 AIR |  |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5002372510 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002786809 300089 | 1001019771000041MS83140411242008.pdf
6.2 | TRAY; CABLE; BEND; 609.6 MM (24 IN) | TRAY CABLE BEND; 609.6 MM (24 IN) WD;152.4 MM (6 IN) DP;STYLE ELBOW LADDER;914.4 MM (36 IN) RADIUS;HORIZONTAL POSITION;90 DEG;ALUM;NEMA VE-1;SAES-P-104;20.6 MM (13/16 IN) FLANGE MANUFACTURER REFERENCES; 5000288066 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA OK 10011881 NUMBER 268-249F-36 5001059639 ABAHSAIN-COPE SAUDI ARABIA LIMITED SA XX 30000242 NUMBER 268-249F-36 5001178583 Unknown Plant SA XX 30003058 NUMBER 268-249F-36 5001363069 M. P. HUSKY US OK 30003168 5002107842 BRANCH OF EATON INDUSTRIES MIDDLE SA OK 10042226 5002108508 BRANCH OF EATON INDUSTRIES MIDDLE SA OK 30005404 5002218480 RAWAFID ADWAA FACTORY FOR SA OK 10041120 PART NUMBER AL-HE-E67A99-A-T 5002219202 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA OK 30005041 5002264134 ABAHSAIN COPE S.A. CO. LTD SA OK 30005833 NUMBER 268-249F-36 5002370881 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA OK 10005799 5002370882 LEGRAND SAUDI ELECTRIC INDUSTRIES SA OK 10013758 5002370883 MP HUSKY LLC US OK 10042327 5002370884 THOMAS AND BETTS SAUDI ARABIA SA OK 10043654 5002372067 LEGRAND SAUDI ELECTRIC INDUSTRIES SA OK 30000881 5002372068 WAHAH ELECTRIC SUPPLY COMPANY OF SA XX 30001034 NUMBER - 5002372069 THOMAS AND BETTS SAUDI ARABIA SA XX 30005518 5002520961 WAHAH ELECTRIC SUPPLY COMPANY OF SA OK 30007397 NUMBER - 5002587164 COOPER B-LINE INCORPORATED US OK 10024108 NUMBER - 5002587165 FAS ALJAZEERA UNITED FACTORY CO. SA OK 10056487 NUMBER - 5002587166 FACTORY OF MODERN METAL INDUSTRIES SA OK 10057693 NUMBER - 5002587167 BAAMER ELECTRIC FACTORY SA OK 10057911 NUMBER - 5002587168 AL MISBAH HOUSE FOR STEEL WORKS CO. SA OK 10059969 NUMBER - 5002588925 Eaton B-Line US XX 30002063 NUMBER - 5002588926 BAAMER ELECTRIC FACTORY SA OK 30005792 NUMBER - 5002588927 FAS ALJAZEERA UNITED FACTORY CO. SA OK 30006571 NUMBER - 5002588928 FACTORY OF MODERN METAL INDUSTRIES SA OK 30007642 NUMBER - 5002588929 AL MISBAH HOUSE FOR STEEL WORKS CO. SA XX 30007981 NUMBER - 5002786415 ADHWA AL-RAWAFID ELECTRIC SA OK 30008964 PART NUMBER AL-HE-E67A99-A-T TRAY CABLE BEND; 609.6 MM (24 IN) WD;152.4 MM (6 IN) DP;STYLE ELBOW LADDER;914.4 MM (36 IN) RADIUS;HORIZONTAL POSITION;90 DEG;ALUM;NEMA VE-1;SAES-P-104;20.6 MM (13/16 IN) FLANGE | No |  | USD | each | 1000361832 |  |  | 4 |  |  |  | 2024-12-12 02:55 | [6 empty] | Normal/staged | S | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C004-269/ELS YANBU ELECTRICAL SHOP | 05 AIR |  |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5002372067 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002786415 300089 | 1001019771000051MS8314004SHTS05012005.pdf
6.3 | TRAY; CABLE; BEND; 609.6 MM (24 IN) | TRAY CABLE BEND; 609.6 MM (24 IN) WD;152.4 MM (6 IN) DP;STYLE ELBOW LADDER;914.4 MM (36 IN) RADIUS;INSIDE VERTICAL POSITION;90 DEG;ALUM;NEMA VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE WITH 5 EA 9.5 MM (3/8 IN) DIA CONNECTOR HOLE ON EACH END OF BEAM MANUFACTURER REFERENCES; 5000288713 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA OK 10011881 NUMBER 268-096I-24 5001060576 ABAHSAIN-COPE SAUDI ARABIA LIMITED SA XX 30000242 NUMBER 268-096I-24 5001178294 Unknown Plant SA XX 30003058 NUMBER 268-096I-24 5001363116 M. P. HUSKY US OK 30003168 5002107889 BRANCH OF EATON INDUSTRIES MIDDLE SA OK 10042226 5002108555 BRANCH OF EATON INDUSTRIES MIDDLE SA OK 30005404 5002218528 RAWAFID ADWAA FACTORY FOR SA OK 10041120 PART NUMBER AL-IR-E67A99-A-T 5002219249 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA OK 30005041 5002264181 ABAHSAIN COPE S.A. CO. LTD SA OK 30005833 NUMBER 268-096I-24 5002371069 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA OK 10005799 5002371070 LEGRAND SAUDI ELECTRIC INDUSTRIES SA OK 10013758 5002371071 MP HUSKY LLC US OK 10042327 5002371072 THOMAS AND BETTS SAUDI ARABIA SA OK 10043654 5002372208 LEGRAND SAUDI ELECTRIC INDUSTRIES SA OK 30000881 5002372209 WAHAH ELECTRIC SUPPLY COMPANY OF SA XX 30001034 NUMBER - 5002372210 THOMAS AND BETTS SAUDI ARABIA SA XX 30005518 5002521008 WAHAH ELECTRIC SUPPLY COMPANY OF SA OK 30007397 NUMBER - 5002587239 COOPER B-LINE INCORPORATED US OK 10024108 NUMBER - 5002587240 FAS ALJAZEERA UNITED FACTORY CO. SA OK 10056487 NUMBER - 5002587241 FACTORY OF MODERN METAL INDUSTRIES SA OK 10057693 NUMBER - 5002587242 BAAMER ELECTRIC FACTORY SA OK 10057911 NUMBER - 5002587243 AL MISBAH HOUSE FOR STEEL WORKS CO. SA OK 10059969 NUMBER - 5002589000 Eaton B-Line US XX 30002063 NUMBER - 5002589001 BAAMER ELECTRIC FACTORY SA OK 30005792 NUMBER - 5002589002 FAS ALJAZEERA UNITED FACTORY CO. SA OK 30006571 NUMBER - 5002589003 FACTORY OF MODERN METAL INDUSTRIES SA OK 30007642 NUMBER - 5002589004 AL MISBAH HOUSE FOR STEEL WORKS CO. SA XX 30007981 NUMBER - 5002786462 ADHWA AL-RAWAFID ELECTRIC SA OK 30008964 PART NUMBER AL-IR-E67A99-A-T TRAY CABLE BEND; 609.6 MM (24 IN) WD;152.4 MM (6 IN) DP;STYLE ELBOW LADDER;914.4 MM (36 IN) RADIUS;INSIDE VERTICAL POSITION;90 DEG;ALUM;NEMA VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE WITH 5 EA 9.5 MM (3/8 IN) DIA CONNECTOR HOLE ON EACH END OF BEAM | No |  | USD | each | 1000362243 |  |  | 2 |  |  |  | 2024-12-12 02:55 | [6 empty] | Normal/staged | S | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C004-269/ELS YANBU ELECTRICAL SHOP | 05 AIR |  |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5002372208 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002786462 300089 | 1001019771000061MS8314004SHTS05012005.pdf
6.4 | TRAY; CABLE; SHAPE; 609.6 MM (24 IN) | TRAY CABLE SHAPE; 609.6 MM (24 IN) WD;152.4 MM (6 IN) DP;914.4 MM (36 IN) RADIUS;HORIZONTAL POSITION;STYLE TEE;ALUM;NEMA VE-1;SAES-P-104;SUPPORT LADDER MANUFACTURER REFERENCES; 5000288968 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA OK 10011881 NUMBER 268-24FT-36 5001817568 LEGRAND SAUDI ELECTRIC INDUSTRIES SA OK 10013758 5001821016 AL-ASHOURY FACTORY FOR CABLE SA OK 10026839 PART NUMBER 1003 50 36 24 6 10 5002218552 RAWAFID ADWAA FACTORY FOR SA OK 10041120 PART NUMBER AL-HT-E67A99-A-T 5002607877 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA OK 10005799 NUMBER - 5002607878 COOPER B-LINE INCORPORATED US OK 10024108 NUMBER - 5002607879 BRANCH OF EATON INDUSTRIES MIDDLE SA OK 10042226 NUMBER - 5002607880 MP HUSKY LLC US OK 10042327 NUMBER - 5002607881 THOMAS AND BETTS SAUDI ARABIA SA OK 10043654 NUMBER - 5002607882 FAS ALJAZEERA UNITED FACTORY CO. SA OK 10056487 NUMBER - 5002607883 FACTORY OF MODERN METAL INDUSTRIES SA OK 10057693 NUMBER - 5002607884 BAAMER ELECTRIC FACTORY SA OK 10057911 NUMBER - 5002607885 AL MISBAH HOUSE FOR STEEL WORKS CO. SA OK 10059969 NUMBER - 5002639506 ABAHSAIN-COPE SAUDI ARABIA LIMITED SA XX 30000242 NUMBER 268-24FT-36 5002639507 LEGRAND SAUDI ELECTRIC INDUSTRIES SA OK 30000881 5002639508 WAHAH ELECTRIC SUPPLY COMPANY OF SA XX 30001034 NUMBER - 5002639509 Eaton B-Line US XX 30002063 NUMBER - 5002639510 M. P. HUSKY US OK 30003168 NUMBER - 5002639511 AL-ASHOURY FACTORY FOR CABLE SA XX 30003251 PART NUMBER 1003 50 36 24 6 10 5002639512 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA OK 30005041 PART NUMBER AL-HT-E67A99-A-T 5002639513 BRANCH OF EATON INDUSTRIES MIDDLE SA OK 30005404 NUMBER - 5002639514 THOMAS AND BETTS SAUDI ARABIA SA XX 30005518 NUMBER - 5002639515 BAAMER ELECTRIC FACTORY SA OK 30005792 NUMBER - 5002639516 ABAHSAIN COPE S.A. CO. LTD SA OK 30005833 NUMBER 268-24FT-36 5002639517 FAS ALJAZEERA UNITED FACTORY CO. SA OK 30006571 NUMBER - 5002639518 WAHAH ELECTRIC SUPPLY COMPANY OF SA OK 30007397 NUMBER - 5002639519 FACTORY OF MODERN METAL INDUSTRIES SA OK 30007642 NUMBER - 5002639520 AL MISBAH HOUSE FOR STEEL WORKS CO. SA XX 30007981 NUMBER - 5002786487 ADHWA AL-RAWAFID ELECTRIC SA OK 30008964 PART NUMBER AL-HT-E67A99-A-T TRAY CABLE SHAPE; 609.6 MM (24 IN) WD;152.4 MM (6 IN) DP;914.4 MM (36 IN) RADIUS;HORIZONTAL POSITION;STYLE TEE;ALUM;NEMA VE-1;SAES-P-104;SUPPORT LADDER | No |  | USD | each | 1000362565 |  |  | 2 |  |  |  | 2024-12-12 02:55 | [6 empty] | Normal/staged | S | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C004-269/ELS YANBU ELECTRICAL SHOP | 05 AIR |  |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5002639507 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002639516 300058 | 1001019771000071SAESP104.pdf
6.5 | COVER; CABLE TRAY; 609.6 MM (24 IN) | COVER CABLE TRAY; 609.6 MM (24 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; LADDER MANUFACTURER REFERENCES; 5000301175 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA OK 10011881 NUMBER NL68-24SL-12-1T SUPERSEDED NUMBER NL68-24SL-12 5000301176 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA OK 10005799 NUMBER CA3SLO-24-144 5001817704 LEGRAND SAUDI ELECTRIC INDUSTRIES SA OK 10013758 5001821063 AL-ASHOURY FACTORY FOR CABLE SA OK 10026839 PART NUMBER 2003 10 12 24 45 5002218599 RAWAFID ADWAA FACTORY FOR SA OK 10041120 PART NUMBER AL-ST-CVL-DC330-A 5002608294 COOPER B-LINE INCORPORATED US OK 10024108 NUMBER - 5002608295 BRANCH OF EATON INDUSTRIES MIDDLE SA OK 10042226 NUMBER - 5002608296 MP HUSKY LLC US OK 10042327 NUMBER - 5002608297 THOMAS AND BETTS SAUDI ARABIA SA OK 10043654 NUMBER - 5002608298 FAS ALJAZEERA UNITED FACTORY CO. SA OK 10056487 NUMBER - 5002608299 FACTORY OF MODERN METAL INDUSTRIES SA OK 10057693 NUMBER - 5002608300 BAAMER ELECTRIC FACTORY SA OK 10057911 NUMBER - 5002608301 AL MISBAH HOUSE FOR STEEL WORKS CO. SA OK 10059969 NUMBER - 5002640196 ABAHSAIN-COPE SAUDI ARABIA LIMITED SA XX 30000242 NUMBER NL68-24SL-12-1T SUPERSEDED NUMBER NL68-24SL-12 5002640197 LEGRAND SAUDI ELECTRIC INDUSTRIES SA OK 30000881 5002640198 WAHAH ELECTRIC SUPPLY COMPANY OF SA XX 30001034 NUMBER CA3SLO-24-144 5002640199 Eaton B-Line US XX 30002063 NUMBER - 5002640200 M. P. HUSKY US OK 30003168 NUMBER - 5002640201 AL-ASHOURY FACTORY FOR CABLE SA XX 30003251 PART NUMBER 2003 10 12 24 45 5002640202 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA OK 30005041 PART NUMBER AL-ST-CVL-DC330-A 5002640203 BRANCH OF EATON INDUSTRIES MIDDLE SA OK 30005404 NUMBER - 5002640204 THOMAS AND BETTS SAUDI ARABIA SA XX 30005518 NUMBER - 5002640205 BAAMER ELECTRIC FACTORY SA OK 30005792 NUMBER - 5002640206 ABAHSAIN COPE S.A. CO. LTD SA OK 30005833 NUMBER NL68-24SL-12-1T SUPERSEDED NUMBER NL68-24SL-12 5002640207 FAS ALJAZEERA UNITED FACTORY CO. SA OK 30006571 NUMBER - 5002640208 WAHAH ELECTRIC SUPPLY COMPANY OF SA OK 30007397 NUMBER CA3SLO-24-144 5002640209 FACTORY OF MODERN METAL INDUSTRIES SA OK 30007642 NUMBER - 5002640210 AL MISBAH HOUSE FOR STEEL WORKS CO. SA XX 30007981 NUMBER - 5002786570 ADHWA AL-RAWAFID ELECTRIC SA OK 30008964 PART NUMBER AL-ST-CVL-DC330-A COVER CABLE TRAY; 609.6 MM (24 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; LADDER | No |  | USD | each | 1000369044 |  |  | 20 |  |  |  | 2024-12-13 02:55 | [6 empty] | Normal/staged | S | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C004-269/ELS YANBU ELECTRICAL SHOP | 05 AIR |  |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5002640197 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640206 300058 | 1001019771000081SAESP104.pdf
6.6 | CABLE; ELEC; MV; POWER & CONTROL; | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;61 STRANDED CONDUCTO;POWER & CONTROL TYPE;240 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;28.3 MM (1.120 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;2510 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.7 MM (0.067 IN) INSUL TH;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; MOISTURE; ACID; OIL & SUNLGHT RESISTANT; FLAME RETARDANT PER IEC 332.3; REELMARKE WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURER REFERENCES; 5000381333 SAUDI CABLE COMPANY SA 9M 10013724 5000381334 SAUDI MODERN COMPANY FOR SA OK 10013827 5000381335 THE OKONITE COMPANY US OK 10020512 5000381336 ** FURUKAWA ELECTRIC CO LTD JP 9M 10000658 5001277333 JEDDAH CABLES COMPANY LTD SA OK 10013002 PART NUMBER HB9LU01BG4 CODE NUMBER HB9LU01BG 5001893708 EGYTECH CABLES EL SEWEDY EG OK 10037887 5002143854 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OK 10012569 CODE NUMBER C349XA10100SBK52CMR 5002157853 BAHRA ADVANCED CABLE MANUFACTURE SA OK 10044083 PART NUMBER 14515019 SUPERSEDED NUMBER 14510019 CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;61 STRANDED CONDUCTO;POWER & CONTROL TYPE;240 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;28.3 MM (1.120 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;2510 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.7 MM (0.067 IN) INSUL TH;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; MOISTURE; ACID; OIL & SUNLGHT RESISTANT; FLAME RETARDANT PER IEC 332.3; REELMARKE WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING | No |  | USD | Meter | 1000417564 |  |  | 650 |  |  |  | 2024-12-12 02:55 | [6 empty] | Normal/staged | S | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C004-269/ELS YANBU ELECTRICAL SHOP | 05 AIR |  |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5001893708 10037887 EGYTECH CABLES EL SEWEDY EG5002157853 10044083 BAHRA ADVANCED CABLE MANUFACTUR
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value