## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5002659149 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | 5001120873 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002587949 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) | AE Utd.Arab Emir. | 5002322157 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001328112 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002983558 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5001308840 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5002587950 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) | AF Afghanistan | 5002322158 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001557383 THE OKONITE CO. INC. ( US - SANTA MARIA ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002983559 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001328128 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5002983488 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | AG Antigua/Barbuda | 5002322159 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001557384 THE OKONITE COMPANY ( US - RICHMOND ) | We are currently at full capacity
|  | POE - Port of Export | 5002983560 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5001894114 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) |  | AI Anguilla | 5002322160 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001557385 THE OKONITE COMPANY ( US - ORANGEBURG ) | Missing information / not enough information provided
|  |  | 5002983561 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | 5002206232 THE OKONITE CO. INC. ( US - SANTA MARIA ) |  | AB Abu Dhabi | 5002322161 10006077280002 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001557388 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Other
|  |  | 5002983562 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | 5002206233 THE OKONITE COMPANY ( US - RICHMOND ) |  | AL Albania | 5002613076 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001557389 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH )
|  |  | 5002983563 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | 5002206234 THE OKONITE COMPANY ( US - ORANGEBURG ) |  | AM Armenia |  | 5001894073 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN )
|  |  | 5002983564 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | 5002206237 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) |  | AN Dutch Antilles |  | 5002205966 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT )
|  |  |  | 5002364503 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) |  | AO Angola |  | 5002364350 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
|  |  |  | 5002364504 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) |  | AQ Antarctica |  | 5002364351 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
|  |  |  | 5002364505 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) |  | AR Argentina |  | 5002364352 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
|  |  |  | 5002364506 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  | AS Samoa,American |  | 5002364353 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
|  |  |  | 5002527078 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) |  | AT Austria |  | 5002527062 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
|  |  |  | 5002983515 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) |  | AU Australia |  | 5002589259 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
|  |  |  | 5002983516 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) |  | AW Aruba |  | 5002983453 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2025-05-15 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | 10264882 TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | scan.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE ELECTRICAL MEDIUM VOLTAGE; 15 KV ( |  | CABLE ELECTRICAL MEDIUM VOLTAGE; 15 KV (12/20) KV SUPPLY;1 CONDUCTO;120 MM2 ( 4/0 AWG ) CONDUCTO;32.7MM CABLE OD;COPPER CONDUCTO;XLPE INSUL;5.5 MM INSUL TH;BLACK;PVC JACKET;500 METER;POWER TYPE;15-SAMSS-502;SEMICONDUCTOR WATER BLOCKING FEATURE; CONCENTRIC-LAY-STRANDED ANNEALED PLAIN COPPER CONDUCTOR;DIRECT BURIAL;CONDUIT AND DUCT SERVICE; DRY AND WET LOCATIONS;OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT. | Yes |  | SAR | each | 1001030051 |  | 71 | 3 |  | 70 |  | 2025-02-10 02:55 | 5002659149 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | Z02H-D03 RIYADH PDD | 04 BOAT | MOQ = 2000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5002659149 30006546 BAHRA ADVANCED CABLES MANUFACTURER SACO. LTD.CODE NUMBER 240251545002659010 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.CODE NUMBER 240251545002980826 10012569 ALFANAR ELEC
6.2 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  | Material Number; 1000893718 PO Text CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;10 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 10 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 BOM & MPN MANUFACTURER REFERENCES; 5002322161 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY ORDER NUMBER 1000607728-0002 5002613076 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -# 5002322158 10013724 SAUDI CABLE COMPANY SA 5002322159 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002322157 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002322160 10013002 JEDDAH CABLES COMPANY LTD SA | Yes |  | SAR | Meter | 1000893718 |  | 21 | 1,000 |  | 70 |  | 2025-02-10 02:55 | 5002613076 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | S | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C001-374/NS4 RASTANURA RT-R; J88 DHT | 05 AIR | MOQ = 2000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5002322161 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728-00025002613076 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -#5002322158 10013724 SAUDI | 1001020731000021MS8314004SHTS05012005.pdf
6.3 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;15 (12/20) KV SUPPLY;3 CONDUCTO;35 SQ MM (69.1 MCM) CONDUCTO;STRANDED CONDUCTO;53.8 MM (2.120 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;5.5 MM (0.216 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;BLACK;PVC JACKET;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 0.5 MM STEEL TAPE ARMOR; FLAME RETARDANT. | Yes |  | SAR | Meter | 1000417158 |  | 97 | 1,000 |  | 70 |  | 2025-02-10 02:55 | 5002364506 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B005-498/ZB3 SAFANIYAH SONPMD DSLTR MAIN | 04 BOAT | MOQ = 2000 m price as per Meter |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5001120873 30000865 SAUDI CABLE COMPANY SA5001328128 30000598 JEDDAH CABLE COMPANY LIMITED SA5002 | 100102103600001115SAMSS50203272023.pdf
6.4 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;35 SQ MM (69.1 MCM) CONDUCTO;7 STRANDS CONDUCTO;42.9 MM (1.69 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;2.92 MM (0.115 IN) INSUL TH;133% INSUL LV;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 2.0 MM (0.080 IN) JKT THK | Yes |  | SAR | Feet | 1000414842 |  | 81 | 1,000 |  | 70 |  | 2025-02-10 02:55 | 5002364353 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | B002-623 UTHMANIYAH B-591; GOSP 12 | 04 BOAT | MOQ = 3000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5001557388 30000865 SAUDI CABLE COMPANY SA5001327919 10013002 JEDDAH CABLES COMPANY LTD SAPART NUMBER HB1WOD2G5001328112 30000598 JEDDAH CABLE COMPANY LIMITED SA5002364350 30004750 BAOSHENG SCIENCE & TE
6.5 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;35 SQ MM (69.1 MCM) CONDUCTO;7 STRANDS CONDUCTO;42.9 MM (1.69 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;2.92 MM (0.115 IN) INSUL TH;133% INSUL LV;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 2.0 MM (0.080 IN) JKT THK | Yes |  | SAR | Feet | 1000414842 |  | 81 | 1,000 |  | 70 |  | 2025-02-10 02:55 | 5002364353 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | B002-623 UTHMANIYAH B-591; GOSP 12 | 04 BOAT | MOQ = 3000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5001557388 30000865 SAUDI CABLE COMPANY SA5001327919 10013002 JEDDAH CABLES COMPANY LTD SAPART NUMBER HB1WOD2G5001328112 30000598 JEDDAH CABLE COMPANY LIMITED SA5002364350 30004750 BAOSHENG SCIENCE & TE
6.6 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;35 SQ MM (69.1 MCM) CONDUCTO;7 STRANDS CONDUCTO;42.9 MM (1.69 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;2.92 MM (0.115 IN) INSUL TH;133% INSUL LV;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 2.0 MM (0.080 IN) JKT THK | Yes |  | SAR | Feet | 1000414842 |  | 81 | 1,000 |  | 70 |  | 2025-02-10 02:55 | 5002364353 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | B002-623 UTHMANIYAH B-591; GOSP 12 | 04 BOAT | MOQ = 3000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5001557388 30000865 SAUDI CABLE COMPANY SA5001327919 10013002 JEDDAH CABLES COMPANY LTD SAPART NUMBER HB1WOD2G5001328112 30000598 JEDDAH CABLE COMPANY LIMITED SA5002364350 30004750 BAOSHENG SCIENCE & TE
6.7 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | Material Number; 1000416877 PO Text CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;67.44 SQ MM (2/0 AWG) CONDUCTO;19 STRANDS CONDUCTO;43.2 MM (1.700 IN) CABLE OD;COPPER CONDUCTO;XLPE INSUL;EXTRUDED OVER CONDUCTOR S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;TR 90 DEG C MAX;REEL; (1000 FT/COIL);MC TYPE;FOR DIRECT BURIAL; CABLE TRAY; AERIAL;15-SAMSS-502;DRY AND WET LOCATIONS; IMPERVIOUS CONTINUOUS CORRUGATED ALUMINUM SHEATH; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; BOM & MPN MANUFACTURER REFERENCES; 5002587949 30004750 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO. LTD NUMBER - 5002587950 30005137 QINGDAO HANHE CABLE CO LTD CN NUMBER - 5002197836 10024590 PRYSMIAN POWERLINK SRL IT 5002197841 10004926 NEXANS NORWAY AS NO 5002587517 10040262 QINGDAO HANHE CABLE CO LTD CN NUMBER - 5002587516 10037383 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO LTD NUMBER - 5001727714 10027767 SWCC SHOWA CABLE SYSTEMS CO LTD JP INTERNATIONAL TRADE DEPT 5001727720 30003406 SWCC SHOWA CABLE SYSTEMS CO LTD JP AICHI FACTORY 5002979974 10062253 BRANCH OF JEDDAH CABLES COMPANY SA 5002983488 30008237 BRANCH OF JEDDAH CABLES COMPANY SA CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;67.44 SQ MM (2/0 AWG) CONDUCTO;19 STRANDS CONDUCTO;43.2 MM (1.700 IN) CABLE OD;COPPER CONDUCTO;XLPE INSUL;EXTRUDED OVER CONDUCTOR S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;TR 90 DEG C MAX;REEL; (1000 FT/COIL);MC TYPE;FOR DIRECT BURIAL; CABLE TRAY; AERIAL;15-SAMSS-502;DRY AND WET LOCATIONS; IMPERVIOUS CONTINUOUS CORRUGATED ALUMINUM SHEATH; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; | No | We don't carry a compatible part/material | SAR | Feet | 1000416877 |  |  | 1,000 |  |  |  | 2025-02-10 02:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | B03A-753 HAWTAH B-500 MAINTENANCE UNIT | 04 BOAT |  |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5002587949 30004750 BAOSHENG SCIENCE & TECHNOLOGY CNINNOVATION CO. LTDNUMBER -5002587950 3000513 | 100101170900002115SAMSS50203272023.pdf
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf