## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5001121007 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002322152 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | AE Utd.Arab Emir. | 5000382149 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5002322162 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000364179 10125302 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001121009 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000442283 SAUDI CABLE COMPANY ( SA - Jeddah ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001308896 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5002322153 SAUDI CABLE COMPANY ( SA - Jeddah ) | AF Afghanistan | 5001274386 DB2LU03BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002322163 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000364281 SUMITOMO ELECTRIC INDUSTRIES L ( JP - MINATO-KU, TOKYO ) | 5001308898 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5001302341 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5001328133 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5002322154 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | AG Antigua/Barbuda | 5001416336 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002322164 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001327901 RN5ZU01Z JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001328134 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5001893794 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | We are currently at full capacity
|  | POE - Port of Export | 5001894121 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5002322155 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | AI Anguilla | 5001416337 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002322165 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001755888 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001894122 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5002332639 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | Missing information / not enough information provided
|  |  | 5002206289 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5002322156 10006077280003 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AB Abu Dhabi | 5001893728 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002322166 10006077280005 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001893535 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002206298 THE OKONITE CO. INC. ( US - SANTA MARIA ) |  | Other
|  |  | 5002206290 THE OKONITE COMPANY ( US - RICHMOND ) | 5002613075 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AL Albania | 5002332608 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5002613077 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002332523 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5002206299 THE OKONITE COMPANY ( US - RICHMOND )
|  |  | 5002206291 THE OKONITE COMPANY ( US - ORANGEBURG ) |  | AM Armenia | 5002612720 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002555100 MIDAL CABLES LTD ( BH - MANAMA ) | 5002206300 THE OKONITE COMPANY ( US - ORANGEBURG )
|  |  | 5002206294 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) |  | AN Dutch Antilles |  |  | 5002612649 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002206303 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT )
|  |  | 5002332766 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) |  | AO Angola |  |  |  | 5002332767 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
|  |  | 5002364517 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) |  | AQ Antarctica |  |  |  | 5002364520 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
|  |  | 5002364518 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) |  | AR Argentina |  |  |  | 5002364521 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
|  |  | 5002364519 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  | AS Samoa,American |  |  |  | 5002364522 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
|  |  | 5002527085 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) |  | AT Austria |  |  |  | 5002527086 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
|  |  | 5002589271 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) |  | AU Australia |  |  |  | 5002589272 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
|  |  | 5002983525 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) |  | AW Aruba |  |  |  | 5002983526 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2025-06-17 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | 10266778 TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | 10266778 Offer.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;15 (12/20) KV SUPPLY;3 CONDUCTO;120 SQ MM (237 MCM) CONDUCTO;18 STRANDS CONDUCTO;78.0 MM (3.0709 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;5.5 MM (0.216 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;STEEL WIRE ARMOR;BLACK;PVC JACKET;8470 KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV; ARMORED TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT; EXPOSED;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 0.5 MM STEEL WIRE ARMOR; FLAME RETARDANT. | Yes |  | SAR | Meter | 1000417307 |  | 237 | 1,000 |  | 84 |  | 2025-02-09 02:55 | 5002364519 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001121007 30000865 SAUDI CABLE COMPANY SA5002364519 30006546 BAHRA ADVANCED CABLES MANUFACTURER SACO. LTD.NUMBER -5001328133 30000598 JEDDAH CABLE COMPANY LIMITED SA5002364517 30004750 BAOSHENG SCIENC | 502091239500010115SAMSS50203272023.pdf
6.2 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;15 (12/20) KV SUPPLY;3 CONDUCTO;185 SQ MM (365 MCM) CONDUCTO;30 STRANDS CONDUCTO;87.0 MM (3.4252 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;5.5 MM (0.216 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;GALVANIZED STEEL DOUBLE TAPE ARMOR;BLACK;PVC JACKET;11190 KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV; ARMORED TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT; EXPOSED;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; FLAME RETARDANT. | Yes |  | SAR | Meter | 1000417341 |  | 290 | 1,300 |  | 84 |  | 2025-07-09 03:55 | 5002364522 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001121009 30000865 SAUDI CABLE COMPANY SA5002364520 30004750 BAOSHENG SCIENCE & TECHNOLOGY CNINNOVATION CO. LTDNUMBER -5002364522 30006546 BAHRA ADVANCED CABLES MANUFACTURER SACO. LTD.NUMBER -500132 | 502100577500010115SAMSS50203272023.pdf
6.3 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;10 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 10 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893719 |  | 25 | 500 |  | 84 |  | 2025-05-06 03:55 | 5002613077 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002322166 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728-00055002613077 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322163 10013724 SAUDI | 5021230363000101MS8314004SHTS05012005.pdf
6.4 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;6 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 6 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893717 |  | 18 | 650 |  | 84 |  | 2025-07-31 03:55 | 5002613075 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002322156 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728-00035002613075 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322153 10013724 SAUDI | 5021247787000101MS8314004SHTS05012005.pdf
6.5 | CABLE; ACSR; 107.2 MM2 (4/0 AWG); 6 |  | CABLE; ACSR TYPE;107.2 MM2 (4/0 AWG) DIA;6 STRANDS;BARE ALUM;ASTM B232;ALUM (1350-H19) CONDUCTOR STEEL REINFORCED (ACSR); 4.8 MM (3/16 IN) DIA EACH STRAND; OVER 1 STEEL CORE OF 4.8 MM (3/16 IN) DIA; CLASS AA; 14.3 MM (9/16 IN) OD CONCENTRIC-LAY-STRANDED KN (8350 LBS) RATED STRENGTH; 431 KG/KM (291.1 LBS/1000 FT) NET; CODE WORD PENGUIN | Yes |  | SAR | Feet | 1000411990 |  | 7 | 16,404.2 |  | 84 |  | 2025-06-01 03:55 | 5002612649 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT | price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000364179 10021675 SOUTHWIRE COMPANY INCORPORATED USREFERENCE NUMBER 10-12-53-025001327901 10013002 JEDDAH CABLES COMPANY LTD SAPART NUMBER RN5ZU01Z5001893535 10037887 EGYTECH CABLES EL SEWEDY EG50026
6.6 | CORD; ELECTRICAL; 3 CONDUCTOR; 35 SQ |  | CORD ELECTRICAL; 3 CONDUCTO;35 SQ MM CONDUCTO;7 STRANDS CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;21.0 MM (0.826 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C;1215 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT MARKED WITH; ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOTAGE; TYPE SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 0.9 MM (0.035 IN); CONDUCTOR MATERIAL SPEC; IEC 228; CLASS 2; INSULATION MATERIAL SPEC; ICEA 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Meter | 1000417862 |  | 47 | 1,000 |  | 84 |  | 2025-05-13 03:55 | 5002612720 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893728 10037887 EGYTECH CABLES EL SEWEDY EG5001416337 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002612720 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -5001274
6.7 | CABLE; ELECTRICAL; 600/1000 V; 3 CORE |  | CABLE ELECTRICAL; 600/1000 V SUPPLY;3 CORE WITH NEUTRAL CONDUCTOR CONDUCTO;25 MM2 (4 AWG) CONDUCTO;STRANDED CONDUCTO;POWER TYPE;34.0 MM (1.340 IN) CABLE OD;UF TYPE;COPPER CONDUCTO;1.5 MM (0.060 IN) INSUL TH;PVC INSUL;TR 60 DEG C;PVC JACKET;BLACK;ASTM B8;ASTM D1047;ASTM D1047;UNARMOURED ARMOR;REEL;FOR DIRECT BURIAL;2276.8 KGS PER KM (1530 LBS PER 1000 FT) LG;UL LISTED;100 METER ROLL | Yes |  | SAR | Meter | 1000438679 |  | 48 | 200 |  | 84 |  | 2025-05-11 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra advanced cable manufacture |  |  |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | MOQ = 1000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5001893794 10037887 EGYTECH CABLES EL SEWEDY EG5001302341 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000442283 10013724 SAUDI CABLE COMPANY SA5002332639 10046468 ELSEWEDY CABLES CO
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf