## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000927184 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | AE Utd.Arab Emir. | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000927185 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000927186 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | AG Antigua/Barbuda | We are currently at full capacity
|  | POE - Port of Export | 5000927190 THE OKONITE CO. INC. ( US - SANTA MARIA ) | AI Anguilla | Missing information / not enough information provided
|  |  | 5000927191 THE OKONITE COMPANY ( US - RICHMOND ) | AB Abu Dhabi | Other
|  |  | 5000927192 THE OKONITE COMPANY ( US - ORANGEBURG ) | AL Albania
|  |  | 5001779380 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | AM Armenia
|  |  | 5001871781 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | AN Dutch Antilles
|  |  | 5001920977 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) | AO Angola
|  |  | 5002159181 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | AQ Antarctica
|  |  | 5002300525 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) | AR Argentina
|  |  | 5002332034 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | AS Samoa,American
|  |  | 5002366569 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | AT Austria
|  |  | 5002379188 DUBAI CABLE COMPANY (PVT) LTD ( AE - DUBAI ) | AU Australia
|  |  | 5002476711 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | AW Aruba
|  |  | 5002580007 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
2.1 | Do you accept the bidding instructions & conditions in this section? |  |  |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  |  |  | 2025-06-22 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  |  |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  |  |  | 10267173 TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  |  |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  |  |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  |  |  | 10267173 offer.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
6.1 | CABLE; POWER; 5KV THROUGH 35 KV |  |  |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE; 5000 V SUPPLY;1 CONDUCTO;50 SQ MM (98.7 MCM) CONDUCTO;19 STRANDS CONDUCTO;24.3 MM CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;3.4 MM (0.134 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;BLACK;PVC JACKET;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; REQUIRED CABLE LENGTH IS 1000 METERS | Yes |  | SAR | each | 6000000797 |  | 30.12 | 1,000 |  | 84 |  | 2025-04-15 03:55 | 5002332034 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | D - Dutible |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT | MOQ = 3000 m price as per Meter |  |  | 1001017127000011IR150200.pdf
6.2 | CABLE; POWER; 5KV THROUGH 35 KV |  |  |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5000 V SUPPLY;1 CONDUCTO;70 SQ MM (138 MCM) CONDUCTO;19 STRANDS CONDUCTO;25.9 MM CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;3.4 MM (0.134 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;BLACK;PVC JACKET;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; REQUIRED CABLE LENGTH IS 1000 METERS | Yes |  | SAR | each | 6000000797 |  | 39 | 1,000 |  | 84 |  | 2025-04-15 03:55 | 5002332034 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes |  |  |  | No | D - Dutible |  |  | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT | MOQ = 2000 m price as per Meter |  |  | 1001017127000021IR150200.pdf
Note on Q5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN6: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  |  |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf