## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000365981 CNL306A3152 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5002222135 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000382910 761404C05000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000385724 611101C12AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000385419 61A601C12AWGU0GN500 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000383325 761407C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000373698 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388215 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000389720 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000390065 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000386586 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | AE Utd.Arab Emir. | 5000381838 THE OKONITE COMPANY ( US - HOUSTON ) | 5000366762 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382141 761403C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000390061 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000386461 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000386683 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000393070 M4004 MANHATTAN-CDT ( US - HOUSTON ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001304027 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002613072 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000382911 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000385726 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385521 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383326 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000373699 323 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000388216 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000389721 711101C00250U0RD1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000390066 711101C00600U0WT1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000386588 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AF Afghanistan | 5001271485 761402C07000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000366763 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000382142 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000390062 711101C00600U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000386463 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386685 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000393071 9015 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5001893571 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5000382912 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000385727 23012232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385522 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001277351 DA6LU07BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001893631 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000388217 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000389722 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000390067 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000386589 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AG Antigua/Barbuda | 5001304141 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000366764 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000382143 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000390063 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000386464 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386686 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001597473 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | We are currently at full capacity
|  | POE - Port of Export | 5002143822 C212XA1030WMBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5001277347 CB3LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000385728 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385523 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893750 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143840 C451XA10300SBK04IMS ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000388218 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5000389723 THE OKONITE COMPANY ( US - HOUSTON ) | 5000390068 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386680 116671075 THE OKONITE COMPANY ( US - HOUSTON ) | AI Anguilla | 5001893720 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775576 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000382144 THE OKONITE COMPANY ( US - HOUSTON ) | 5001437380 0C01010704 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000386465 116671078 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386687 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001599015 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | Missing information / not enough information provided
|  |  | 5002157794 14530132 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001893740 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000385830 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000385525 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002143816 C212XA10700SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5000388219 116671254 THE OKONITE COMPANY ( US - HOUSTON ) | 5001299955 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001301521 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000386681 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | AB Abu Dhabi | 5002143849 C419XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002157808 12160140 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001274384 DA9LU03BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001775643 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000386466 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001429830 DW1WU01R JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001604326 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | Other
[5 empty] | 5002143921 C418XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001429820 DW2WU01W JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001429793 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002157887 13515407 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5000388320 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001775635 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775644 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001429829 DW1WU01O JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | AL Albania | 5002157864 19900837 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002785810 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001893726 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002158096 12153160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001429827 DW1WU01N JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001437365 0D06551405 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002612736 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
[5 empty] | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001437356 0D06551210 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001437353 0D06551204 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002332621 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | 5002359639 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002158088 12103140 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002158097 12173160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001437364 0D06551409 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | AM Armenia | 5002332602 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | 5002143915 C315XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5001437362 0D06551407 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001775614 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh )
[5 empty] | 5002332617 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5001775605 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775602 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002700292 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  |  |  |  | 5001775613 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AN Dutch Antilles |  |  | 5002157870 14515209 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001775611 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
[13 empty] | 5002158062 11190020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AO Angola |  |  | 5002921187 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | 5002158060 11140020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | WIRE; 750V NYA 1/C 2.5MM2 (14 AWG) STR C | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;1 CONDUCTO;RED;450-750 V SUPPLY;NYA WIRE;3.5 MM OD;30.1 KG/KM LG;TR 85 DEG C MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419599 |  |  | 143.4 |  |  |  | 2025-06-11 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389721 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00250 - U0 RD-15001299955 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158088 10044083
6.2 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;19 MM (3/4 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;580 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417767 |  |  | 500 |  |  |  | 2025-10-26 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382141 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-03C-01600-U0 BK85001893726 10037887 EGYTECH CABLES EL SEWEDY EG5002157870 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA
6.3 | WIRE;ELEC; 3.31MM2 (12 AWG) WHITE - 600V | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULL PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418919 |  |  | 2,000 |  |  |  | 2025-06-22 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385724 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 6111-01C-12AWG-U0 WT-55000385727 10016872 GENERAL CABLE USNUMBER 23012-2325001437356 10013827 SAUDI MODERN COMPANY FOR SAS
6.4 | CABLE; POWER; 600V-1000V; | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;27.3 MM (1.075 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3162 KG/KM (2125 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.040 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417981 |  |  | 1,200 |  |  |  | 2026-02-26 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382910 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )NUMBER 7614-04C05000-UOKB85001893740 10037887 EGYTECH CABLES EL SEWEDY EG5002157882 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PAR
6.5 | CABLE; POWER; 600V-1000V; | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;27.3 MM (1.075 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3162 KG/KM (2125 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.040 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417981 |  |  | 500 |  |  |  | 2026-02-26 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382910 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )NUMBER 7614-04C05000-UOKB85001893740 10037887 EGYTECH CABLES EL SEWEDY EG5002157882 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PAR
6.6 | WIRE;ELEC; 3.31MM2 (12 AWG) GREEN- 600V | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418910 |  |  | 2,000 |  |  |  | 2025-06-15 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385419 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 61A6-01C12AWG-U0GN5-00SUPERSEDED NUMBER 6111-01C-12AWG-U0 GN55000385522 10016872 GENERAL CABLE USNUMBER 240125001437353 10
6.7 | WIRE;ELEC; 2.08MM2 (14 AWG) BROWN - 600V | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;17 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000419037 |  |  | 10,000 |  |  |  | 2025-03-30 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J002-C309 RASTANURA NAJMAH COMMUNITY MAI | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386464 10016872 GENERAL CABLE USNUMBER 24014SUPERSEDED NUMBER TP AP-062015000386465 10020512 THE OKONITE COMPANY USNUMBER 116-67-10785001437362 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRE
6.8 | WIRE;ELEC; 2.08MM2 (14 AWG) ORANGE- 600V | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419055 |  |  | 10,000 |  |  |  | 2025-03-30 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J002-C309 RASTANURA NAJMAH COMMUNITY MAI | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386589 10016872 GENERAL CABLE USNUMBER 24014SUPERSEDED NUMBER TP AP-062015000386680 10020512 THE OKONITE COMPANY USNUMBER 116-67-10755001437364 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRE
6.9 | WIRE;ELEC; 2.08MM2 (14 AWG) RED - 600V | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419059 |  |  | 10,000 |  |  |  | 2025-03-30 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J002-C309 RASTANURA NAJMAH COMMUNITY MAI | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386686 10016872 GENERAL CABLE USNUMBER 240145001437365 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0D065514055002158063 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA
6.10 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; XLPE/PVC TYPE;19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;32.3 MM (1.260 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;1965 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.1 MM (0.0433 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK & WHI TE INSULATION. ABRASION; MOISTURE; ORIGINAL EQPT REFS ACID; OIL & SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC 332. REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING. MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417728 |  |  | 499 |  |  |  | 2025-06-15 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893720 10037887 EGYTECH CABLES EL SEWEDY EG5002157864 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 19900837SUPERSEDED NUMBER 145101135002143849 10012569 ALFANAR ELECTRICAL SYSTEM
6.11 | WIRE;ELEC; 3.31MM2 (12 AWG) GREEN- 600V | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418910 |  |  | 1,500 |  |  |  | 2025-06-22 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385419 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 61A6-01C12AWG-U0GN5-00SUPERSEDED NUMBER 6111-01C-12AWG-U0 GN55000385522 10016872 GENERAL CABLE USNUMBER 240125001437353 10
6.12 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419769 |  |  | 276 |  |  |  | 2025-12-14 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390062 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00600 - U0 GN-15001437380 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0C010107
6.13 | WIRE;ELEC; 3.31MM2 (12 AWG) GREEN- 600V | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418910 |  |  | 500 |  |  |  | 2025-06-22 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385419 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 61A6-01C12AWG-U0GN5-00SUPERSEDED NUMBER 6111-01C-12AWG-U0 GN55000385522 10016872 GENERAL CABLE USNUMBER 240125001437353 10
6.14 | WIRE;ELEC; 3.31MM2 (12 AWG) WHITE - 600V | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULL PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418919 |  |  | 500 |  |  |  | 2025-06-22 03:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385724 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 6111-01C-12AWG-U0 WT-55000385727 10016872 GENERAL CABLE USNUMBER 23012-2325001437356 10013827 SAUDI MODERN COMPANY FOR SAS
6.15 | WIRE; ELECTRICAL; 6 MM2; 1 CONDUCTOR; | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419802 |  |  | 1,472 |  |  |  | 2026-05-24 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390066 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00600 - U0 WT-15001301521 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158097 10044083
6.16 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;17.9 MM (0.7047 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7. ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000418074 |  |  | 1,850 |  |  |  | 2025-08-13 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000383325 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )MAT TYPE 7614 - 07C - 00400 - U0 BK85001893750 10037887 EGYTECH CABLES EL SEWEDY EG5002157887 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO
6.17 | WIRE;ELEC; 3.31MM2 (12 AWG) WHITE - 600V | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULL PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418919 |  |  | 1,500 |  |  |  | 2025-06-22 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385724 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 6111-01C-12AWG-U0 WT-55000385727 10016872 GENERAL CABLE USNUMBER 23012-2325001437356 10013827 SAUDI MODERN COMPANY FOR SAS
6.18 | WIRE; ELECTRICAL; 6 MM2; 1 CONDUCTOR; | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419802 |  |  | 524 |  |  |  | 2026-04-26 03:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390066 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00600 - U0 WT-15001301521 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158097 10044083
6.19 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV MARKINGS;PVC JACKET;IEC-60502;0.7 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412459 |  |  | 50 |  |  |  | 2025-06-29 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000365981 10013724 SAUDI CABLE COMPANY SANUMBER CNL3-06A-31525001893571 10037887 EGYTECH CABLES EL SEWEDY EG5002157794 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 14530132SUPERSED
6.20 | WIRE; ELECTRICAL; 2.5 MM2; 1 | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;1 CONDUCTO;GREEN/YELLOW;2.5 MM2 OD;STRANDED;BR TYPE;BS-6231;PVC COVERED; SUPPLIED IN 100 M REELS | No |  | USD | Role | 1000412788 |  |  | 182 |  |  |  | 2025-12-30 02:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002157808 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 121601405001775576 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000366764 10013724 SAUDI CABLE COMPANY SA5
6.21 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;380 SQ MM (750 MCM) CONDUCTO;600 V SUPPLY;3 CONDUCTO;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;ASTM B8; CLASS B;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;ICEA S-66-524;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C DRY; 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;UL-44; UL-1277;STRANDED BARE COPPER GROUND WIRE; 67.44 MM2 (2/0 AWG) GRD WIRE MOISTURE; HEAT; OIL; GASOLINE; ACID ALKALAI AND SUNLIGHT RESISTANT; FLAME RETARDANT; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER SHIPPING LENGTH; SIZE OF CONDUCTOR THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARDS 44 AND 1277; UL OR EQUIVALENT APROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000415437 |  |  | 600 |  |  |  | 2025-04-30 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000373699 10021675 SOUTHWIRE COMPANY INCORPORATED USCATALOG NUMBER 32-35001893631 10037887 EGYTECH CABLES EL SEWEDY EG5002143840 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYCODE NUM
6.22 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.81 MM (0.150 IN) OD;TR 90 DEG C MAXIMUM;SOLID;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;MOISTURE HEAT; OIL RESISTANT; FLAME RETARDANT; 0.76 MM (0.030 IN) INSUL THK; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000420847 |  |  | 100 |  |  |  | 2025-06-22 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000393070 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M40045000393071 10019733 AMERICAN INSULATED WIRE CORPORATION USLEVITON MANUFACTURING COMPANYNUMBER 9015MAT TYPE SIS5001604326 10013
6.23 | WIRE; BUILDING; 600V; | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419341 |  |  | 3,700 |  |  |  | 2025-09-24 03:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388217 10016872 GENERAL CABLE USNUMBER 250045000388218 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M28165000388219 10020512 THE OKONITE COMPANY USNUMBER 116-67-12545002359639 1001320
6.24 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;YELLOW;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION ;NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH; AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT). | No |  | USD | Meter | 1000836397 |  |  | 457.2 |  |  |  | 2025-06-22 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | Z019-C100 DHAHRAN CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002222135 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5002613072 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -
6.25 | WIRE; BUILDING; 600V; | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419341 |  |  | 445.825 |  |  |  | 2025-09-17 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388217 10016872 GENERAL CABLE USNUMBER 250045000388218 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M28165000388219 10020512 THE OKONITE COMPANY USNUMBER 116-67-12545002359639 1001320
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK29: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf