## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000383321 761407C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | AE Utd.Arab Emir. | 5000381213 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000382793 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000364783 91100IC03500U08 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000385419 61A601C12AWGU0GN500 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000392967 M4003 MANHATTAN-CDT ( US - HOUSTON ) | 5000388641 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000365647 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000388520 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383515 761419C0025U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000444615 THHNMTW8 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002724050 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | 5000388215 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000365644 92100IC07000U08 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000372967 M1223 MANHATTAN-CDT ( US - HOUSTON ) | 5000381000 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002322187 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002310289 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000365003 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000381117 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001597457 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002222133 61A601C10AWGU0BL800 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000365642 92100IC05000U08 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000383322 SAUDI CABLE COMPANY ( SA - Jeddah ) | AF Afghanistan | 5000381214 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000382794 761404C03500UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000364784 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000385521 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000392968 9015 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | 5000388644 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001277330 DB6ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000388521 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383516 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001429857 DW4WU01G JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002800941 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5000388216 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000365645 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000372968 22TE19343SXE THERMAX ( US - WHITESTONE ) | 5000381001 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002322188 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5002310291 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001893551 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000381118 761401C07000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001598994 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002613071 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000365643 SAUDI CABLE COMPANY ( SA - Jeddah ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000383323 THE OKONITE COMPANY ( US - HOUSTON ) | AG Antigua/Barbuda | 5000381215 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000382795 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001277322 AB2ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000385522 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000392969 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388645 25002132 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001755890 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000388522 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5001277353 DA5LU19BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001775663 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002983604 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000388217 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001277329 DB4ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000372969 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | 5000381002 761401C02500U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002322189 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002310292 SAUDI CABLE COMPANY ( SA - Jeddah ) |  | 5000381119 CNH116A0077 SAUDI CABLE COMPANY ( SA - Jeddah ) |  | 5002921189 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001277328 DB3ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | We are currently at full capacity
|  | POE - Port of Export | 5001277350 DA5LU07BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | AI Anguilla | 5000381216 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000382796 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001893546 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000385523 THE OKONITE COMPANY ( US - HOUSTON ) | 5001597472 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000388646 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893565 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000388523 116671252 THE OKONITE COMPANY ( US - HOUSTON ) | 5001755892 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002612740 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002983605 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000388218 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5001893564 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001470695 OKAZAKI MANUFACTURING COMPANY ( JP - CHUO-KU, TOKYO ) | 5000381003 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5002322190 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002310294 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | 5000381210 THE OKONITE COMPANY ( US - HOUSTON ) |  |  | 5001893563 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | Missing information / not enough information provided
|  |  | 5001893749 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AB Abu Dhabi | 5000381217 THE OKONITE COMPANY ( US - HOUSTON ) | 5000382797 THE OKONITE COMPANY ( US - HOUSTON ) | 5002612706 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000385525 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001599014 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002612726 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002612716 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001316279 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893755 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002983606 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | 5000388219 116671254 THE OKONITE COMPANY ( US - HOUSTON ) | 5002612715 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001470780 SUMITOMO ELECTRIC INDUSTRIES L ( JP - HITACHI-SHI, IBARAKI-KEN ) | 5000381004 THE OKONITE COMPANY ( US - HOUSTON ) | 5002322191 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002310297 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | 5001301501 0102R10113 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  |  | 5002612714 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | Other
|  |  | 5002143925 C210XA10700SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AL Albania | 5001893706 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001277346 DB2LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5001429793 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001604325 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002921188 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | 5001599010 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002144054 C210XA11900SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5002983607 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | 5000388320 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5001470822 WATLOW ELECTRIC MANUFACTURING ( US - SAINT LOUIS ) | 5001301497 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002613082 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  | 5001893705 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
|  |  | 5002157886 13515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AM Armenia | 5002143853 C346XA10100SBK52CMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001893739 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5001437353 0D06551204 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002612735 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  | 5001604300 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002157890 13515219 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002983608 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | 5002359639 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) |  | 5001470896 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893702 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  |  |  | 5002143852 C319XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh )
|  |  | 5002332620 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | AN Dutch Antilles | 5002157852 14515016 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002143920 C417XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5001775602 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  |  | 5001893784 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002332626 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | 5002983609 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) |  |  | 5001471050 HEXATRONIC CABLES AND INTERCON ( SE - HUDIKSVALL ) | 5002143812 C316XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  |  | 5002157851 14515014 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
|  |  | 5002700291 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | AO Angola |  | 5002157881 14515311 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [5 empty] | 5002612724 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [5 empty] | 5001471145 PRYSMIAN POWERLINK SRL ( IT - MILAN ) | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  | 5002332590 ELSEWEDY CABLES COMPANY ( SA - Yanbu )
|  |  |  | AQ Antarctica |  | 5002332616 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | [11 empty] | 5001471181 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002332587 ELSEWEDY CABLES COMPANY ( SA - Yanbu )
|  |  |  | AR Argentina | [13 empty] | 5001893627 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2025-05-19 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | 10265065 TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | scan.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE; 1KV XLPE/PVC 1/C 120MM2 (4/0 AWG) |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE/PVC TYPE;37 STRANDS CONDUCTO;POWER & CONTROL TYPE;120 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;20.1 MM (0.790 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;BS 6746 TYPE 5;IEC-228;FOR DIRECT BURIAL; DUCT; CONDIT; CABLE TRAY;IEC 60502-1;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332.3 REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 60502-1; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417528 |  | 55.44 | 3,686 |  | 70 |  | 2025-07-28 03:55 | 5002157852 14515016 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ = 4000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5001893706 10037887 EGYTECH CABLES EL SEWEDY EG5002157852 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 14515016SUPERSEDED NUMBER 145100165002143853 10012569 ALFANAR ELECTRICAL SYSTEM
6.2 | WIRE; ELECTRICAL; 8.36 SQ MM (8 AWG) |  | WIRE ELECTRICAL; 8.36 SQ MM (8 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-MTW WIRE;5.6 MM (0.220 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C (DRY LOCATION) & 75 DEG C (WET LOCATION) MAX;19/STRANDED COPPER;PVC (THERMOPLASTIC); INSULATION WITH NYLON JACKET INSUL;CLASS C AS PER ASTM B8 CONDUCTO;BUILDING TYPE;UL LISTED (E 33401);CONDUIT OR RACEWAY; APPLICATION; HEAT; MOISTURE; GASOLINE AND OIL RESISTANT; 150 M PER COIL (500 FT/COIL) | Yes |  | SAR | Role | 1000441144 |  | 659.46 | 4 |  | 70 |  | 2025-08-10 03:55 | 5002612740 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ = 50 Spool price as per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5000444615 10016871 GENERAL CABLE USBICC GENERALMAT TYPE THHN/MTW-85002612740 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -5001775663 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF AL
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;35 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;25.2 MM (0.990 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;1590 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED; BLUE AND BLACK INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417938 |  | 63 | 3,440 |  | 70 |  | 2026-08-30 03:55 | 5002157881 14515311 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ = 3500 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000382794 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )NUMBER 7614-04C03500-UOKB85001893739 10037887 EGYTECH CABLES EL SEWEDY EG5002157881 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PAR
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;25 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;9.9 MM (0.39 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTUER MARKINGS;210 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417495 |  | 15 | 500 |  | 70 |  | 2025-08-11 03:55 | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ = 2000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000381002 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-01C-02500-U0 BK85001893702 10037887 EGYTECH CABLES EL SEWEDY EG5001301497 10013827 SAUDI MODERN COMPANY FOR SASPECIALI
6.5 | WIRE;ELEC; 3.31MM2 (12 AWG) GREEN- 600V |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418910 |  | 242 | 10,500 |  | 70 |  | 2025-08-11 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahrah advanced cables manufacture |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | MOQ = 100 spool price as per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5000385419 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 61A6-01C12AWG-U0GN5-00SUPERSEDED NUMBER 6111-01C-12AWG-U0 GN55000385522 10016872 GENERAL CABLE USNUMBER 240125001437353 10
6.6 | CABLE; ELECTRICAL; LOW VOLTAGE; CCM; |  | CABLE ELECTRICAL LOW VOLTAGE; CCM TYPE;SOLID CONDUCTO;MINERAL HEAVY DUTY TYPE;4.0 SQ MM CONDUCTO;600 V SUPPLY;3 CONDUCTO;12.1 MM (0.476 IN) CABLE OD;ORANGE;PYROTENAX MARKINGS;PVC JACKET;COPPER SHIELDIN;FOR CABLE TRAY;REEL;TR 90 DEG C DRY & 75 DEG C WET;MAGNESIUM OXIDE INSUL;COPPER CONDUCTO;BASEC; BS 6207;MINERAL INSULATED COPPER SHEATHED | No | We don't carry a compatible part/material | SAR | Meter | 1000439835 |  |  | 30 |  |  |  | 2025-06-15 03:55 | [6 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002310292 10013724 SAUDI CABLE COMPANY SA5002310289 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5002310297 10046468 ELSEWEDY CABLES COMPANY SA5002310291 10013206 MIDDLE EAST SPECIALI
6.7 | CABLE; ELECTRICAL; LOW VOLTAGE; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;19 CONDUCTO;21.9 MM (0.862 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF MANU FACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;BS 6746 TYPE 5;IEC 228 CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR BS 6746 TYPE 5;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; RESISTANT TO ABRASION; MOISTURE ACID; OIL & SUN LGHT; | Yes |  | SAR | Meter | 1000418119 |  | 30 | 600 |  | 70 |  | 2025-08-17 03:55 | 5002157890 13515219 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | MOQ = 3000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000383515 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614 - 19C - 0025 - U0 BK85001893755 10037887 EGYTECH CABLES EL SEWEDY EG5001755892 10013827 SAUDI MODERN COMPANY FOR SASPE
6.8 | CABLE; 1KV XLPE/PVC 7/C 2.5MM2 (14 AWG) |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;15.6 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 332.3; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7. ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL & SUNLGHT RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000418072 |  | 13 | 500 |  | 70 |  | 2025-09-28 03:55 | 5002157886 13515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT | MOQ = 3000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000383321 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )MAT TYPE 7614 - 07C - 00250 - U0 BK85001893749 10037887 EGYTECH CABLES EL SEWEDY EG5002157886 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO
6.9 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;4 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 4 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893724 |  | 13 | 500 |  | 70 |  | 2025-08-18 03:55 | 5002613082 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ = 2000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5002613082 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322188 10013724 SAUDI CABLE COMPANY SA5002322191 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5002322189 1 | 5021450319000101MS8314004SHTS05012005.pdf
6.10 | CABLE; 1KV XLPE/PVC 1/C 70MM2 (2/0 AWG) |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDED CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;16.3 MM (0.642 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;1000 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;1.1 MM (0.0433 IN) INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417525 |  | 33 | 180 |  | 70 |  | 2026-02-15 02:55 | 5002157851 14515014 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT | MOQ = 2000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000381118 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-01C-07000-U0 BK85000381119 10013724 SAUDI CABLE COMPANY SAPART NUMBER CNH1-16A-00775001893705 10037887 EGYTECH CABLES
6.11 | CABLE ELECTRICAL MEDIUM VOLTAGE; ELECTRI |  | CABLE ELECTRICAL MEDIUM VOLTAGE; ELECTRIC TYPE;12 / 20 (24) KV SUPPLY;1 CONDUCTO;1X400/134 MM2 CONDUCTO;STRANDED CONDUCTO;CU; COMPACTED ROUND CLASS 2 CONDUCTO;PVC-ST2;XLPE INSUL;505 M INSUL TH;PVC JACKET;500 METERS LENGHT LG;TR 90 C;REEL;MC TYPE;FOR DIRECT BURIAL ; UNDERGROUND ; TRAY;15-SAMSS-502;CU /XLPE /PCV-FR OR-SR 1X400/134 MM2 20KV CWS IEC 60502-2 FR-IEC 60332-3.23 | Yes |  | SAR | Meter | 1001056985 |  | 234 | 3,500 |  | 70 |  | 2025-08-31 03:55 | 5002724050 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002723897 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 200002915002800941 30000926 SAUDI MODERN COMPANY FOR CABLE SAINDUSTRY LIMITED (RIYADH CABLES)5002724050 30006546 BAHRA ADVANCE | 502146874700010115SAMSS50203272023.pdf
6.12 | CABLE; 1KV XLPE/PVC 7/C 2.5MM2 (14 AWG) |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;15.6 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 332.3; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7. ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL & SUNLGHT RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000418072 |  | 13 | 500 |  | 70 |  | 2025-10-14 03:55 | 5002157886 13515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT | MOQ = 3000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000383321 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )MAT TYPE 7614 - 07C - 00250 - U0 BK85001893749 10037887 EGYTECH CABLES EL SEWEDY EG5002157886 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO
6.13 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.56 MM (0.140 IN) OD;TR 90 DEG C MAXIMUM;SOLID;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;MOISTURE HEAT; OIL RESISTANT; FLAME RETARDANT; CARTON OR FULLY PROTECTED REEL; APPROX 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000420843 |  | 188 | 1,000 |  | 70 |  | 2025-08-03 03:55 | 5002612735 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ = 20 spool price as per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5000392967 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M40035000392968 10019733 AMERICAN INSULATED WIRE CORPORATION USLEVITON MANUFACTURING COMPANYNUMBER 9015MAT TYPE SIS5001604325 10013
6.14 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.56 MM (0.140 IN) OD;TR 90 DEG C MAXIMUM;SOLID;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;MOISTURE HEAT; OIL RESISTANT; FLAME RETARDANT; CARTON OR FULLY PROTECTED REEL; APPROX 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000420843 |  | 188 | 500 |  | 70 |  | 2025-08-05 03:55 | 5002612735 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT | MOQ = 20 spool price as per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5000392967 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M40035000392968 10019733 AMERICAN INSULATED WIRE CORPORATION USLEVITON MANUFACTURING COMPANYNUMBER 9015MAT TYPE SIS5001604325 10013
6.15 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.56 MM (0.140 IN) OD;TR 90 DEG C MAXIMUM;SOLID;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;MOISTURE HEAT; OIL RESISTANT; FLAME RETARDANT; CARTON OR FULLY PROTECTED REEL; APPROX 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000420843 |  | 188 | 1,500 |  | 70 |  | 2025-08-10 03:55 | 5002612735 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | MOQ = 20 spool price as per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5000392967 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M40035000392968 10019733 AMERICAN INSULATED WIRE CORPORATION USLEVITON MANUFACTURING COMPANYNUMBER 9015MAT TYPE SIS5001604325 10013
6.16 | CABLE; 33.63 MM2 (2 AWG); 7 STRANDS; |  | CABLE; 33.63 MM2 (2 AWG) DIA;7 STRANDS;BARE COPPER;ASTM B8;MEDIUM HARD-DRAWN; UNCOATED; 2.5 MM (0.0974 IN) DIA EACH STRAND; CLASS A CONCENTRIC-LAY-STRANDED; 7.4 MM (0.292 IN) 303 KG/KM (204.9 LBS PER 1000 FT) NET; REEL NO C-17; 220 LBS COIL | No | We don't carry a compatible part/material | SAR | Feet | 1000412145 |  |  | 10,000 |  |  |  | 2025-08-10 03:55 | [6 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893551 10037887 EGYTECH CABLES EL SEWEDY EG5000365003 10013002 JEDDAH CABLES COMPANY LTD SA
6.17 | CABLE; EARTHING; 120 SQ MM; 37 S |  | CABLE; EARTHING TYPE;120 SQ MM DIA;37 STRANDS;BARE COPPER;IEC 228 CLASS 2;SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED; CAT NO CXX1-19X | Yes |  | SAR | Meter | 1000412346 |  | 47 | 4,221.6 |  | 70 |  | 2025-08-24 03:55 | 5002612716 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ = 4500 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5001893565 10037887 EGYTECH CABLES EL SEWEDY EG5001755890 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002612716 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -5001277
6.18 | CABLE; GROUNDING; 50 SQ MM; 19 |  | CABLE; GROUNDING TYPE;50 SQ MM DIA;19 STRANDS;BARE COPPER;IEC 228 CLASS 2;SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED; CAT NO CXX1-14X | Yes |  | SAR | Meter | 1000412308 |  | 19 | 2,428.6 |  | 70 |  | 2025-07-01 03:55 | 5002612714 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT | MOQ = 2500 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000365642 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 9210-0IC-05000-U0-85001893563 10037887 EGYTECH CABLES EL SEWEDY EG5002612714 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO
6.19 | CABLE; GROUND; 70 SQ MM; 19 STRANDS |  | CABLE; GROUNDING TYPE;70 SQ MM DIA;19 STRANDS;BARE COPPER;IEC 228;SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED | Yes |  | SAR | Meter | 1000412342 |  | 27 | 1,000 |  | 70 |  | 2025-08-17 03:55 | 5002612715 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000365644 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 9210-0IC-07000-U0-85001893564 10037887 EGYTECH CABLES EL SEWEDY EG5002612715 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO
6.20 | CABLE; GROUNDING; 35 SQ MM; 7 |  | CABLE; GROUNDING TYPE;35 SQ MM DIA;7 STRANDS;BARE COPPER;DIN 48201;HARD-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED | Yes |  | SAR | Meter | 1000412086 |  | 15 | 500 |  | 70 |  | 2025-06-02 03:55 | 5002612706 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT | MOQ = 3000 m price as per Meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000364783 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 9110-0IC-03500-U0-85001893546 10037887 EGYTECH CABLES EL SEWEDY EG5002612706 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO
6.21 | WIRE; ELECTRICAL; 13.3 MM2 (6 AWG)/7 |  | WIRE ELECTRICAL; 13.3 MM2 (6 AWG)/7 STRANDS CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THW WIRE;6.35 MM (1/4 IN) OD;137 KG/KM (92.8 LBS PER 1000 FT) LG;TR 85 DEG C MAXIMUM;CLASS B;PVC INSUL;COPPER CONDUCTO;IPCEA S-70-547; ANSI C8.35; UL;MEDIUM HARD-DRAWN; CONCENTRIC-LAY-STRANDED; 0.76 MM (0.030 IN) COVER THK | No | We don't carry a compatible part/material | SAR | Feet | 1000412349 |  |  | 1,000 |  |  |  | 2025-07-06 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001597457 10013002 JEDDAH CABLES COMPANY LTD SA5001598994 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )
6.22 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't carry a compatible part/material | SAR | Feet | 1000419341 |  |  | 431.837 |  |  |  | 2025-06-03 03:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | E003-C300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388217 10016872 GENERAL CABLE USNUMBER 250045000388218 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M28165000388219 10020512 THE OKONITE COMPANY USNUMBER 116-67-12545002359639 1001320
6.23 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't carry a compatible part/material | SAR | Feet | 1000419341 |  |  | 1,197.163 |  |  |  | 2025-10-22 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388217 10016872 GENERAL CABLE USNUMBER 250045000388218 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M28165000388219 10020512 THE OKONITE COMPANY USNUMBER 116-67-12545002359639 1001320
6.24 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't carry a compatible part/material | SAR | Feet | 1000419341 |  |  | 240 |  |  |  | 2025-11-05 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388217 10016872 GENERAL CABLE USNUMBER 250045000388218 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M28165000388219 10020512 THE OKONITE COMPANY USNUMBER 116-67-12545002359639 1001320
6.25 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't carry a compatible part/material | SAR | Feet | 1000419341 |  |  | 1,000 |  |  |  | 2025-11-06 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388217 10016872 GENERAL CABLE USNUMBER 250045000388218 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M28165000388219 10020512 THE OKONITE COMPANY USNUMBER 116-67-12545002359639 1001320
6.26 | WIRE;ELEC; 21.15MM2 (4 AWG) WHITE - 600V |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;229.2 KG/KM (154 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No | We don't carry a compatible part/material | SAR | Feet | 1000419446 |  |  | 500 |  |  |  | 2025-08-18 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388521 10016872 GENERAL CABLE USNUMBER 250045000388522 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M28165000388523 10020512 THE OKONITE COMPANY USNUMBER 116-67-12525001893784 1003788
6.27 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 33.63 MM2 (2 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;9.91 MM (0.390 IN) OD;351.2 KG/KM (236 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No | We don't carry a compatible part/material | SAR | Feet | 1000419474 |  |  | 1,000 |  |  |  | 2025-09-02 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388645 10016872 GENERAL CABLE USNUMBER 25002-132SUPERSEDED NUMBER TP AP-062015002612726 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -5000388641 10013206 MIDDLE EAST SPECIALIZED CABL
6.28 | CORD; ELECTRICAL; 3 CONDUCTOR; 0.33 |  | CORD ELECTRICAL; 3 CONDUCTO;0.33 SQ MM (22 AWG) CONDUCTO;19 X 34 STRANDS CONDUCTO;600 V SUPPLY;SILVER PLATE COPPER CONDUCTO;TFE OR PFA;3.2-4 MM (0.126-0.156 IN) OD;WHITE;TEF OR PFA TEFLON TAPE JACKET;TEFLON; SIVER BRAID PLATED COPPER SHIELD INSUL;TR -65 TO 200 DEG C;38 KG/KM (25.3 LBS PER 1000 FT) LG;FOR HIGH TEMPERATURE; CABLE TRAY; CONDUIT; DUCT; UL-83;MIL-W-16878/4 (TYPE-E;BLACK; WHITE; RED; 0.25 MM (0.010 IN) INSULATION TH; 2.5 MM (0.100 IN) OUTER JACKET TH; BLACK AND WHITE INSULATION; OIL; GASOLINE; ACID; ALKALI; MOISTURE FLAME AND SUNLIGHT RESISTANT; PASSES VW-1 VERTICAL WIRE FLAME TEST; MINIMUM OF 152 M (500 FT) UNCUT LENGTH PER REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO ICEA UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; OUTER MARKINGS; VOLTAGE; NUMBER; SIZE OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURED; INSULATION THICKNESS; 0.28 MM (0.011 IN); CONDUCTOR MATERIAL SPEC; ASTM B8 CLASS C; SHIELDING MATERIAL; SILVER PLATED COPPER BRAID; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | We don't carry a compatible part/material | SAR | Feet | 1000415131 |  |  | 400 |  |  |  | 2025-08-24 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000372968 10024109 THERMAX USCABLE DESIGN TECHNOLOGIES -CDTNUMBER 22-TE-1934(3)SXE5000372967 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M12235001470695 10001266 OKAZAKI MANUFACTURING CO
6.29 | WIRE;ELEC; 21.15MM2 (4 AWG) WHITE - 600V |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;229.2 KG/KM (154 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No | We don't carry a compatible part/material | SAR | Feet | 1000419446 |  |  | 65 |  |  |  | 2025-09-01 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388521 10016872 GENERAL CABLE USNUMBER 250045000388522 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIESNUMBER M28165000388523 10020512 THE OKONITE COMPANY USNUMBER 116-67-12525001893784 1003788
6.30 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT) | Yes |  | SAR | Meter | 1000836395 |  | 383 | 304 |  | 70 |  | 2026-07-27 03:55 | 5002613071 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | MOQ = 100 spool price as per spool |  | <Strong>Manufacturer Part Number Text :</Strong>5002222133 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-01C10AWG-U0BL8-005002613071 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002921189 10013827 SAUDI MODERN
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL34: Answer Type: Text (multiple lines) Acceptable Values: Any Value