## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000379309 761437C14AWGUOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000377328 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000382915 761404C07000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5003108676 761403C09500U0BK800 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | AE Utd.Arab Emir. | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000383021 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000388215 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000379421 3625 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5000377329 GENERAL CABLE ( US - MARION ) | 5000382916 SAUDI CABLE COMPANY ( SA - Jeddah ) |  | AF Afghanistan | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383022 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000388216 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000379422 M27153 MANHATTAN-CDT ( US - HOUSTON ) | 5000377431 THE OKONITE COMPANY ( US - HOUSTON ) | 5000382917 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | AG Antigua/Barbuda | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001277349 CB6LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000388217 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We are currently at full capacity
|  | POE - Port of Export | 5000379423 THE OKONITE COMPANY ( US - HOUSTON ) | 5000377432 323 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001277348 CB4LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | AI Anguilla | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893742 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000388218 M2816 MANHATTAN-CDT ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5001429777 DA5LU37BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001327925 DC7LU3AB JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001893741 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | AB Abu Dhabi | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002143923 C446XA10400SBK08CMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000388219 116671254 THE OKONITE COMPANY ( US - HOUSTON ) | Other
|  |  | 5001437347 0802R10375 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001893659 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143922 C419XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | AL Albania | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002157884 14515315 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000388320 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON )
|  |  | 5001893674 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | AM Armenia | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | 5002359639 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh )
|  |  | 5002243999 GENERAL CABLE ( US - MARION ) |  | 5002332618 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | AN Dutch Antilles | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh )
|  |  | 5002332566 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  |  |  | AO Angola | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2025-06-10 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | 10266204 TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | 10266204 offer.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | WIRE;ELEC; 5.26MM2 (10 AWG) BLACK- 600V |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 362 | 23,500 |  | 84 |  | 2025-05-18 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | price as per Meter 47 Spool |  | Manufacturer Part Number Text : 5000387654 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387655 10020512 THE OKONITE COMPANY US NUMBER 116-67-1131 5001437376 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551003 5002158074 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11130040 SUPERSEDED NUMBER 11131040 5001775625 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429851 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW3WU01B 5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387653 10016871 GENERAL CABLE US BICC GENERAL 5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.2 | m5BLE; ELECTRICAL; LOW VOLTAGE; XLPE; |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;37 STRANDS CONDUCTO;POWER & CONTROL TYPE;120 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;49.2 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION.\ ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417987 |  | 215.16 | 100 |  | 84 |  | 2025-11-06 02:55 | 5002157884 14515315 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT | MOQ = 1000 m price as per Meter |  | Manufacturer Part Number Text : 5001893742 10037887 EGYTECH CABLES EL SEWEDY EG 5002157884 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515315 SUPERSEDED NUMBER 14510315 5002143923 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C446XA10400SBK08CMF 5001277349 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER CB6LU04BG 5000383021 10013724 SAUDI CABLE COMPANY SA 5000383022 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; 19 S |  | CABLE ELECTRICAL LOW VOLTAGE; 19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;29.7 MM MINIMUM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION;MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417984 |  | 113 | 100 |  | 84 |  | 2025-05-02 03:55 | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | A015-C532 UTHMANIYAH MAIN WAREHOUSE | 04 BOAT | MOQ = 1000 m price as per Meter |  | Manufacturer Part Number Text : 5000382915 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) NUMBER 7614-04C07000-UOKB8 5001893741 10037887 EGYTECH CABLES EL SEWEDY EG 5002157883 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 19900488 SUPERSEDED NUMBER 14510313 5002143922 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C419XA10400SBK08IMR 5001277348 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER CB4LU04BG 5000382916 10013724 SAUDI CABLE COMPANY SA 5002332618 10046468 ELSEWEDY CABLES COMPANY SA 5000382917 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;8.34 SQ MM (8 AWG); 3.31 SQ MM (12 AWG) CONDUCTO;600 V SUPPLY;3; 4 CONDUCTO;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;ASTM B8; CLASS B;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;REEL;TR 90 DEG C DRY; 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;XHHW; OPTIONAL 10 AWG GROUND; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT REEL MARKED WITH; ARAMCO PURCHASE ORDER STOCK NUMBER SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARDS 44 AND 1277 UL OR EQUIVALENT APROVED LABELED OR LISTED REQUIRED | No | Discontinued Item | SAR | Feet | 1000416517 |  |  | 1,000 |  |  |  | 2025-05-02 03:55 | [6 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001327925 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DC7LU3AB 5000377432 10021675 SOUTHWIRE COMPANY INCORPORATED US CATALOG NUMBER 32-3 5001893659 10037887 EGYTECH CABLES EL SEWEDY EG 5000377431 10020512 THE OKONITE COMPANY US 5000377328 10003546 ** NEXANS HELLAS S.A. GR 5000377329 10016865 GENERAL CABLE US BICC CABLES CORPORATION
6.5 | CABLE; POWER AND CONTROL; 600V; |  | CORD ELECTRICAL; 37 CONDUCTO;2.08 SQ MM (14 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C WET;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;UL-44; UL-1277;MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURE NAME; YEAR OF MANUFACTURE; CONDUCTOR MATERIAL SPEC; ASTM B8; CLASS B; INSULATION MATERIAL SPEC; ICEA S-66-524 PART 3; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Feet | 1000416851 |  | 183.5 | 20,300 |  | 84 |  | 2025-09-24 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra advanced Cable Manufacture |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | price as per Meter 41 Spool |  | Manufacturer Part Number Text : 5000379309 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-37C-14AWG UO BK8 5000379421 10017431 ROME CABLE CORPORATION US NUMBER 3625 5000379422 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M27153 5001893674 10037887 EGYTECH CABLES EL SEWEDY EG 5001437347 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0802R10375 5001429777 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA5LU37BEG 5002243999 10016865 GENERAL CABLE US BICC CABLES CORPORATION 5000379423 10020512 THE OKONITE COMPANY US 5002332566 10046468 ELSEWEDY CABLES COMPANY SA
6.6 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't carry a compatible part/material | SAR | Feet | 1000419341 |  |  | 3,779.6 |  |  |  | 2025-12-23 02:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5000388217 10016872 GENERAL CABLE US NUMBER 25004 5000388218 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M2816 5000388219 10020512 THE OKONITE COMPANY US NUMBER 116-67-1254 5002359639 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000388215 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000388216 10016871 GENERAL CABLE US BICC GENERAL 5000388320 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.7 | CABLE ELECTRICAL POWER COPPER 95MM2 XLPE |  | CABLE ELECTRICAL; 600/1000 V SUPPLY;3 CONDUCTO;95MM2 CONDUCTO;POWER TYPE;POWER TYPE;COPPER CONDUCTO;XLPE INSUL;TR 30°C TO 90°C;PVC JACKET;RED; YELLOW & BLUE;CU/XLPE/PVC 3CX95MM2 600/1000V MARKINGS;19;CONDUCTOR RESISTANCE; AS PER CLASS 2 OF IEC 60228;SIZE ;3 CORE 95 MM; THICKNESS;1.1 MM | Yes |  | SAR | Meter | 1001559815 |  | 118 | 50 |  | 84 |  | 2025-10-05 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra advanced Cable Manufacture |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No |  |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B005-C322 TANAJIB STORE STOCK | 04 BOAT | MOQ = 1000 m price as per Meter |  | Manufacturer Part Number Text : 5003108676 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 7614-03C09500-U0BK8-00
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value