## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5002322177 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5003096344 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | 5000387338 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000366104 ENLB55A3145 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5002214899 SAUDI CABLE COMPANY ( SA - Jeddah ) | AE Utd.Arab Emir. | 5000444615 THHNMTW8 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002661577 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | 5001301553 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000389950 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000384029 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001120776 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381526 761402C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002214901 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5002322193 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002322178 SAUDI CABLE COMPANY ( SA - Jeddah ) |  | 5000387430 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001301464 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002612744 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AF Afghanistan | 5001429857 DW4WU01G JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002983565 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5002612738 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000389951 711101C00400U0RD1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001597466 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001308800 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5000381527 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5002315190 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002322194 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000377320 ROME CABLE CORPORATION ( US - ARLINGTON ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002322179 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  | 5000387431 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001327915 DD1LA3ABG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | AG Antigua/Barbuda | 5001775663 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002983566 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | 5000389952 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001604296 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001328126 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000381528 THE OKONITE COMPANY ( US - HOUSTON ) | 5002315191 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002322195 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000377321 THE OKONITE COMPANY ( US - HOUSTON ) | We are currently at full capacity
|  | POE - Port of Export | 5002322180 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5000387432 116671103 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893580 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | AI Anguilla | 5002612740 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002983567 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) |  | 5000389953 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893767 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001894110 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5001277336 DA5LU02BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5002322196 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001427180 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | Missing information / not enough information provided
|  |  | 5002322181 10006077280010 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5000387433 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002143829 C435XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | AB Abu Dhabi |  | 5002983568 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) |  | 5001299959 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002332632 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5002206200 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5001893712 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002613083 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001437334 0102R10306 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | Other
|  |  | 5002613080 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001429838 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002157801 14530282 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | AL Albania |  | 5002983569 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) |  | 5001775640 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5002206201 THE OKONITE COMPANY ( US - RICHMOND ) | 5002143858 C210XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | 5001893657 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
[5 empty] | 5001437373 0D06551205 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002332538 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | AM Armenia |  | 5002983570 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) |  | 5002158093 12103150 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002206202 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5002157857 14515103 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  | 5002243981 GENERAL CABLE ( US - MARION )
[5 empty] | 5001775622 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | AN Dutch Antilles |  | 5002983571 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) |  |  |  | 5002206205 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) |  |  |  | 5002332554 ELSEWEDY CABLES COMPANY ( SA - Yanbu )
[5 empty] | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  | AO Angola | [5 empty] | 5002332759 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
[8 empty] | AQ Antarctica | [5 empty] | 5002364496 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
[8 empty] | AR Argentina | [5 empty] | 5002364497 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
[8 empty] | AS Samoa,American | [5 empty] | 5002364498 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
[8 empty] | AT Austria | [5 empty] | 5002527077 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
[8 empty] | AU Australia | [5 empty] | 5002983513 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
[8 empty] | AW Aruba | [5 empty] | 5002983514 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CABLE ELECTRICAL MEDIUM VOLTAGE; 15 KV ( | CABLE ELECTRICAL MEDIUM VOLTAGE; 15 KV (12/20) KV SUPPLY;1 CONDUCTO;380 MM2 ( 750 MCM ) CONDUCTO;44.9 MM CABLE OD;COPPER CONDUCTO;XLPE INSUL;5.5 MM INSUL TH;BLACK;PVC JACKET;2503 KG- 500 METER LG;TR 90 CENTIGRADE;REEL;POWER TYPE;15-SAMSS-502;SEMICONDUCTOR WATER BLOCKING FEATURE; CONCENTRIC-LAY-STRANDED ANNEALED PLAIN COPPER CONDUCTOR;DIRECT BURIAL;CONDUIT AND DUCT SERVICE; DRY AND WET LOCATIONS;OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT. | No |  | USD | Meter | 1001031895 |  |  | 273 |  |  |  | 2025-10-19 03:55 | [6 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002663480 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. CODE NUMBER 24025159 5002661577 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. CODE NUMBER 24025159 5002980845 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002980851 10062253 BRANCH OF JEDDAH CABLES COMPANY SA 5002983568 30005611 AL-FANAR ELECTRICAL SYSTEMS SA 5002980846 10013002 JEDDAH CABLES COMPANY LTD SA 5002980847 10013724 SAUDI CABLE COMPANY SA 5002980848 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002980849 10046468 ELSEWEDY CABLES COMPANY SA 5002980850 10058298 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. 5002983565 30000598 JEDDAH CABLE COMPANY LIMITED SA 5002983566 30000865 SAUDI CABLE COMPANY SA 5002983567 30000926 SAUDI MODERN COMPANY FOR CABLE SA INDUSTRY LIMITED (RIYADH CABLES) 5002983569 30005612 ELSEWEDY CABLES COMPANY LTD. SA 5002983570 30007746 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. 5002983571 30008237 BRANCH OF JEDDAH CABLES COMPANY SA | 502149628500010115SAMSS50203272023.pdf
6.2 | WIRE; BUILDING; 450-750V; | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;RED;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;47 KG/KM LG;TR 85 DEG C MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227; IEC 332;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419731 |  |  | 2,852 |  |  |  | 2025-09-30 03:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000389951 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 00400 - U0 RD-1 5001299959 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002158093 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12103150 SUPERSEDED NUMBER 12100150 5001775640 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000389952 10013724 SAUDI CABLE COMPANY SA 5000389953 10020512 THE OKONITE COMPANY US 5000389950 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.3 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;150 SQ MM (296 MCM) CONDUCTO;12 STRANDS CONDUCTO;70.0 MM CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;3.4 MM (0.134 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;STEEL WIRE ARMOR;PVC JACKET;8230 KG/KM LG;TR 90 DEG C MAX;REEL;MV TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT; AERIAL;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 0.5 MM STEEL TAPE ARMOR; FLAME RETARDANT. | No |  | USD | Meter | 1000417120 |  |  | 100 |  |  |  | 2025-10-05 03:55 | [6 empty] | Normal/staged | N | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001120776 30000865 SAUDI CABLE COMPANY SA 5002364496 30004750 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO. LTD 5001328126 30000598 JEDDAH CABLE COMPANY LIMITED SA 5002364497 30005137 QINGDAO HANHE CABLE CO LTD CN 5002364498 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. 5002206200 30001855 THE OKONITE CO. INC. US 5002206201 30001856 THE OKONITE COMPANY US 5002206202 30001858 THE OKONITE COMPANY US 5002206205 30004402 OMAN CABLES INDUSTRY (SAOG) OM 5000380179 10013724 SAUDI CABLE COMPANY SA NUMBER ER6GM-21B-0868 5001327939 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER HB7WOF2G 5002332759 30005612 ELSEWEDY CABLES COMPANY LTD. SA 5001894110 30004522 EGYTECH CABLES EL SEWEDY EG 5001893686 10037887 EGYTECH CABLES EL SEWEDY EG 5002197973 10020512 THE OKONITE COMPANY US 5002197978 10035589 OMAN CABLES INDUSTRY (SAOG) OM 5001308800 30000926 SAUDI MODERN COMPANY FOR CABLE SA INDUSTRY LIMITED (RIYADH CABLES) 5002526933 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002332576 10046468 ELSEWEDY CABLES COMPANY SA 5001301481 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002364157 10037383 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO LTD 5002364158 10040262 QINGDAO HANHE CABLE CO LTD CN 5002364159 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. 5002527077 30005611 AL-FANAR ELECTRICAL SYSTEMS SA 5002980000 10062253 BRANCH OF JEDDAH CABLES COMPANY SA 5002979999 10058298 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. 5002983513 30007746 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. 5002983514 30008237 BRANCH OF JEDDAH CABLES COMPANY SA | 502152848800010115SAMSS50203272023.pdf
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;165 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417609 |  |  | 750 |  |  |  | 2025-10-14 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000381526 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-02C-00250-U0 BK8 5001893712 10037887 EGYTECH CABLES EL SEWEDY EG 5002157857 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515103 SUPERSEDED NUMBER 14510103 5002143858 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA10200SBK01IMR 5001277336 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA5LU02BEG 5000381527 10013724 SAUDI CABLE COMPANY SA 5000381528 10020512 THE OKONITE COMPANY US
6.5 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;35/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 35 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412636 |  |  | 261 |  |  |  | 2026-04-26 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000366104 10013724 SAUDI CABLE COMPANY SA NUMBER ENLB-55A-3145 5001327915 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DD1LA3ABG 5001893580 10037887 EGYTECH CABLES EL SEWEDY EG 5001301464 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002157801 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14530282 SUPERSEDED NUMBER 14530252 5002143829 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C435XA1040WSBK08IMR 5002332538 10046468 ELSEWEDY CABLES COMPANY SA
6.6 | WIRE; ELECTRICAL; 8.36 SQ MM (8 AWG) | WIRE ELECTRICAL; 8.36 SQ MM (8 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-MTW WIRE;5.6 MM (0.220 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C (DRY LOCATION) & 75 DEG C (WET LOCATION) MAX;19/STRANDED COPPER;PVC (THERMOPLASTIC); INSULATION WITH NYLON JACKET INSUL;CLASS C AS PER ASTM B8 CONDUCTO;BUILDING TYPE;UL LISTED (E 33401);CONDUIT OR RACEWAY; APPLICATION; HEAT; MOISTURE; GASOLINE AND OIL RESISTANT; 150 M PER COIL (500 FT/COIL) | No |  | USD | Role | 1000441144 |  |  | 5 |  |  |  | 2025-10-19 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000444615 10016871 GENERAL CABLE US BICC GENERAL MAT TYPE THHN/MTW-8 5002612740 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001775663 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429857 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW4WU01G
6.7 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;16 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 16 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893722 |  |  | 900 |  |  |  | 2025-10-19 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002322181 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY ORDER NUMBER 1000607728-0010 5002613080 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5002322178 10013724 SAUDI CABLE COMPANY SA 5002322179 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002322177 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002322180 10013002 JEDDAH CABLES COMPANY LTD SA | 5021550827000101MS8314004SHTS05012005.pdf
6.8 | WIRE;ELEC; 3.31MM2 (12 AWG) RED - 600V | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419193 |  |  | 20,000 |  |  |  | 2025-10-19 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | Manufacturer Part Number Text : 5000387431 10016872 GENERAL CABLE US NUMBER 24012 SUPERSEDED NUMBER TP AP-06201 5000387432 10020512 THE OKONITE COMPANY US NUMBER 116-67-1103 5001437373 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551205 5002158071 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11100030 SUPERSEDED NUMBER 11101030 5001775622 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429838 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01R 5000387338 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387430 10016871 GENERAL CABLE US BICC GENERAL 5000387433 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.9 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;70 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 70 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893725 |  |  | 600 |  |  |  | 2025-09-07 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002613083 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5002322193 10013724 SAUDI CABLE COMPANY SA 5002322196 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002322194 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002322195 10013002 JEDDAH CABLES COMPANY LTD SA | 5021558010000101MS8314004SHTS05012005.pdf
6.10 | CORD; ELECTRICAL; 3 CONDUCTOR; 3.31 | CORD ELECTRICAL; 3 CONDUCTO;3.31 SQ MM (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;9.9 MM (0.390 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;164 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-1569;CLASS B; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.80 MM(0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000416479 |  |  | 1,700 |  |  |  | 2026-04-22 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000377227 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-03C-12AWG UO BK7 SUPERSEDED NUMBER 7614-03C-12AWG UO BK8 5001893657 10037887 EGYTECH CABLES EL SEWEDY EG 5001437334 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0102R10306 5001427180 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA6LU03BEG 5002243981 10016865 GENERAL CABLE US BICC CABLES CORPORATION 5000377321 10020512 THE OKONITE COMPANY US 5002332554 10046468 ELSEWEDY CABLES COMPANY SA 5000377320 10017431 ROME CABLE CORPORATION US
6.11 | CABLE; ELECTRICAL; LOW VOLTAGE; UF-B; | CABLE ELECTRICAL LOW VOLTAGE; UF-B TYPE;SOLID CONDUCTO;POWER TYPE;2.08 SQ MM (14 AWG) CONDUCTO;600 V SUPPLY;2 CONDUCTO;6.4 MM (1/4 IN) X 10.9 MM (0.430 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;0.79 MM (0.031 IN) INSUL TH;ASTM B3;FOR DIRECT BURIAL EXPOSED OR CONCEALED WORK;CARTON OR FULLY PROTECTED REEL;TR 75 DEG C;PVC INSUL;COPPER CONDUCTO;UL-83; UL-493;DRY; WET OR CORROSIVE LOCATIONS; MOISTURE; FUNGUS & CORROSION RESISTANT; FLAME RETARDANT; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83 & UL493; UL OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000418403 |  |  | 8,140 |  |  |  | 2025-10-13 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001893767 10037887 EGYTECH CABLES EL SEWEDY EG 5001604296 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5001597466 10013002 JEDDAH CABLES COMPANY LTD SA 5002332632 10046468 ELSEWEDY CABLES COMPANY SA 5000384029 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.12 | CABLE; ELECTRICAL; LOW VOLTAGE; 4 SQ MM | CABLE ELECTRICAL LOW VOLTAGE; SOLID CONDUCTO;4 SQ MM CONDUCTO;1000 V SUPPLY;3 CONDUCTO;BLACK;PVC JACKET;REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;DOUBLE GALVANIZED STEEL TAPE ARMOR;UL;COLOR CODED (R;Y;B); OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT TO IEC 60332-3 MANUFACTURED AND TESTED IN ACCORDANCE WITH IEC 60502-1 AND UL LISTED. REEL MARKED WITH ARAMCO PURCHASE ORDER NUMBER; SHIPPING LENGTH NUMBER AND SIZE OF CONDUCTORS; INSULATION THICKNESS; VOLTAGE RATING. MANUFACTURING; TESTING AND MARKING OF CABLE TO CONFORM TO IEC AND OTHER REQUIREMENTS INDICATED IN THE LINE ITEM DESCRIPTION. NON MATERIAL REQUIREMENTS AS PER 7926 FORM AND INSPECTION AND TESTING REQUIREMENTS AS PER A-175 SPECIAL-1. | No |  | USD | Feet | 1000832759 |  |  | 1,000 |  |  |  | 2025-08-19 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002214901 10013724 SAUDI CABLE COMPANY SA 5002315190 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002315191 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.13 | CABLE; ELECTRICAL; LOW VOLTAGE; 6 SQ MM | CABLE ELECTRICAL LOW VOLTAGE; SOLID CONDUCTO;6 SQ MM CONDUCTO;1000 V SUPPLY;3 CONDUCTO;BLACK;PVC JACKET;REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;DOUBLE GALVANIZED STEEL TAPE ARMOR;UL;COLOR CODED (R;Y;B); OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT TO IEC 60332-3 REEL MARKED WITH ARAMCO PURCHASE ORDER NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS OF INSULATION; VOLTAGE RATING. MANUFACTURING; TESTING AND MARKING OF CABLE TO CONFORM TO IEC AND OTHER REQUIREMENTS INDICATED IN THE LINE ITEM DESCRIPTION. NON MATERIAL REQUIREMENTS AS PER 7926 FORM AND INSPECTION AND TESTING REQUIREMENTS AS PER A-175 SPECIAL-1. | No |  | USD | Feet | 1000832757 |  |  | 1,000 |  |  |  | 2025-10-06 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002214899 10013724 SAUDI CABLE COMPANY SA 5002612744 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.14 | WIRE; ELECTRICAL; 70 MM2 (2/0 AWG); 1 | WIRE ELECTRICAL; 70 MM2 (2/0 AWG) CONDUCTO;1 CONDUCTO;YELLOW WITH GREEN STRIPE;450/750 V SUPPLY;CU/PVC WIRE;14.7 MM (0.580 IN) OD;736.6 KG/KM (495 LBS PER 1000 FT) LG;TR 85 DEG C;CLASS A & AA;PVC INSUL;STRANDED COPPER CONDUCTO;BUILDING TYPE;IEC 60227;THERMOPLASTIC WET AND DRY LOCATION GRD; | No |  | USD | Meter | 1000438852 |  |  | 1,000 |  |  |  | 2026-03-01 02:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001301553 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002612738 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.15 | CABLE ELECTRICAL MEDIUM VOLTAGE ROUND AL | CABLE ELECTRICAL MEDIUM VOLTAGE; 1X120/40 MM²CU/XLPE/AWA/PVC TYPE;351AMOS IN AIR SUPPLY;ONE CONDUCTO;120SQ MM CONDUCTO;SINGLE CORE CONDUCTO;42.7MM CABLE OD;CU CONDUCTO;COMPACTED ROUND CLASS 2;XLPE INSUL;5.5MM INSUL TH;20KV INSUL LV;ROUND ALUMINIUM WIRE METAL SH;ROUND ALUMINUM WIRE ARMOR;BLACK;PVC-ST2 JACKET;3272KG'S/KM LG;TR 90 DEG C;1000M DRUMS;CU/XLPE/AWA/PVC-FR-OR-SR TYPE;IEC 60502-2; IEC 60228 Manufacturer; BAHRA ADVANCED CABLE MANUFACTURE CO. LTD. PART NUMBER; 20000251 | No |  | USD | Meter | 1001553390 |  |  | 3,000 |  |  |  | 2025-05-25 03:55 | [6 empty] | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes | 831400 |  |  | No | E - Exempt |  |  | Z02D-838 RASTANURA NA POWER DISTRIBUTIO | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5003096197 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 20000251 5003096344 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. PART NUMBER 20000251
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value