## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5001879513 ARABIA ELECTRIC LIMITED (EQUIP ( SA - Jeddah ) | 5002656475 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000463317 VCP2BP1E7XAF60Z0N ARABIA ELECTRIC LIMITED (EQUIP ( SA - Jeddah ) | 5000411764 A1202C ABAHSAIN-COPE SAUDI ARABIA CO ( SA - Khobar ) | 5002643332 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000012672 RAWABI ELECTRIC COMPANY ( SA - Dammam ) | 5002640197 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000012279 RAWABI ELECTRIC COMPANY ( SA - Dammam ) | 5002640152 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002643212 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | AE Utd.Arab Emir. | 5001362935 M. P. HUSKY ( US - GREENVILLE ) | 5002643242 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001879514 6ED10521FB000BA6 SIEMENS ENERGY AND AUTOMATION ( US - NORCROSS ) | 5002656478 M. P. HUSKY ( US - GREENVILLE ) | 5000463318 VCP2BP1E7XAF60Z0N AMETEK GB LTD ( GB - DUNFERMLINE ) | 5000411765 A1202C AMERICAN ELECTRIC ( US - SPARKS ) | 5002643335 M. P. HUSKY ( US - GREENVILLE ) | 5000012904 96F5668 LEDVANCE ( US - WILMINGTON ) | 5002640200 M. P. HUSKY ( US - GREENVILLE ) |  | 5002640155 M. P. HUSKY ( US - GREENVILLE ) | 5002643215 M. P. HUSKY ( US - GREENVILLE ) | AF Afghanistan | 5002108379 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002643245 M. P. HUSKY ( US - GREENVILLE ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation |  | 5002656479 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5001332859 PAV0150VAC420MAS120AC MOORE INDUSTRIES ( US - North Hills ) | 5000411766 P1001C UNISTRUT CORPORATION ( US - WAYNE ) | 5002643337 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000012906 34557 LEDVANCE ( US - DANVERS ) | 5002640202 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) |  | 5002640157 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002643217 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | AG Antigua/Barbuda | 5002219077 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002643247 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | We are currently at full capacity
|  | POE - Port of Export |  | 5002656480 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) |  | 5001818399 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - Jeddah ) | 5002643338 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000012964 120PSB5 CHICAGO MINIATURE LAMP ( US - HACKENSACK ) | 5002640203 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) |  | 5002640158 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002643218 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | AI Anguilla | 5002264000 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002643248 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | Missing information / not enough information provided
|  |  |  | 5002656482 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) |  |  | 5002643340 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) |  | 5002640205 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) |  | 5002640160 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002643220 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | AB Abu Dhabi | 5002356894 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002643250 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | Other
|  |  |  | 5002656483 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) |  |  | 5002643341 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) |  | 5002640206 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) |  | 5002640161 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002643221 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | AL Albania | 5002520827 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002643251 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA )
|  |  |  | 5002656484 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  |  | 5002643342 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  | 5002640207 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  | 5002640162 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002643222 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | AM Armenia | 5002588746 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002643252 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM )
|  |  |  | 5002656485 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) |  |  | 5002643343 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) |  | 5002640208 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) |  | 5002640163 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002643223 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | AN Dutch Antilles | 5002588747 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002643253 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM )
|  |  |  | 5002656486 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  |  | 5002643344 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  | 5002640209 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  | 5002640164 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002643224 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | AO Angola | 5002588748 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002643254 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH )
|  |  |  | 5002787097 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  |  | 5002786780 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  | 5002786570 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  | 5002786567 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002786772 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | AQ Antarctica | 5002786281 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002786774 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | COVER; CABLE TRAY; 762.0 MM (30 IN) | COVER CABLE TRAY; 762.0 MM (30 IN) WD;STYLE FLAT; LOUVERED;M M;STRAIGHT;3.7 M (12 FT) LG;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;31.8 MM (1-1/4 IN) FLANGE; 31.8 MM (1-1/4 IN) FLANGE; LADDER LADDER TRAY; M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;31.8 MM (1-1/4 IN) FLANGE; 31.8 MM (1-1/4 IN) FLANGE; LADDER LADDER | No |  | USD | each | 1000371883 |  |  | 20 |  |  |  | 2025-05-25 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B006-319/Z4A TANAJIB B-24;ZUL/GOSP4 AUXI | 04 BOAT |  |  | Manufacturer Part Number Text : 5002643332 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002786780 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-CVL-FA33-A 5002643337 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA PART NUMBER AL-ST-CVL-FA33-A 5002643341 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER NL48-30SL-12-1T SUPERSEDED NUMBER NL48-30SL-12 5002643340 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002643344 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002643342 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002643335 30003168 M. P. HUSKY US NUMBER - 5002643338 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5000304827 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER NL48-30SL-12-1T SUPERSEDED NUMBER NL48-30SL-12 5002610217 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5001817922 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002218755 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-CVL-FA33-A 5002610220 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002610222 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002610216 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002610223 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002610221 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5001821281 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES PART NUMBER 2003 10 12 30 32 5002610218 10042327 MP HUSKY LLC US NUMBER - 5002610219 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002610215 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER - 5002643343 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER -
6.2 | CHANNEL; FRAMING; 6.1 M (20 FT) LG; | CHANNEL FRAMING; 6.1 M (20 FT) LG;41.9 MM (1-5/8 IN) WD;82.6 MM (3-1/4 IN) DP;GALV FINISH;STEEL;DOUBLE BACK TO SIDE | No |  | USD | piece | 1000427079 |  |  | 8 |  |  |  | 2025-08-31 03:55 | [6 empty] | Urgent | X | No |  | No | 831402 | 831407 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000411764 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER A1202C 5000411765 10018190 AMERICAN ELECTRIC US SUPERSTRUT PRODUCTS THOMAS NUMBER A1202C 5000411766 10019835 UNISTRUT CORPORATION US ALLIED SUPPORT SYSTEMS NUMBER P1001C 5001818399 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY
6.3 | CLAMP GALVANIZE W/ BOLT AND NUT | CLAMP; E OR TUBING E OR TUBING TYPE;SIZE 5 MM (1.163 IN) PIPE OD 5 MM (1.163 IN) PIPE OD;EL EL;A VE-1;SAES-P-104 A VE-1;SAES-P-104;METAL FRAMING PARTS; GALV; METAL FRAMING PARTS; GALV; WITH BOLT & NUT; 25.4 MM WITH BOLT & NUT; 25.4 MM (1 IN) OD (1 IN) OD TRAY; E OR TUBING E OR TUBING TYPE;SIZE 5 MM (1.163 IN) PIPE OD 5 MM (1.163 IN) PIPE OD;EL EL;A VE-1;SAES-P-104 A VE-1;SAES-P-104;METAL FRAMING PARTS; GALV; METAL FRAMING PARTS; GALV; WITH BOLT & NUT; 25.4 MM WITH BOLT & NUT; 25.4 MM (1 IN) OD (1 IN) OD | No |  | USD | each | 1000427124 |  |  | 50 |  |  |  | 2025-12-07 02:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002656475 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002787097 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES NUMBER - 5002656483 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER 703-1 5002656479 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA NUMBER - 5002656482 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002656484 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002656486 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002656480 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002656478 30003168 M. P. HUSKY US NUMBER - 5000412076 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER 703-1 5000412077 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED PART NUMBER B2009PA SUPERSEDED NUMBER B2029 B2029 ZN 5000412078 10018190 AMERICAN ELECTRIC US SUPERSTRUT PRODUCTS THOMAS NUMBER 701-1 5000412079 10019835 UNISTRUT CORPORATION US ALLIED SUPPORT SYSTEMS NUMBER P2030 5002108086 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5001818403 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002612406 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES NUMBER - 5002612411 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002612409 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002612412 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002612410 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002612407 10042327 MP HUSKY LLC US NUMBER - 5002612408 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002612405 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER - 5002656485 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER - | 5021443080000101SAESP104.pdf
6.4 | COVER; CABLE TRAY; 228.6 MM (9 IN) | COVER CABLE TRAY; 228.6 MM (9 IN) WD;STYLE FLAT; LOUVERED;M M;STRAIGHT;3.7 M (12 FT) LG;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;44.5 MM (1-3/4 IN) FLANGE; 44.5 MM (1-3/4 IN) FLANGE; LADDER LADDER TRAY; M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;44.5 MM (1-3/4 IN) FLANGE; 44.5 MM (1-3/4 IN) FLANGE; LADDER LADDER | No |  | USD | each | 1000369035 |  |  | 16 |  |  |  | 2025-10-26 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831404 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002640152 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002640161 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER NL68-09SL-12-1T SUPERSEDED NUMBER NL68-09SL-12 5002786567 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-CVL-BC230-A 5002640157 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA PART NUMBER AL-ST-CVL-BC230-A 5002640160 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002640162 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002640164 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002640158 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5002640155 30003168 M. P. HUSKY US NUMBER - 5000301170 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER CA3SLO-9-144 5000301079 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER NL68-09SL-12-1T SUPERSEDED NUMBER NL68-09SL-12 5002608271 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5001817701 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002218596 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-CVL-BC230-A 5002608274 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002608276 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002608270 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002608277 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002608275 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5001821060 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES PART NUMBER 2003 10 12 09 45 5002608272 10042327 MP HUSKY LLC US NUMBER - 5002608273 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002640163 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER CA3SLO-9-144 | 5021559804000101SAESP104.pdf
6.5 | COVER; CABLE TRAY; 609.6 MM (24 IN) | COVER CABLE TRAY; 609.6 MM (24 IN) WD;STYLE FLAT; LOUVERED;M M;STRAIGHT;3.7 M (12 FT) LG;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;44.5 MM (1-3/4 IN) FLANGE; 44.5 MM (1-3/4 IN) FLANGE; LADDER LADDER TRAY; M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;44.5 MM (1-3/4 IN) FLANGE; 44.5 MM (1-3/4 IN) FLANGE; LADDER LADDER | No |  | USD | each | 1000369044 |  |  | 10 |  |  |  | 2025-10-26 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831404 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002640197 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002640206 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER NL68-24SL-12-1T SUPERSEDED NUMBER NL68-24SL-12 5002786570 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-CVL-DC330-A 5002640202 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA PART NUMBER AL-ST-CVL-DC330-A 5002640205 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002640207 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002640209 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002640203 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5002640200 30003168 M. P. HUSKY US NUMBER - 5000301176 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER CA3SLO-24-144 5000301175 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER NL68-24SL-12-1T SUPERSEDED NUMBER NL68-24SL-12 5002608295 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5001817704 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002218599 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-CVL-DC330-A 5002608298 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002608300 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002608294 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002608301 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002608299 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5001821063 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES PART NUMBER 2003 10 12 24 45 5002608297 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002608296 10042327 MP HUSKY LLC US NUMBER - 5002640208 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER CA3SLO-24-144 | 5021559806000101SAESP104.pdf
6.6 | TRAY; COVER; STRAIGHT LOUV AL 24" WD X 1 | COVER CABLE TRAY; 609.6 MM (24 IN) WD;STYLE FLAT; LOUVERED;M M;STRAIGHT;3.7 M (12 FT) LG;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;20.6 MM (13/16 IN) FLANGE; 20.6 MM (13/16 IN) FLANGE; LADDER LADDER TRAY; M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;20.6 MM (13/16 IN) FLANGE; 20.6 MM (13/16 IN) FLANGE; LADDER LADDER | No |  | USD | each | 1000371813 |  |  | 10 |  |  |  | 2025-12-16 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831404 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5002643212 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002786772 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES NUMBER - 5002643217 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA NUMBER - 5002643221 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER NL28-24SL-12-1T SUPERSEDED NUMBER NL28-24SL-12 5002643220 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002643222 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002643224 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002643215 30003168 M. P. HUSKY US NUMBER - 5002643218 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5000304709 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER NL28-24SL-12-1T SUPERSEDED NUMBER NL28-24SL-12 5002610145 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5001817914 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002610144 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES NUMBER - 5002610148 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002610150 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002610143 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002610151 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002610149 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5001821273 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES PART NUMBER 2003 10 12 24 21 5002610146 10042327 MP HUSKY LLC US NUMBER - 5002610147 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002610142 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER - 5002643223 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER - | 5021564668000101SAESP104.pdf
6.7 | COVER; CABLE TRAY; 914.4 MM (36 IN) | COVER CABLE TRAY; 914.4 MM (36 IN) WD;STYLE FLAT; LOUVERED;M M;STRAIGHT;3.7 M (12 FT) LG;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;20.6 MM (13/16 IN) FLANGE; 20.6 MM (13/16 IN) FLANGE; LADDER LADDER TRAY; M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;20.6 MM (13/16 IN) FLANGE; 20.6 MM (13/16 IN) FLANGE; LADDER LADDER | No |  | USD | each | 1000371821 |  |  | 10 |  |  |  | 2025-12-07 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831404 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5002643242 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002786774 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-CVL-GE33-A 5002643247 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA PART NUMBER AL-ST-CVL-GE33-A 5002643251 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER NL28-36SL-12-1T SUPERSEDED NUMBER NL28-36SL-12 5002643250 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002643252 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002643254 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002643245 30003168 M. P. HUSKY US NUMBER - 5002643248 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5000304821 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER NL28-36SL-12-1T SUPERSEDED NUMBER NL28-36SL-12 5002610163 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5001817916 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002218749 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-CVL-GE33-A 5002610166 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002610168 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002610162 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002610169 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002610167 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5001821275 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES PART NUMBER 2003 10 12 36 21 5002610164 10042327 MP HUSKY LLC US NUMBER - 5002610165 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002610161 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER - 5002643253 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER - | 5021564669000101SAESP104.pdf
6.8 | TRAY; CABLE; BEND; 457.2 MM (18 IN) | TRAY; M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;6 MM (13/16 IN) FLANGE 6 MM (13/16 IN) FLANGE TRAY CABLE BEND; 457.2 MM (18 IN) WD;127.0 MM (5 IN) DP;STYLE ELBOW LADDER;914.4 MM (36 IN) RADIUS;HORIZONTAL POSITION;90 DEG;M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;6 MM (13/16 IN) FLANGE 6 MM (13/16 IN) FLANGE | No |  | USD | each | 1000359782 |  |  | 2 |  |  |  | 2025-12-24 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002356894 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002786281 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-HE-D56A99-A-T 5002264000 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER 258-189F-36 5002219077 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA 5002588746 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002588747 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002588748 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5001362935 30003168 M. P. HUSKY US 5000285391 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER AL5D-18HE90-36 SUPERSEDED NUMBER ALE-18H90-36 5002108379 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5000285390 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER 258-189F-36 5002107706 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002218355 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-HE-D56A99-A-T 5002586985 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002586987 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002586984 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002586988 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002586986 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002356478 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002356479 10043654 THOMAS AND BETTS SAUDI ARABIA SA 5002370447 10042327 MP HUSKY LLC US 5002520827 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER - | 5021565271000101SAESP104.pdf
6.9 | TRANSDUCER; VOLTAGE; 0 - 150 VAC | TRANSDUCER; VOLTAGE TYPE;0 - 150 VAC INPUT;4-20 MA OUTPUT;DIN RAIL MTG;85 - 150 VAC SUPPLY;IEC 688-1;FREQUENCY 60 HZ ; SINGLE ELEMENT | No |  | USD | each | 1000451461 |  |  | 2 |  |  |  | 2025-09-14 03:55 | [6 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000463317 10012067 ARABIA ELECTRIC LIMITED (EQUIPMENT) SA DRAWING NUMBER 7-C6267-E111 AND E211 ITEM NUMBER 31 PART NUMBER VCP2BP1E7XAF60Z0N 5000463318 10002603 AMETEK GB LTD GB MODEL NUMBER VCP2B P1 E7 XA F60 Z0 N 5001332859 10020228 MOORE INDUSTRIES US MOORE INDUSTRIES INTERNATIONAL PART NUMBER PAV/0-150V AC/4-20MA/S/120AC- PART NUMBER CONT 1 DM
6.10 | MODULE; PROGRAMABLE LOGIC CONTROLLER | MODULE; PROGRAMABLE LOGIC CONTROLLER TYPE SPARE PART FOR; SWITCHGEAR METAL ENCLOSED; AIR MAGNETIC DRAW OUT BREAKER;480 VAC;4000 A MAIN BUS;65 KAIC @ 480 VAC MAIN BUS;INDOOR; NEMA 1 ENCLOSUR;3 PH PHASE;60 HZ;16 SAMSS 502 ORIGINAL EQUIPMENT REFERENCES; MODEL NUMBER WL DRAWING NUMBER 215-LVSG-002-04 REFERENCE NUMBER 3000688025 | No |  | USD | each | 1000786948 |  |  | 2 |  |  |  | 2025-10-05 03:55 | [6 empty] | Normal/staged | X | No |  | No |  |  |  | No | D - Dutible | 0- | AC-A/C 48 D.F - 79 D.F | A009-C104 YANBU B-19; STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001879514 10021527 SIEMENS ENERGY AND AUTOMATION US INCORPORATED PART NUMBER 6ED1052-1FB00-0BA6 SUPERSEDED NUMBER 6ED1052-1FB00-OBA5 5001879513 10012067 ARABIA ELECTRIC LIMITED (EQUIPMENT) SA
6.11 | LAMP; INCANDESCENT; 2.24 W; 28 VAC; | LAMP INCANDESCENT; 2.24 W W;28 VAC;SINGLE CONTACT BAYONET BASE;T-3-1/4 BULB;30 MM (1.1900 IN) LG;MINIATURE TYPE;CLEAR;15000 HRS AVG LIFE;ANSI;0.62 CP; 0.08 A; LAMP ORDERING CODE 757 | No |  | USD | each | 1000059665 |  |  | 20 |  |  |  | 2026-02-22 02:55 | [6 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000012279 10013570 RAWABI ELECTRIC COMPANY SA
6.12 | LAMP; INCANDESCENT; 3 W; 120 VAC; | LAMP INCANDESCENT; 3 W W;120 VAC;TELEPHONE SLIDE NO 5 BASE;T-2 BULB;28.2 MM (1.110 IN) LG;MINIATURE TYPE;CLEAR;5000 HRS AVG LIFE;ANSI;0.36 MSCP; 0.025 A | No |  | USD | each | 1000059680 |  |  | 30 |  |  |  | 2025-10-19 03:55 | [6 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000012906 10021537 LEDVANCE US OSRAM SYLVANIA INCORPORATED NUMBER 34557 CODE NUMBER 120PSB 5000012964 10022564 CHICAGO MINIATURE LAMP US INCORPORATED NUMBER 120 PSB-5 5000012904 10021536 LEDVANCE US OSRAM SYLVANIA INCORPORATED PART NUMBER 96F5668 MAT TYPE 120PSB 5000012672 10013570 RAWABI ELECTRIC COMPANY SA
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value