## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000367732 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000393070 M4004 MANHATTAN-CDT ( US - HOUSTON ) | 5000381213 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000390065 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000388520 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387110 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385419 61A601C12AWGU0GN500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390061 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000391248 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000386683 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000366957 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001346007 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | AE Utd.Arab Emir. | 5000392962 7901418 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000365987 CNL705A3146 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000388322 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000367402 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002216975 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000386253 611101C10AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000367406 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000377328 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000367733 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000393071 9015 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | 5000381214 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390066 711101C00600U0WT1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388521 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387112 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385521 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390062 711101C00600U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000391249 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386685 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000366958 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  | AF Afghanistan | 5000392963 M4032 MANHATTAN-CDT ( US - HOUSTON ) | 5001327912 DA5LA07BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000388324 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000367403 5B8101C01000U0BK100 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002367780 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000386254 GENERAL CABLE ( US - YORK ) | 5000367407 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000377329 GENERAL CABLE ( US - MARION ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000367734 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001597473 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000381215 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000390067 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000388522 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5000387113 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385522 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390063 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001301540 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000386686 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000366959 SAUDI CABLE COMPANY ( SA - Jeddah ) |  | AG Antigua/Barbuda | 5001597470 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001755891 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000388325 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000367404 358258 RS COMPONENTS LTD ( GB - CORBY ) | 5002367781 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386255 THE OKONITE COMPANY ( US - HOUSTON ) | 5000367408 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000377431 THE OKONITE COMPANY ( US - HOUSTON ) | We are currently at full capacity
|  | POE - Port of Export | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5000367735 RS COMPONENTS LTD ( GB - CORBY ) | 5001599015 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000381216 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000390068 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388523 116671252 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387114 116671106 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385523 THE OKONITE COMPANY ( US - HOUSTON ) | 5001437380 0C01010704 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002158130 12154260 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000386687 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000367160 RS COMPONENTS LTD ( GB - CORBY ) |  | AI Anguilla | 5001599012 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001893576 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000388326 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5001775584 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002367782 OMAN CABLES INDUSTRY (SAOG) ( OM - Muscat ) | 5000386257 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000367409 RS COMPONENTS LTD ( GB - CORBY ) | 5000377432 323 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | Missing information / not enough information provided
|  |  | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001775591 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001604326 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000381217 THE OKONITE COMPANY ( US - HOUSTON ) | 5001301521 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001316279 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387115 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000385525 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001775643 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5001429830 DW1WU01R JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001775579 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | AB Abu Dhabi | 5001604323 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002143827 C210XA1070WSBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000388327 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | 5002157810 12101407 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002367783 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001429824 DW3WU01Y JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001775585 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001327925 DC7LU3AB JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | Other
|  |  | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002157817 12111408 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002612736 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001893706 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775644 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001599010 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001429835 DW2WU01L JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001429793 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002158096 12153160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001437365 0D06551405 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002157809 12130160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | AL Albania | 5001893785 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002157799 13533207 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000388328 116671251 THE OKONITE COMPANY ( US - HOUSTON ) | 5002785811 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | 5001437360 0D06551006 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002157811 12121407 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001893659 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
|  |  | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  |  | 5002143853 C346XA10100SBK52CMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002158097 12173160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001604300 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001437370 0D06551202 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001437353 0D06551204 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  |  | 5001775614 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | AM Armenia | 5002612733 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001594742 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  |  | 5001775609 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh )
|  |  | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | 5002157852 14515016 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001893784 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775619 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775602 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  | AN Dutch Antilles |  |  | 5001594743 61A601C04AWGU0BK700 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH )
|  |  | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | 5002612724 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [6 empty] | AO Angola |  |  | 5001594744 SAUDI CABLE COMPANY ( SA - Jeddah )
[16 empty] | AQ Antarctica |  |  | 5002612723 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG);BLUE | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419171 |  |  | 10,000 |  |  |  | 2025-06-04 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J03A-C742 UDHAILIYAH MATERIAL YARD | 04 BOAT |  |  | Manufacturer Part Number Text : 5000387113 10016872 GENERAL CABLE US NUMBER 24012 SUPERSEDED NUMBER TP AP-06201 5000387114 10020512 THE OKONITE COMPANY US NUMBER 116-67-1106 5001437370 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551202 5002158068 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11121030 SUPERSEDED NUMBER 11120030 5001775619 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429835 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01L 5000387110 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387112 10016871 GENERAL CABLE US BICC GENERAL 5000387115 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.2 | WIRE; ELEC; 10 AWG; 1 CONDUCTOR; | WIRE ELECTRICAL; 10 AWG CONDUCTO;1 CONDUCTO;YELLOW;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418984 |  |  | 4,000 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000386253 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 6111-01C-10AWG-U0 YL-5 5001437360 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551006 5001775609 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429824 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW3WU01Y 5000386255 10020512 THE OKONITE COMPANY US 5000386254 10016868 GENERAL CABLE US 5000386257 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.3 | WIRE;ELEC; 5.26MM2 (10 AWG) GREEN- 600V | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419212 |  |  | 13,308 |  |  |  | 2026-04-21 03:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000387556 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387557 10020512 THE OKONITE COMPANY US NUMBER 116-67-1134 5000387558 10021675 SOUTHWIRE COMPANY INCORPORATED US MAT TYPE THHN 5001437375 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551004 5002158073 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11151040 SUPERSEDED NUMBER 11150040 5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429850 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01G 5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387555 10016871 GENERAL CABLE US BICC GENERAL
6.4 | CABLE; 1KV XLPE/PVC 1/C 120MM2 (4/0 AWG) | CABLE ELECTRICAL LOW VOLTAGE; XLPE/PVC TYPE;37 STRANDS CONDUCTO;POWER & CONTROL TYPE;120 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;20.1 MM (0.790 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;BS 6746 TYPE 5;IEC-228;FOR DIRECT BURIAL; DUCT; CONDIT; CABLE TRAY;IEC 60502-1;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332.3 REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 60502-1; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417528 |  |  | 30 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001893706 10037887 EGYTECH CABLES EL SEWEDY EG 5002157852 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515016 SUPERSEDED NUMBER 14510016 5002143853 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C346XA10100SBK52CMR 5000381215 10013724 SAUDI CABLE COMPANY SA 5000381217 10020512 THE OKONITE COMPANY US 5000381214 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000381216 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000381213 10013002 JEDDAH CABLES COMPANY LTD SA
6.5 | WIRE;ELEC; 3.31MM2 (12 AWG) GREEN- 600V | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418910 |  |  | 8,000 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000385419 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 61A6-01C12AWG-U0GN5-00 SUPERSEDED NUMBER 6111-01C-12AWG-U0 GN5 5000385522 10016872 GENERAL CABLE US NUMBER 24012 5001437353 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551204 5001775602 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429793 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01G 5000385523 10020512 THE OKONITE COMPANY US 5000385521 10016871 GENERAL CABLE US BICC GENERAL 5000385525 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.6 | WIRE;ELEC; 2.08MM2 (14 AWG) RED - 600V | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419059 |  |  | 1,500 |  |  |  | 2026-01-25 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000386686 10016872 GENERAL CABLE US NUMBER 24014 5001437365 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551405 5002158063 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11100020 SUPERSEDED NUMBER 11101020 5001775614 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429830 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW1WU01R 5000386683 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000386685 10016871 GENERAL CABLE US BICC GENERAL 5000386687 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.7 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419769 |  |  | 1,104 |  |  |  | 2026-03-05 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000390062 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 00600 - U0 GN-1 5001437380 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0C01010704 5002158096 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12153160 SUPERSEDED NUMBER 12150160 5001775643 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000390063 10013724 SAUDI CABLE COMPANY SA 5000390061 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;2.5 MM2 CONDUCTO;0.6/1 KV SUPPLY;7 CONDUCTO;BLACK;7 X 2.5 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412558 |  |  | 300 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000365987 10013724 SAUDI CABLE COMPANY SA NUMBER CNL7-05A-3146 5001327912 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA5LA07BG 5001893576 10037887 EGYTECH CABLES EL SEWEDY EG 5001755891 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002157799 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 13533207 SUPERSEDED NUMBER 13553124 5002143827 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA1070WSBK21IMR
6.9 | WIRE; ELECTRICAL; 10 MM2; 1 | WIRE ELECTRICAL; 10 MM2 CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;6 MM OD;STRANDED - 80/0.4 MM;PVC INSUL;COPPER CONDUCTO;BK TYPE;BS-6231;FLEXIBLE; PVC COVERED; SUPPLIED IN 100 YARDS REELS | No |  | USD | Role | 1000412877 |  |  | 1 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000367403 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 5B81-01C01000-U0BK1-00 5000367404 10001382 RS COMPONENTS LTD GB PART NUMBER 0358258 5002157810 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12101407 SUPERSEDED NUMBER 12130570 5001775584 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002785811 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000367402 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.10 | WIRE; ELECTRICAL; 10 MM2; 1 | WIRE ELECTRICAL; 10 MM2 CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;6 MM OD;STRANDED - 80/0.4 MM;PVC INSUL;COPPER CONDUCTO;BK TYPE;BS-6231;FLEXIBLE; PVC COVERED; SUPPLIED IN 100 YARDS REELS | No |  | USD | Role | 1000412901 |  |  | 1 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002157811 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12121407 SUPERSEDED NUMBER 12120570 5001775585 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000367408 10013724 SAUDI CABLE COMPANY SA 5000367407 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000367406 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000367409 10001382 RS COMPONENTS LTD GB
6.11 | WIRE; ELECTRICAL; 16 MM2; 1 | WIRE ELECTRICAL; 16 MM2 CONDUCTO;1 CONDUCTO;YELLOW;600V SUPPLY;PVC WIRE;8.5 MM OD;TR 75 DEG C;STRANDED 126/0.4 MM;PVC INSUL;STRANDED COPPER CONDUCTO;POWER TYPE;BS-6231;FLEXIBLE; PVC COVERED; SUPPLIED IN 25 M REELS | No |  | USD | Role | 1000412952 |  |  | 1 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002157817 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12111408 SUPERSEDED NUMBER 12111590 5001775591 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000367734 10013724 SAUDI CABLE COMPANY SA 5000367733 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000367732 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000367735 10001382 RS COMPONENTS LTD GB
6.12 | WIRE; ELECTRICAL; 6 MM2; 1 CONDUCTOR; | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419802 |  |  | 8,464 |  |  |  | 2026-10-12 03:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000390066 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 00600 - U0 WT-1 5001301521 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002158097 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12173160 SUPERSEDED NUMBER 12170160 5001775644 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000390067 10013724 SAUDI CABLE COMPANY SA 5000390068 10020512 THE OKONITE COMPANY US 5000390065 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.13 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419769 |  |  | 1,472 |  |  |  | 2026-03-05 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000390062 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 00600 - U0 GN-1 5001437380 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0C01010704 5002158096 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12153160 SUPERSEDED NUMBER 12150160 5001775643 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000390063 10013724 SAUDI CABLE COMPANY SA 5000390061 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.14 | WIRE; ELECTRICAL; 6 MM2; 1 CONDUCTOR; | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;BLACK;600V SUPPLY;5 MM OD;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BR TYPE;BS-6231;6 MM2 PVC COVERED; SUPPLIED IN 100 M REELS | No |  | USD | Role | 1000412851 |  |  | 7 |  |  |  | 2025-08-06 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002157809 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12130160 5001775579 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000366959 10013724 SAUDI CABLE COMPANY SA 5000366958 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000366957 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000367160 10001382 RS COMPONENTS LTD GB
6.15 | WIRE; SWITCHBOARD; 600V; | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.81 MM (0.150 IN) OD;29.8 KG/KM (20 LBS PER 1000 FT) LG;TR 90 DEG C MAXIMUM;41 STRANDS;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;CLASS K PER ASTM B174; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 0.8 MM (0.030 IN) INSUL THK; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000420812 |  |  | 831 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000392962 10016871 GENERAL CABLE US BICC GENERAL CATALOG NUMBER 79014-18 5000392963 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M4032 5001893785 10037887 EGYTECH CABLES EL SEWEDY EG 5001604323 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002612733 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001597470 10013002 JEDDAH CABLES COMPANY LTD SA 5001599012 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC )
6.16 | WIRE; BUILDING; 600V; | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;229.2 KG/KM (154 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419422 |  |  | 2,065 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000388325 10016872 GENERAL CABLE US NUMBER 25004 SUPERSEDED NUMBER TP AP-06201 5000388326 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M2816 5000388328 10020512 THE OKONITE COMPANY US NUMBER 116-67-1251 5002612723 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001594742 10013002 JEDDAH CABLES COMPANY LTD SA 5001594743 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 61A6-01C04AWG-U0BK7-00 5001594744 10013724 SAUDI CABLE COMPANY SA 5000388322 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000388324 10016871 GENERAL CABLE US BICC GENERAL 5000388327 10019733 AMERICAN INSULATED WIRE CORPORATION US LEVITON MANUFACTURING COMPANY
6.17 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;RED;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL 83;LOW VOLTAGE;NYLON JACKET;MOISTURE;HEAT AND OIL RESISTANT;FLAME RETARDANT;REEL MARKED WITH ARAMCO PURCHASE ORDER;SHIPPING LENGTH SIZE OF CONDUCTORS;THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING;REEL LENGTH SHALL BE 152.4 METER (500 FT.). | No |  | USD | Feet | 1000834002 |  |  | 2,327 |  |  |  | 2026-01-22 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002216975 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002367781 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002367780 10013002 JEDDAH CABLES COMPANY LTD SA 5002367782 10035589 OMAN CABLES INDUSTRY (SAOG) OM 5002367783 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD.
6.18 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;8.34 SQ MM (8 AWG); 3.31 SQ MM (12 AWG) CONDUCTO;600 V SUPPLY;3; 4 CONDUCTO;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;ASTM B8; CLASS B;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;REEL;TR 90 DEG C DRY; 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;XHHW; OPTIONAL 10 AWG GROUND; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT REEL MARKED WITH; ARAMCO PURCHASE ORDER STOCK NUMBER SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARDS 44 AND 1277 UL OR EQUIVALENT APROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000416517 |  |  | 1,000 |  |  |  | 2025-06-11 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001327925 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DC7LU3AB 5000377432 10021675 SOUTHWIRE COMPANY INCORPORATED US CATALOG NUMBER 32-3 5001893659 10037887 EGYTECH CABLES EL SEWEDY EG 5000377431 10020512 THE OKONITE COMPANY US 5000377328 10003546 ** NEXANS HELLAS S.A. GR 5000377329 10016865 GENERAL CABLE US BICC CABLES CORPORATION
6.19 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.81 MM (0.150 IN) OD;TR 90 DEG C MAXIMUM;SOLID;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;MOISTURE HEAT; OIL RESISTANT; FLAME RETARDANT; 0.76 MM (0.030 IN) INSUL THK; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000420847 |  |  | 2,500 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000393070 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M4004 5000393071 10019733 AMERICAN INSULATED WIRE CORPORATION US LEVITON MANUFACTURING COMPANY NUMBER 9015 MAT TYPE SIS 5001604326 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002612736 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001597473 10013002 JEDDAH CABLES COMPANY LTD SA 5001599015 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC )
6.20 | WIRE;ELEC; 21.15MM2 (4 AWG) WHITE - 600V | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;229.2 KG/KM (154 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No |  | USD | Feet | 1000419446 |  |  | 1,395 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000388521 10016872 GENERAL CABLE US NUMBER 25004 5000388522 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M2816 5000388523 10020512 THE OKONITE COMPANY US NUMBER 116-67-1252 5001893784 10037887 EGYTECH CABLES EL SEWEDY EG 5001604300 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002612724 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001599010 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5001316279 10021675 SOUTHWIRE COMPANY INCORPORATED US 5000388520 10016871 GENERAL CABLE US BICC GENERAL
6.21 | WIRE; ELECTRICAL; 185 MM2; 1 | WIRE ELECTRICAL; 185 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;21.6 MM OD;182 KG/KM LG;TR 85 DEG C MAXIMUM;37 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | No |  | USD | Meter | 1000420168 |  |  | 168 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001301540 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002158130 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12154260 SUPERSEDED NUMBER 12151260 5000391248 10013724 SAUDI CABLE COMPANY SA 5000391249 10020512 THE OKONITE COMPANY US
6.22 | WIRE; MAGNET; 1.04 MM2 (17 AWG); 1 | WIRE MAGNET; 1.04 MM2 (17 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; NET 9.4 KG/KM (6.34 LBS PER 1000 FT); APPROX 36.3 KG (80 LBS) PER SPOOL MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No |  | USD | US pound | 1000420616 |  |  | 14 |  |  |  | 2025-11-04 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001346007 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK26: Answer Type: Text (multiple lines) Acceptable Values: Any Value