## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000386797 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000378885 761414AWGUOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000380900 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000386467 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385724 611101C12AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382149 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000381000 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000381620 761402C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382910 761404C05000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000365980 CNL205A3146 SAUDI CABLE COMPANY ( SA - Jeddah ) | AE Utd.Arab Emir. | 5002322142 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000381117 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002222135 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000366104 ENLB55A3145 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000387989 61A601C06AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000312343 YA26LBOX BURNDY LLC ( US - MANCHESTER ) | 5000367287 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000379193 761425C12AWGUOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001301553 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000383515 761419C0025U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000392962 7901418 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000386799 GENERAL CABLE ( US - MARION ) | 5000378887 3625 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5000380901 761401C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386469 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385726 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001274386 DB2LU03BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000381001 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000381621 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000382911 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001304026 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | AF Afghanistan | 5002322143 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000381118 761401C07000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002613072 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001301464 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000388100 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000312344 54110 THOMAS AND BETTS INTERNATIONAL ( US - MEMPHIS ) | 5000367288 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000379195 3625 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5002612738 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000383516 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000392963 M4032 MANHATTAN-CDT ( US - HOUSTON ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000386900 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000378888 M27142 MANHATTAN-CDT ( US - HOUSTON ) | 5000380902 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000386580 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385727 23012232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001416336 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000381002 761401C02500U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000381622 THE OKONITE COMPANY ( US - HOUSTON ) | 5000382912 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001327907 DA5LA02BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | AG Antigua/Barbuda | 5002322144 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000381119 CNH116A0077 SAUDI CABLE COMPANY ( SA - Jeddah ) |  | 5001327915 DD1LA3ABG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000388102 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000312345 L2038 HOMAC MANUFACTURING COMPANY ( US - ORMOND BEACH ) | 5000367289 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000379196 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5001277353 DA5LU19BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001597470 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | We are currently at full capacity
|  | POE - Port of Export | 5000386901 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000378889 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893700 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000386581 116671074 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385728 THE OKONITE COMPANY ( US - HOUSTON ) | 5001416337 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5000381003 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001277337 DA6LU02BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001277347 CB3LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001893570 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AI Anguilla | 5002322145 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000381210 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5001893580 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000388103 25006 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000312347 BLU20S PENN-UNION CORPORATION ( US - EDINBORO ) | 5001775583 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001429776 DA5LU25BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5001755892 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001599012 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | Missing information / not enough information provided
|  |  | 5000386902 116671108 THE OKONITE COMPANY ( US - HOUSTON ) | 5000378982 SUMITOMO ELECTRIC INDUSTRIES L ( JP - MINATO-KU, TOKYO ) | 5002157846 14015010 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000386582 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000385830 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893728 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000381004 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893713 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001893740 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143821 C210XA1020WSBK01IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AB Abu Dhabi | 5002322146 1000607728004 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001301501 0102R10113 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | 5002143829 C435XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000388104 116671221 THE OKONITE COMPANY ( US - HOUSTON ) | 5001817994 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - Jeddah ) |  | 5001437345 0802R10255 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | 5001893755 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001604323 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | Other
|  |  | 5000386903 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001429773 DA5LU19BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002332585 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5001429828 DW1WU01G JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001429820 DW2WU01W JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002332608 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5001301497 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002143859 C212XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002143921 C418XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002157793 14530002 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AL Albania | 5002613073 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001893705 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002157801 14530282 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000388105 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  |  | 5001893672 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002144054 C210XA11900SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001893785 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
|  |  | 5001429832 DW2WU01N JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001437343 0802R10195 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) |  | 5001437363 0D06551404 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001437356 0D06551210 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002612720 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001893702 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002157858 14515105 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | AM Armenia |  | 5002143852 C319XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5002332538 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5001775630 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | 5002243996 GENERAL CABLE ( US - MARION ) |  | 5002157890 13515219 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002612733 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
|  |  | 5001437367 0D06551207 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001893670 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5001775612 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775605 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5002143812 C316XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002332595 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5002332617 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | AN Dutch Antilles |  | 5002157851 14515014 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [5 empty] | 5002332564 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | 5002332626 ELSEWEDY CABLES COMPANY ( SA - Yanbu )
|  |  | 5001775616 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002243993 GENERAL CABLE ( US - MARION ) |  | 5002158061 11150020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  | AO Angola |  | 5002332590 ELSEWEDY CABLES COMPANY ( SA - Yanbu )
|  |  | 5002158065 11140030 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002332562 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  |  |  |  | 5002332587 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  |  |  | AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2025-09-14 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | 10273521 TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | 10273521 offer.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | WIRE;ELEC; 2.08MM2 (14 AWG) GREEN - 600V |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419050 |  | 159 | 14,500 |  | 84 |  | 2025-11-01 03:55 | 5002158061 11150020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | price as per Spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5000386580 10016872 GENERAL CABLE US NUMBER 24014 SUPERSEDED NUMBER TP AP-06201 5000386581 10020512 THE OKONITE COMPANY US NUMBER 116-67-1074 5000386582 10021675 SOUTHWIRE COMPANY INCORPORATED US MAT TYPE THHN 5001437363 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551404 5002158061 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11150020 SUPERSEDED NUMBER 11151020 5001775612 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429828 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW1WU01G 5000386467 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000386469 10016871 GENERAL CABLE US BICC GENERAL
6.2 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;2.5 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 2.5 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED;XLPE;REEL;TR 90 DEG CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893715 |  | 11 | 2,174 |  | 84 |  | 2025-11-09 02:55 | 5002613073 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Price as per Meter |  | Manufacturer Part Number Text : 5002322146 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY ORDER NUMBER 1000607728-004 5002613073 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5002322143 10013724 SAUDI CABLE COMPANY SA 5002322144 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002322142 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002322145 10013002 JEDDAH CABLES COMPANY LTD SA | 5021585792000101MS8314004SHTS05012005.pdf
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;35/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 35 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412636 |  | 59.02 | 4,000 |  | 84 |  | 2026-07-07 03:55 | 5002157801 14530282 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 05 AIR | Price as per Meter |  | Manufacturer Part Number Text : 5000366104 10013724 SAUDI CABLE COMPANY SA NUMBER ENLB-55A-3145 5001327915 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DD1LA3ABG 5001893580 10037887 EGYTECH CABLES EL SEWEDY EG 5001301464 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002157801 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14530282 SUPERSEDED NUMBER 14530252 5002143829 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C435XA1040WSBK08IMR 5002332538 10046468 ELSEWEDY CABLES COMPANY SA
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;25 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;9.9 MM (0.39 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTUER MARKINGS;210 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417495 |  | 14 | 3,000 |  | 84 |  | 2025-12-09 02:55 | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Price as per Meter |  | Manufacturer Part Number Text : 5000381002 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-01C-02500-U0 BK8 5001893702 10037887 EGYTECH CABLES EL SEWEDY EG 5001301497 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002157848 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515011 SUPERSEDED NUMBER 14510011 5002143812 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C316XA10100SBK52IMR 5000381003 10013724 SAUDI CABLE COMPANY SA 5000381004 10020512 THE OKONITE COMPANY US 5002332587 10046468 ELSEWEDY CABLES COMPANY SA 5000381000 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000381001 10013002 JEDDAH CABLES COMPANY LTD SA
6.5 | CABLE; POWER; 600V-1000V; |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;27.3 MM (1.075 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3162 KG/KM (2125 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.040 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417981 |  | 80 | 5,000 |  | 84 |  | 2026-09-10 03:55 | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Price as per Meter |  | Manufacturer Part Number Text : 5000382910 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) NUMBER 7614-04C05000-UOKB8 5001893740 10037887 EGYTECH CABLES EL SEWEDY EG 5002157882 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515312 SUPERSEDED NUMBER 14510312 5002143921 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C418XA10400SBK08IMR 5001277347 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER CB3LU04BG 5000382911 10013724 SAUDI CABLE COMPANY SA 5002332617 10046468 ELSEWEDY CABLES COMPANY SA 5000382912 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.6 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419087 |  | 242 | 5,500 |  | 84 |  | 2025-12-21 02:55 | 5002158065 11140030 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5000386901 10016872 GENERAL CABLE US NUMBER 24012 SUPERSEDED NUMBER TP AP-06201 5000386902 10020512 THE OKONITE COMPANY US NUMBER 116-67-1108 5001437367 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551207 5002158065 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11140030 SUPERSEDED NUMBER 11141030 5001775616 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429832 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01N 5000386797 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000386799 10016865 GENERAL CABLE US BICC CABLES CORPORATION 5000386900 10016871 GENERAL CABLE US BICC GENERAL 5000386903 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.7 | WIRE;ELEC; 3.31MM2 (12 AWG) WHITE - 600V |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULL PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418919 |  | 232.11 | 5,000 |  | 84 |  | 2025-12-21 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra advanced cable manufacture Co. Ltd. |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5000385724 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 6111-01C-12AWG-U0 WT-5 5000385727 10016872 GENERAL CABLE US NUMBER 23012-232 5001437356 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551210 5001775605 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429820 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01W 5000385728 10020512 THE OKONITE COMPANY US 5000385726 10016871 GENERAL CABLE US BICC GENERAL 5000385830 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.8 | ` |  | WIRE ELECTRICAL; 1.04 MM CONDUCTO;7 CONDUCTO;GREEN/YELLOW;STRANDED;BR TYPE;BS-6231;6 MM2 PVC COVERED; SUPPLIED IN 100 M REELS | No | We don't carry a compatible part/material | SAR | Role | 1000412874 |  |  | 2 |  |  |  | 2025-08-09 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001775583 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000367289 10013724 SAUDI CABLE COMPANY SA 5000367288 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000367287 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.9 | CABLE; ELECTRICAL; LOW VOLTAGE; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;19 CONDUCTO;21.9 MM (0.862 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF MANU FACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;BS 6746 TYPE 5;IEC 228 CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR BS 6746 TYPE 5;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; RESISTANT TO ABRASION; MOISTURE ACID; OIL & SUN LGHT; | Yes |  | SAR | Meter | 1000418119 |  | 29 | 630 |  | 84 |  | 2025-12-21 02:55 | 5002157890 13515219 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | price as per Meter MOQ = 3000 Meter |  | Manufacturer Part Number Text : 5000383515 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614 - 19C - 0025 - U0 BK8 5001893755 10037887 EGYTECH CABLES EL SEWEDY EG 5001755892 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002157890 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 13515219 SUPERSEDED NUMBER 13512129 5002144054 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA11900SBK21IMR 5001277353 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA5LU19BEG CODE NUMBER DA5LU19BEG 5000383516 10013724 SAUDI CABLE COMPANY SA 5002332626 10046468 ELSEWEDY CABLES COMPANY SA
6.10 | CABLE; 1KV XLPE/PVC 1/C 70MM2 (2/0 AWG) |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDED CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;16.3 MM (0.642 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;1000 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;1.1 MM (0.0433 IN) INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417525 |  | 31.33 | 2,000 |  | 84 |  | 2025-10-27 03:55 | 5002157851 14515014 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | price as per Meter |  | Manufacturer Part Number Text : 5000381118 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-01C-07000-U0 BK8 5000381119 10013724 SAUDI CABLE COMPANY SA PART NUMBER CNH1-16A-0077 5001893705 10037887 EGYTECH CABLES EL SEWEDY EG 5001301501 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES PART NUMBER 0102R10113 5002157851 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515014 SUPERSEDED NUMBER 14510014 5002143852 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C319XA10100SBK52IMR 5000381210 10020512 THE OKONITE COMPANY US 5002332590 10046468 ELSEWEDY CABLES COMPANY SA 5000381117 10013002 JEDDAH CABLES COMPANY LTD SA
6.11 | WIRE;ELEC; 13.03MM2 (6 AWG) BLACK- 600V |  | WIRE ELECTRICAL; 13.3 MM2 (6 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;142.9 KG/KM (96 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419333 |  | 1002.23 | 2,000 |  | 84 |  | 2025-12-22 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra advanced cable manufacture Co. Ltd. |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5000387989 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 61A6-01C06AWG-U0BK5-00 SUPERSEDED NUMBER 61AF-01C06AWG-U0BK7 5000388103 10016872 GENERAL CABLE US NUMBER 25006 SUPERSEDED NUMBER TP AP-06201 5000388104 10020512 THE OKONITE COMPANY US NUMBER 116-67-1221 5001775630 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000388100 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000388105 10021675 SOUTHWIRE COMPANY INCORPORATED US 5000388102 10016871 GENERAL CABLE US BICC GENERAL
6.12 | CABLE; ELECTRICAL; LOW VOLTAGE; POWER |  | CABLE ELECTRICAL LOW VOLTAGE; POWER & CONTROL TYPE;7 STRANDS CONDUCTO;TC TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;14.0 MM (0.550 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;225 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; STE TO IEC 502;0.7 MM (0.027 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY & WET LOCATIONS; RESISTANT TO A BRASION; WATER; ACID; OIL AND SUNLI GHT. FLAME RETARDENT. | Yes |  | SAR | Meter | 1000417652 |  | 8 | 500 |  | 84 |  | 2025-12-29 02:55 | 5002157858 14515105 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT | price as per Meter |  | Manufacturer Part Number Text : 5000381620 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-02C-00400-U0 BK8 5001893713 10037887 EGYTECH CABLES EL SEWEDY EG 5002157858 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515105 SUPERSEDED NUMBER 14510105 5002143859 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C212XA10200SBK01IMR 5001277337 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA6LU02BEG CODE NUMBER DA6LU02BEG 5000381621 10013724 SAUDI CABLE COMPANY SA 5000381622 10020512 THE OKONITE COMPANY US 5002332595 10046468 ELSEWEDY CABLES COMPANY SA
6.13 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;2.5 MM2 CONDUCTO;0.6/1 KV SUPPLY;2 CONDUCTO;BLACK;2 X 2.5 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412455 |  | 9 | 879.4 |  | 84 |  | 2026-05-13 03:55 | 5002157793 14530002 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | price as per Meter Quantity = 880 Meter |  | Manufacturer Part Number Text : 5000365980 10013724 SAUDI CABLE COMPANY SA NUMBER CNL2-05A-3146 5001327907 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA5LA02BG 5001893570 10037887 EGYTECH CABLES EL SEWEDY EG 5002157793 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14530002 SUPERSEDED NUMBER 14530032 5002143821 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA1020WSBK01IMR 5001304026 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.14 | CABLE; 600V TC 19/C 14 AWG (2.08MM2) PVC |  | CORD ELECTRICAL; 19 CONDUCTO;2.08 SQ MM (14 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;20.8 MM (0.820 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C WET;766 KG/KM (515 LBS PER 1000 FT) LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;UL-1569;MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURE NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.76 MM (0.030 IN) CONDUCTOR MATERIAL SPEC; ASTM B8; CLASS B; INSULATION MATERIAL SPEC; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | We don't carry a compatible part/material | SAR | Feet | 1000416787 |  |  | 656 |  |  |  | 2025-12-21 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000378885 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-14AWG UO BK8 5000378887 10017431 ROME CABLE CORPORATION US NUMBER 3625 5000378888 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M27142 5001893670 10037887 EGYTECH CABLES EL SEWEDY EG 5001437343 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0802R10195 5001429773 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA5LU19BEG 5002243993 10016865 GENERAL CABLE US BICC CABLES CORPORATION 5000378889 10020512 THE OKONITE COMPANY US 5002332562 10046468 ELSEWEDY CABLES COMPANY SA 5000378982 10004602 SUMITOMO ELECTRIC INDUSTRIES LTD JP MARKETING & SALES GROUP
6.15 | CORD; ELECTRICAL; 3 CONDUCTOR; 35 SQ |  | CORD ELECTRICAL; 3 CONDUCTO;35 SQ MM CONDUCTO;7 STRANDS CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;21.0 MM (0.826 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C;1215 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT MARKED WITH; ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOTAGE; TYPE SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 0.9 MM (0.035 IN); CONDUCTOR MATERIAL SPEC; IEC 228; CLASS 2; INSULATION MATERIAL SPEC; ICEA 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Meter | 1000417862 |  | 49 | 1,290 |  | 84 |  | 2025-12-28 02:55 | 5002612720 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | price as per Meter |  | Manufacturer Part Number Text : 5001893728 10037887 EGYTECH CABLES EL SEWEDY EG 5001416337 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002612720 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001274386 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DB2LU03BG 5001416336 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000382149 10013724 SAUDI CABLE COMPANY SA 5002332608 10046468 ELSEWEDY CABLES COMPANY SA
6.16 | CABLE; 600V TC 25/C 14 AWG (2.5MM2) XLPE |  | CORD ELECTRICAL; 25 CONDUCTO;2.08 SQ MM (14 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;25.4 MM (1.0 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C WET;1079 KG/KM (725 LBS PER 1000 FT) LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;UL-1569;MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURE NAME; YEAR OF MANUFACTURE; INSULATION THICKNESS; 0.80 MM (0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; CLASS B; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | We don't carry a compatible part/material | SAR | Feet | 1000416828 |  |  | 6,400 |  |  |  | 2025-10-25 03:55 | [6 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000379193 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-25C-12AWG UO BK8 5000379195 10017431 ROME CABLE CORPORATION US NUMBER 3625 5001893672 10037887 EGYTECH CABLES EL SEWEDY EG 5001437345 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0802R10255 5001429776 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA5LU25BEG 5002243996 10016865 GENERAL CABLE US BICC CABLES CORPORATION 5000379196 10020512 THE OKONITE COMPANY US 5002332564 10046468 ELSEWEDY CABLES COMPANY SA
6.17 | WIRE; SWITCHBOARD; 600V; |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.81 MM (0.150 IN) OD;29.8 KG/KM (20 LBS PER 1000 FT) LG;TR 90 DEG C MAXIMUM;41 STRANDS;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;CLASS K PER ASTM B174; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 0.8 MM (0.030 IN) INSUL THK; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000420812 |  | 190 | 331 |  | 84 |  | 2025-12-29 02:55 | 5002612733 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5000392962 10016871 GENERAL CABLE US BICC GENERAL CATALOG NUMBER 79014-18 5000392963 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M4032 5001893785 10037887 EGYTECH CABLES EL SEWEDY EG 5001604323 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002612733 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001597470 10013002 JEDDAH CABLES COMPANY LTD SA 5001599012 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC )
6.18 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;YELLOW;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION ;NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH; AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT). | Yes |  | SAR | Meter | 1000836397 |  | 367 | 1,000 |  | 84 |  | 2025-12-08 02:55 | 5002613072 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E003-392 RASTANURA TMD/TMSD/MATERIAL COO | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5002222135 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002613072 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.19 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;YELLOW;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION ;NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH; AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT). | Yes |  | SAR | Meter | 1000836397 |  | 367 | 1,000 |  | 84 |  | 2025-12-07 02:55 | 5002613072 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E003-392 RASTANURA TMD/TMSD/MATERIAL COO | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5002222135 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002613072 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.20 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;YELLOW;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION ;NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH; AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT). | Yes |  | SAR | Meter | 1000836397 |  | 367 | 1,000 |  | 84 |  | 2025-12-15 02:55 | 5002222135 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E003-392 RASTANURA TMD/TMSD/MATERIAL COO | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5002222135 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002613072 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.21 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;YELLOW;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION ;NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH; AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT). | Yes |  | SAR | Meter | 1000836397 |  | 367 | 500 |  | 84 |  | 2025-08-09 03:55 | 5002613072 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E003-392 RASTANURA TMD/TMSD/MATERIAL COO | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5002222135 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002613072 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.22 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;YELLOW;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION ;NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH; AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT). | Yes |  | SAR | Meter | 1000836397 |  | 367 | 500 |  | 84 |  | 2025-08-09 03:55 | 5002613072 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E003-392 RASTANURA TMD/TMSD/MATERIAL COO | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5002222135 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002613072 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.23 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;YELLOW;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION ;NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH; AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT). | Yes |  | SAR | Meter | 1000836397 |  | 367 | 1,000 |  | 84 |  | 2025-12-11 02:55 | 5002613072 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E003-392 RASTANURA TMD/TMSD/MATERIAL COO | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5002222135 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002613072 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.24 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;YELLOW;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION ;NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH; AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT). | Yes |  | SAR | Meter | 1000836397 |  | 367 | 1,000 |  | 84 |  | 2025-12-07 02:55 | 5002613072 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E003-392 RASTANURA TMD/TMSD/MATERIAL COO | 04 BOAT | price as per spool MOQ = 50 Spool |  | Manufacturer Part Number Text : 5002222135 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002613072 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.25 | CABLE; ELECTRICAL; MEDIUM VOLTAGE |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;8.9 MM (0.3503 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;146 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;PVC INSUL;COPPER CONDUCTO;15-SAMSS-502; IEC 502; UL;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417459 |  | 8.13 | 1,223.6 |  | 84 |  | 2026-01-25 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra advanced cable manufacture Co. Ltd. |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | price as per Meter quantity = 1224 Meter |  | Manufacturer Part Number Text : 5000380901 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-01C-01000-U0 BK8 5001893700 10037887 EGYTECH CABLES EL SEWEDY EG 5002157846 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14015010 SUPERSEDED NUMBER 14010010 5000380902 10013724 SAUDI CABLE COMPANY SA 5002332585 10046468 ELSEWEDY CABLES COMPANY SA 5000380900 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED | 502164688800010115SAMSS50203272023.pdf
6.26 | CONNECTOR; ELECTRICAL; TERMINAL; LUG; |  | Material Number; 1000375290 PO Text CONNECTOR ELECTRICAL TERMINAL; LUG TYPE;(1) 9.5 MM (3/8 IN) HOLE TERMINAT;67.44 SQ MM (2/0 AWG) STRANDED COPPER CONDUCTO;SINGLE INDENT CRIMP CONNECTN;TIN PLATED COPPER;UL;STRAIGHT CONNECTION; 10 EA/PK BOM & MPN MANUFACTURER REFERENCES; 5000312343 10016825 BURNDY LLC US PART NUMBER YA26LBOX 5000312344 10018185 THOMAS AND BETTS INTERNATIONAL US THOMAS AND BETTS CORPORATION NUMBER 54110 5000312345 10018997 HOMAC MANUFACTURING COMPANY US NUMBER L2/0-38 5000312347 10020367 PENN-UNION CORPORATION US NESCO INCORPORATED PART NUMBER BLU2/0S 5001817994 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY CONNECTOR ELECTRICAL TERMINAL; LUG TYPE;(1) 9.5 MM (3/8 IN) HOLE TERMINAT;67.44 SQ MM (2/0 AWG) STRANDED COPPER CONDUCTO;SINGLE INDENT CRIMP CONNECTN;TIN PLATED COPPER;UL;STRAIGHT CONNECTION; 10 EA/PK | No | We don't carry a compatible part/material | SAR | Package | 1000375290 |  |  | 75 |  |  |  | 2025-08-09 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C003-765/C37 RIYADH T&I UNIT PLANNER | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000312343 10016825 BURNDY LLC US PART NUMBER YA26LBOX 5000312344 10018185 THOMAS AND BETTS INTERNATIONAL US THOMAS AND BETTS CORPORATION NUMBER 54110 5000312345 10018997 HOMAC MANUFACTURING COMPANY US NUMBER L2/0-38 5000312347 10020367 PENN-UNION CORPORATION US NESCO INCORPORATED PART NUMBER BLU2/0S 5001817994 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY
6.27 | WIRE; ELECTRICAL; 70 MM2 (2/0 AWG); 1 |  | Material Number; 1000438852 PO Text WIRE ELECTRICAL; 70 MM2 (2/0 AWG) CONDUCTO;1 CONDUCTO;YELLOW WITH GREEN STRIPE;450/750 V SUPPLY;CU/PVC WIRE;14.7 MM (0.580 IN) OD;736.6 KG/KM (495 LBS PER 1000 FT) LG;TR 85 DEG C;CLASS A & AA;PVC INSUL;STRANDED COPPER CONDUCTO;BUILDING TYPE;IEC 60227;THERMOPLASTIC WET AND DRY LOCATION GRD; BOM & MPN MANUFACTURER REFERENCES; 5001301553 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002612738 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - WIRE ELECTRICAL; 70 MM2 (2/0 AWG) CONDUCTO;1 CONDUCTO;YELLOW WITH GREEN STRIPE;450/750 V SUPPLY;CU/PVC WIRE;14.7 MM (0.580 IN) OD;736.6 KG/KM (495 LBS PER 1000 FT) LG;TR 85 DEG C;CLASS A & AA;PVC INSUL;STRANDED COPPER CONDUCTO;BUILDING TYPE;IEC 60227;THERMOPLASTIC WET AND DRY LOCATION GRD; | Yes |  | SAR | Meter | 1000438852 |  | 27.32 | 1,000 |  | 84 |  | 2025-08-09 03:55 | 5002612738 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C003-765/C37 RIYADH T&I UNIT PLANNER | 04 BOAT | price as per Meter |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5001301553 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002612738 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL31: Answer Type: Text (multiple lines) Acceptable Values: Any Value