## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000017506 ARABIA ELECTRIC LIMITED (EQUIP ( SA - Jeddah ) | 5001362989 M. P. HUSKY ( US - GREENVILLE ) | AE Utd.Arab Emir. | 5001363193 M. P. HUSKY ( US - GREENVILLE ) | 5001362937 M. P. HUSKY ( US - GREENVILLE ) | 5002643287 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002657585 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000017508 WAHAH ELECTRIC SUPPLY CO. OF S ( SA - Dammam ) | 5002108428 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | AF Afghanistan | 5002108631 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002108381 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002643290 M. P. HUSKY ( US - GREENVILLE ) | 5002657588 M. P. HUSKY ( US - GREENVILLE ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000017724 37387 LEDVANCE ( US - DANVERS ) | 5002219129 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | AG Antigua/Barbuda | 5002219291 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002219079 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002643292 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002657590 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | We are currently at full capacity
|  | POE - Port of Export |  | 5002264054 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | AI Anguilla | 5002264223 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002264002 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002643293 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002657591 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | Missing information / not enough information provided
|  |  |  | 5002371872 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | AB Abu Dhabi | 5002372519 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002371769 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002643295 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002657593 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | Other
|  |  |  | 5002520881 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | AL Albania | 5002521081 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002520829 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002643296 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002657594 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA )
|  |  |  | 5002588816 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | AM Armenia | 5002786812 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002786283 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002643297 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002657595 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM )
|  |  |  | 5002588817 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | AN Dutch Antilles |  |  | 5002643298 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002657596 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM )
|  |  |  | 5002588818 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | AO Angola |  |  | 5002643299 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002657597 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH )
|  |  |  | 5002786335 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | AQ Antarctica |  |  | 5002786777 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002787085 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | COVER; CABLE TRAY; 304.8 MM (12 IN) | COVER CABLE TRAY; 304.8 MM (12 IN) WD;STYLE FLAT; LOUVERED;M M;STRAIGHT;3.7 M (12 FT) LG;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;31.8 MM (1-1/4 IN) FLANGE; 31.8 MM (1-1/4 IN) FLANGE; LADDER LADDER TRAY; M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;31.8 MM (1-1/4 IN) FLANGE; 31.8 MM (1-1/4 IN) FLANGE; LADDER LADDER | No |  | USD | each | 1000371855 |  |  | 1 |  |  |  | 2026-05-03 03:55 | [6 empty] | Normal/staged | N | No |  | No |  |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002643287 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002786777 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-CVL-CA33-A 5002643292 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA PART NUMBER AL-ST-CVL-CA33-A 5002643296 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER NL48-12SL-12-1T SUPERSEDED NUMBER NL48-12SL-12 5002643295 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002643297 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002643299 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002643290 30003168 M. P. HUSKY US NUMBER - 5002643293 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5000304824 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER NL48-12SL-12-1T SUPERSEDED NUMBER NL48-12SL-12 5002610190 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5001817919 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002218752 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-CVL-CA33-A 5002610193 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002610195 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002610196 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002610189 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002610194 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5001821278 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES PART NUMBER 2003 10 12 12 32 5002610191 10042327 MP HUSKY LLC US NUMBER - 5002610192 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002610188 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER - 5002643298 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER -
6.2 | CLAMP; CONDUIT TO CABLE TRAY; 12.7 MM | CLAMP CONDUIT TO CABLE TRAY; 12.7 MM (1/2 IN) CONDUIT;RIGID CONDUIT;INSIDE RAIL TRAY DESIGN;HOOK & SET SCREW MTG;T IRON T IRON;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;GALV; STEEL HOOK WITH GALV; STEEL HOOK WITH VINYL CAP; CLAMPING NUT; VINYL CAP; CLAMPING NUT; GROUNDING & BONDING GROUNDING & BONDING EQUIPMENT EQUIPMENT TRAY; T IRON T IRON;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;GALV; STEEL HOOK WITH GALV; STEEL HOOK WITH VINYL CAP; CLAMPING NUT; VINYL CAP; CLAMPING NUT; GROUNDING & BONDING GROUNDING & BONDING EQUIPMENT EQUIPMENT | No |  | USD | each | 1000421847 |  |  | 15 |  |  |  | 2025-09-17 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E003-C300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002657585 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002657594 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER - 5002787085 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES NUMBER - 5002657590 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA NUMBER - 5002657593 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002657595 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002657597 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002657591 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5002657588 30003168 M. P. HUSKY US NUMBER - 5000395721 10017271 CROUSE HINDS ECM / EATON US NUMBER LCCF1 5000395722 10018020 EGS APPLETON ELECTRIC COMPANY US EMERSON ELECTRIC COMPANY NUMBER TCC50100 5000395723 10020336 EGS-OZ GEDNEY/EMERSON US EMERSON INDUSTRIAL AUTOMATION NUMBER CTC-0507 5002612277 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5001818356 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002612276 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES NUMBER - 5002612280 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002612283 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002612282 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002612281 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002612275 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5001821540 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES 5002612278 10042327 MP HUSKY LLC US NUMBER - 5002612279 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002612273 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER - 5002612274 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER - 5002657596 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER -
6.3 | TRAY; CABLE; BEND; 762.0 MM (30 IN) | TRAY; M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;5 MM (1-3/4 IN) FLANGE 5 MM (1-3/4 IN) FLANGE TRAY CABLE BEND; 762.0 MM (30 IN) WD;127.0 MM (5 IN) DP;STYLE ELBOW LADDER;914.4 MM (36 IN) RADIUS;HORIZONTAL POSITION;90 DEG;M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;5 MM (1-3/4 IN) FLANGE 5 MM (1-3/4 IN) FLANGE | No |  | USD | each | 1000359788 |  |  | 235 |  |  |  | 2025-09-20 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C001-C300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002371769 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002786283 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-HE-F56A99-A-T 5002264002 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER 258-309F-36 5002219079 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA 5001362937 30003168 M. P. HUSKY US 5000285395 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER ALE-30H90-36 5002108381 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5000285394 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER 258-309F-36 5002107708 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002218357 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-HE-F56A99-A-T 5002370451 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002370453 10043654 THOMAS AND BETTS SAUDI ARABIA SA 5002370452 10042327 MP HUSKY LLC US 5002520829 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER ALE-30H90-36
6.4 | TRAY; CABLE; STRAIGHT; 7.32 M (24 FT) | TRAY; M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;228.6 MM (9 IN) RUNG 228.6 MM (9 IN) RUNG SPACING; 1-1/4 IN FLANGE SPACING; 1-1/4 IN FLANGE TRAY CABLE STRAIGHT; 7.32 M (24 FT) LG;127.0 MM (5 IN) DP;152.4 MM (6 IN) WD;STYLE LADDER;M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE;228.6 MM (9 IN) RUNG 228.6 MM (9 IN) RUNG SPACING; 1-1/4 IN FLANGE SPACING; 1-1/4 IN FLANGE | No |  | USD | each | 1000375895 |  |  | 5 |  |  |  | 2025-09-20 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B006-319/S4T TANAJIB B-24;SOFPD-SAF GOSP | 04 BOAT |  |  | Manufacturer Part Number Text : 5002372519 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002786812 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-A55A8-A-T 5002264223 30005833 ABAHSAIN COPE S.A. CO. LTD SA 5002219291 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA 5001363193 30003168 M. P. HUSKY US 5000312856 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER A9E-6-288 5000312855 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER 1D58-06SL-24-09 5002108631 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002107966 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002218784 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-A55A8-A-T 5002371420 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002371422 10043654 THOMAS AND BETTS SAUDI ARABIA SA 5002371421 10042327 MP HUSKY LLC US 5002521081 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER A9E-6-288
6.5 | TRAY; CBL BEND; 304.8 MM (12 IN) WD; | TRAY; M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE TRAY CABLE BEND; 304.8 MM (12 IN) WD;127.0 MM (5 IN) DP;STYLE ELBOW LADDER;914.4 MM (36 IN) RADIUS;INSIDE VERTICAL POSITION;90 DEG;M M;A VE-1;SAES-P-104 A VE-1;SAES-P-104 NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE 2;SAE NEMA VE-1 AND NEMA VE-2;SAE NEMA VE-1 AND NEMA VE-2;SAE | No |  | USD | each | 1000360587 |  |  | 2 |  |  |  | 2026-02-22 02:55 | [6 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002371872 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002786335 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-IR-C56A99-A-T 5002264054 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER 258-129I-36 5002219129 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA 5002588816 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002588817 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002588818 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5001362989 30003168 M. P. HUSKY US 5000286589 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER AL5D-12VI90-36 SUPERSEDED NUMBER ALE-12VI90-36 5000286588 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER 258-129I-36 5002108428 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002107762 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002218407 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-IR-C56A99-A-T 5002587055 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002587057 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002587054 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002587058 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002587056 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002370606 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002370608 10043654 THOMAS AND BETTS SAUDI ARABIA SA 5002370607 10042327 MP HUSKY LLC US 5002520881 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER - | 5021730363000101SAESP104.pdf
6.6 | LAMP; INCANDESCENT; MINIATURE; | LAMP INCANDESCENT; 2.75 W W;55 VAC;SINGLE CONTACT BAYONET BASE;T-3-1/4 BULB;30 MM (1.1900 IN) LG;MINIATURE TYPE;CLEAR;5000 HRS AVG LIFE;ANSI;1.10 MSCP; 0.05 A; LAMP ORDERING CODE 1835 | No |  | USD | each | 1000060373 |  |  | 740 |  |  |  | 2025-12-20 02:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000017724 10021537 LEDVANCE US OSRAM SYLVANIA INCORPORATED NUMBER 37387 CODE NUMBER 1835 5000017508 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. 5000017506 10012067 ARABIA ELECTRIC LIMITED (EQUIPMENT) SA
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value