## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5002696973 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5002177622 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002328701 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001471432 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002696974 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan | 5002486392 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002328702 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001560836 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002696976 Belden Inc ( US - RICHMOND ) | AG Antigua/Barbuda | 5002647365 Belden Inc ( US - RICHMOND ) | 5002328703 MARMON INDUSTRIAL ENERGY & INF ( US - MOUNT PLEASANT ) | 5002327220 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) | We are currently at full capacity
|  | POE - Port of Export | 5002696977 MARMON INDUSTRIAL ENERGY & INF ( US - MOUNT PLEASANT ) | AI Anguilla | 5002647366 MARMON INDUSTRIAL ENERGY & INF ( US - MOUNT PLEASANT ) | 5002328705 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | 5002338584 Belden Inc ( US - RICHMOND ) | Missing information / not enough information provided
|  |  | 5002697120 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | AB Abu Dhabi | 5002647368 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | 5002338641 Belden Inc ( US - RICHMOND ) | 5002486329 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Other
|  |  | 5002697121 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) | AL Albania | 5002647369 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) |  | 5002647283 MARMON INDUSTRIAL ENERGY & INF ( US - MOUNT PLEASANT )
|  |  | 5002697122 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE ) | AM Armenia | 5002647370 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE ) |  | 5002647284 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE )
AN Dutch Antilles
AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2025-12-07 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | 10280070 TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | 10280070 offer.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE ELECTRICAL LOW VOLTAGE; INSTRUMENT |  | CABLE ELECTRICAL LOW VOLTAGE; INSTRUMENTATION TYPE;STRANDED CONDUCTO;PLTC (POWER LIMITED TRAY CABLE) TYPE;1.16 MM CONDUCTO;300 SUPPLY;2 PAIR X 18 AWG CONDUCTO;BLACK;EXTRUDED FR PVC JACKET;EXTRUDED NYLON OVER THE PVC;TR 90 DEG C;POLYETHYLENE INSUL;COPPER CONDUCTO;HELICALLY APPLIED GALVANIZED STEEL ARMOR;34 SAMSS#913;SUNLIGHT RESISTANT; UL 13 | Yes |  | SAR | Meter | 1001046623 |  | 8.11 | 100 |  | 70 |  | 2025-11-25 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture CO. Ltd. |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B005-C322 TANAJIB STORE STOCK | 04 BOAT | MOQ = 2000 M price as per Meter |  | Manufacturer Part Number Text : 5002696974 30000865 SAUDI CABLE COMPANY SA 5002697114 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 041Z-02P18AWG-W0BK8-PL 5002696976 30001526 Belden Inc US Fomerly; BELDEN WIRE AND CABLE 5002696978 30001857 THE OKONITE COMPANY US 5002697120 30003774 TE WIRE AND CABLE COMPANY US 5002697121 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY 5002697122 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. 5002696977 30001824 MARMON INDUSTRIAL ENERGY & INFRASTR US PART NUMBER 2X75‐8025L‐300R1 5002697112 10013724 SAUDI CABLE COMPANY SA 5002697115 10020512 THE OKONITE COMPANY US 5002697110 10056746 BELDEN HIRSCHMANN SOLUTIONS CN (SHANGHAI) COMPANY LIMITED 5002697111 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC 5002697113 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED 5002697116 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5002696973 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0424-02P18AWG-W0BK8-03 SUPERSEDED NUMBER 041Z-02P18AWG-W0BK8-PL 5002697117 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. PART NUMBER 2X75‐8025L‐300R1 | 502161580400010134SAMSS9131000999166.pdf
6.2 | WIRE; THERMOCOUPLE; KX; 1.31 MM2 (16 |  | WIRE THERMOCOUPLE; KX TYPE;1.31 MM2 (16 AWG) CONDUCTO;TWISTED SOLID;TR 105 DEG C;PVC INSUL;380 MICRO M (15 MIL) INSUL TH;HELICAL POLYESTER BACKED ALUM SHIELD SHLD;0.823 SQ MM (18 AWG) TINNED COPPER DRAIN;PVC JACKET;510 MICRO M (20 MIL) JCKT THK;YELLOW;34-SAMSS-913;ANSI MC96.1 UL;VW-1 1EEE 383;(1) PAIR | No | We don't carry a compatible part/material | SAR | Feet | 1000374987 |  |  | 100 |  |  |  | 2026-03-29 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M006-S953 RIYADH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002486329 30000865 SAUDI CABLE COMPANY SA PART NUMBER 01PKX-H-YWOSYU 5002647283 30001824 MARMON INDUSTRIAL ENERGY & INFRASTR US NUMBER - 5002647284 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5000659558 10023035 WATLOW ELECTRIC MANUFACTURING US NUMBER K16/5/510 5001471426 30001857 THE OKONITE COMPANY US 5002327220 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5001560836 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002338584 30001526 Belden Inc US Fomerly; BELDEN WIRE AND CABLE 5001470672 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5001471076 10024603 $$ ABB AUTOMATION PRODUCTS GMBH DE INSTRUMENTATION 5001471171 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002638810 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002638811 10056746 BELDEN HIRSCHMANN SOLUTIONS CN (SHANGHAI) COMPANY LIMITED NUMBER - 5001470580 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED 5001470737 10026424 SUMITOMO ELECTRIC INDUSTRIES LTD JP HITAKA/MINATO WORKS 5001470623 10028102 ** CBI ELECTRIC ABERDARE ATC TELECO ZA 5001470864 10020512 THE OKONITE COMPANY US 5001470978 10000947 ** LEONI KERPEN GMBH DE 5001471027 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5001471125 10024590 PRYSMIAN POWERLINK SRL IT 5001742776 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC PART NUMBER UP/ALPTW-16-KX 5002485969 10013724 SAUDI CABLE COMPANY SA PART NUMBER 01PKX-H-YWOSYU 5001471432 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED | 502165161100010134SAMSS9131000999166.pdf
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; ITC |  | CABLE ELECTRICAL LOW VOLTAGE; ITC TYPE;TWISTED PAIR CONDUCTO;INSTRUMENTATION TYPE;1.5 SQ MM (16 AWG) CONDUCTO;300 V SUPPLY;6 PAIRS CONDUCTO;15.1 MM (OVERALL) CABLE OD;BLACK/WHITE;TYPE; VOLTAGE RATING; MANUFACTURER'S NAME; YEAR OF MANUFACTURING MARKINGS;305 KG/KM LG;PVC JACKET;0.38 MM INSUL TH;ASTM B8;ALUM-MYLAR SHIELDIN;FOR DIRECT BURIAL;TR 90 DEG C (194 DEG F);XLPE INSUL;TINNED COPPER CONDUCTO;34-SAMSS-913; UL-13;7 STRANDS X 0.488 MM DIAMETER; UNSHIELDED W/ OVERALL SHIELD. OIL; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT. | Yes |  | SAR | Meter | 1000827156 |  | 13 | 180 |  | 70 |  | 2025-12-28 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture CO. Ltd. |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B011-C322 TANAJIB STORE STOCK | 04 BOAT | MOQ = 2000 M price as per Meter |  | Manufacturer Part Number Text : 5002486392 30000865 SAUDI CABLE COMPANY SA PART NUMBER T413635 5002161322 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) CODE NUMBER 041Z-06P16AWG-U0BK8-IC SUPERSEDED NUMBER 0224-06P16AWG-U0BK8-03 5002647365 30001526 Belden Inc US Fomerly; BELDEN WIRE AND CABLE NUMBER - 5002647366 30001824 MARMON INDUSTRIAL ENERGY & INFRASTR US NUMBER - 5002647368 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002647369 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5002647370 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002639341 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH NUMBER - 5002639342 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER - 5002639343 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002639345 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5002639346 10056746 BELDEN HIRSCHMANN SOLUTIONS CN (SHANGHAI) COMPANY LIMITED NUMBER - 5002486036 10013724 SAUDI CABLE COMPANY SA PART NUMBER T413635 5002177622 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED CODE NUMBER 041Z-06P16AWG-U0BK8-IC SUPERSEDED NUMBER 0224-06P16AWG-U0BK8-03 | 502165659000010134SAMSS9131000999166.pdf
6.4 | CABLE ELECTRICAL LOW VOLTAGE; ITC; STRAN |  | CABLE ELECTRICAL LOW VOLTAGE; ITC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG CONDUCTO;300V SUPPLY;6 PAIRS TWISTED CONDUCTO;PER 34-SAMSS-913 MARKINGS;PVC JACKET;UL 2250;0.38 MM INSUL TH;FOR DIRECT BURIED;TR 90 DEG. C MINIMUM;XLPE INSUL;COPPER CONDUCTO;34-SAMSS-913;CABLE; INSTRUMENTATION OVERALL SHIELDED; TWISTED IN PAIRS; OIL; ACID; ALKALI; MOISTURE; FLAME RETARDANT AND SUNLIGHT RESISTANT MANUFACTURING AND TESTING PER SAUDI ARAMCO SPECIFICATION 34-SAMSS-913. GROUP 3; | Yes |  | SAR | Meter | 1000901908 |  | 10 | 500 |  | 70 |  | 2026-02-08 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture CO. Ltd. |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ = 2000 M price as per Meter |  | Manufacturer Part Number Text : 5002328702 30000865 SAUDI CABLE COMPANY SA PART NUMBER T413635 5002328592 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 041Z-06P16AWG-U0BK8-IC 5002328593 10013724 SAUDI CABLE COMPANY SA PART NUMBER T413635 5002328703 30001824 MARMON INDUSTRIAL ENERGY & INFRASTR US 5002328705 30003774 TE WIRE AND CABLE COMPANY US 5002338641 30001526 Belden Inc US Fomerly; BELDEN WIRE AND CABLE 5002328594 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED 5002328595 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC 5002328596 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. 5002328701 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 041Z-06P16AWG-U0BK8-IC | 502171193500010134SAMSS9131000999166.pdf
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value