## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | AE Utd.Arab Emir. | 5002757407 847D0030620710000086001 ABB AUTOMATION INCORPORATED ( US - HOUSTON ) | 5000648576 S341PA3S192 MINCO PRODUCTS INCORPORATED ( US - MINNEAPOLIS ) | 5000478986 S13282PD3S36 MINCO PRODUCTS INCORPORATED ( US - MINNEAPOLIS ) | 5000648470 S341PA3S18 MINCO PRODUCTS INCORPORATED ( US - MINNEAPOLIS ) | 5002984841 ABB INC. ( US - WARMINSTER ) | 5001471291 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001820432 ABB ANALYTICAL ( GB - TELFORD ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | AF Afghanistan |  | 5001478869 $$ ABB AUTOMATION PRODUCTS GMB ( DE - ALZENAU ) | 5001478665 $$ ABB AUTOMATION PRODUCTS GMB ( DE - ALZENAU ) | 5001478864 $$ ABB AUTOMATION PRODUCTS GMB ( DE - ALZENAU ) |  | 5001560822 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | 5001820433 TS25N10B ** BIS VALVES LTD ( GB - WIMBORNE ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | AG Antigua/Barbuda |  | 5001479753 SA7323WS4877SS THERMO ELECTRIC INSTRUMENTATIO ( NL - WADDINXVEEN ) | 5001479136 RUEGER SA ( CH - CRISSIER ) | 5001479748 THERMO ELECTRIC INSTRUMENTATIO ( NL - WADDINXVEEN ) |  | 5002327136 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) |  | We are currently at full capacity
|  | POE - Port of Export | AI Anguilla |  | 5001480187 THERMO ELECTRIC COMPANY ( US - WEST CHESTER ) | 5001479582 THERMO ELECTRIC INSTRUMENTATIO ( NL - WADDINXVEEN ) | 5001480182 THERMO ELECTRIC COMPANY ( US - WEST CHESTER ) |  | 5002486310 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | Missing information / not enough information provided
|  |  | AB Abu Dhabi |  | 5001481017 CONAX BUFFALO TECHNOLOGIES, LL ( US - BUFFALO ) | 5001480009 THERMO ELECTRIC COMPANY ( US - WEST CHESTER ) | 5001481012 CONAX BUFFALO TECHNOLOGIES, LL ( US - BUFFALO ) |  | 5002647273 MARMON INDUSTRIAL ENERGY & INF ( US - MOUNT PLEASANT ) |  | Other
|  |  | AL Albania |  | 5001481476 WATLOW ELECTRIC MANUFACTURING ( US - SAINT LOUIS ) | 5001480824 CONAX BUFFALO TECHNOLOGIES, LL ( US - BUFFALO ) | 5001481471 WATLOW ELECTRIC MANUFACTURING ( US - SAINT LOUIS ) |  | 5002647274 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE )
|  |  | AM Armenia |  | 5002592837 1105PS3GP10A32XXXL48768R2T10 QYASAT ALTAQA COMPANY FOR ( SA - Dammam ) | 5001481282 WATLOW ELECTRIC MANUFACTURING ( US - SAINT LOUIS ) | 5002569366 YAMARI INDUSTRIES LIMITED ( JP - TAKATSUKI-SHI, OSAKA )
|  |  | AN Dutch Antilles |  | 5002804956 ASHCROFT INSTRUMENTS GMBH ( DE - BAESWEILER ) | 5002568929 YAMARI INDUSTRIES LIMITED ( JP - TAKATSUKI-SHI, OSAKA ) | 5002592831 1105PS3GP10A32XXXL04572R2T10 QYASAT ALTAQA COMPANY FOR ( SA - Dammam )
|  |  | AO Angola |  |  | 5002592678 1105PS3GP10A32XXXL000762R2T10 QYASAT ALTAQA COMPANY FOR ( SA - Dammam ) | 5002804951 ASHCROFT INSTRUMENTS GMBH ( DE - BAESWEILER )
|  |  | AQ Antarctica |  |  | 5002856949 YAMARI SINGAPORE PTE LTD ( SG - SINGAPORE ) | 5002857218 YAMARI SINGAPORE PTE LTD ( SG - SINGAPORE )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | TRANSMITTER TEMPERATURE RTD IP66 -200 TO | TRANSMITTER TEMPERATURE; -200 TO 645 DEG C INPUT;4-20 MA HART OUTPUT;2-1/2 IN NPT PROCESS;1/2 IN NPT OUTPUT;RTD ELEMENT;CERTFCTN ATEX FLAMEPROOF;IP66 ENCLOSUR;2 IN PIPE MTG;ELECTRONIC SMART TYPE;IEC 60751;SINGLE-COMPARTMENT HOUSING (STAINLESS STEEL) WITH LCD DISPLAY HMI; CUSTOMER-SPECIFIC CONFIGURATION; INSPECTION CERTIFICATE ACCORDING EN 10204-3.1; WITH 5-POINT CALIBRATION CERTIFICATE; ELECTRICAL AREA CLASSIFICATION EXD ZONE 2/22; II 2 G EX DB IIC T6/T4 GB | No |  | USD | each | 1001171708 |  |  | 1 |  |  |  | 2026-02-08 02:55 | [6 empty] | Normal/staged | X | No |  | No |  |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002984841 30001714 ABB INC. US FORMERLY; ABB AUTOMATION INSTRUMENT MODEL NUMBER AA TTF300 PART NUMBER TTF300E3D2HBFEPGHEK2T0I1Z2M5 5002984779 10018650 ABB AUTOMATION-INSTRUMENTATION US A S E A BROWN BOVERI INCORPORATED MODEL NUMBER AA TTF300 PART NUMBER TTF300E3D2HBFEPGHEK2T0I1Z2M5
6.2 | COLUMN; 3; PACKED ; SILCO SULPHUR-3 GYR; | COLUMN; 3; PACKED ; SILCO SULPHUR-3 GYR TYPE;SIZE 1/8 IN X 6 FT;SILCO TREATED STAINLESS SPARE PART FOR; CHROMATOGRAPH PROCESS; FOR SOUR WATER;FPD DETECTOR;4 TO 20 MA OUTPUT;120 VAC; 60 HZ; 12 A SUPPLY;HYDROGEN CARRIER;DIGITAL DISPLAY;1 STREAM(S;LIQUID PHASE;NEMA 4X ENCLOSUR;34-SAMSS-511;MEASURED COMPONENTS; H2S; 3 COLUMN; GAS CHROMATOGRAPH CONSISTING OF PGC 5000A CONTROLLER; PGC 5000B OVEN; AND ASSOCIATED INSTRUMENT ACCESSORIES ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME ABB ENGINEERING (SHANGHAI) LTD MODEL NUMBER PGC 5000 SERIAL NUMBER 1098916-040 DRAWING NUMBER 1098916-A30 1098916-A40 1098916-B30 1098916-B40 1098916-C40 1098916-D40 11049D-NH36001A-ABB-ANS-088 TAG NUMBER Q68-AIT-5151 | No |  | USD | each | 1001070618 |  |  | 2 |  |  |  | 2025-10-25 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831410 |  |  | No | E - Exempt | 36- | AC-A/C 48 D.F - 79 D.F | A009-113/GM3 YANBU B-3; AREA V-84;MAINT. | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002757407 10018684 ABB AUTOMATION INCORPORATED US ANALYTICAL DIVISION-PASTECH PART NUMBER 847D003-0620710000086001
6.3 | COLUMN; 3; PACKED ; SILCO SULPHUR-3 GYR; | COLUMN; 3; PACKED ; SILCO SULPHUR-3 GYR TYPE;SIZE 1/8 IN X 6 FT;SILCO TREATED STAINLESS SPARE PART FOR; CHROMATOGRAPH PROCESS; FOR SOUR WATER;FPD DETECTOR;4 TO 20 MA OUTPUT;120 VAC; 60 HZ; 12 A SUPPLY;HYDROGEN CARRIER;DIGITAL DISPLAY;1 STREAM(S;LIQUID PHASE;NEMA 4X ENCLOSUR;34-SAMSS-511;MEASURED COMPONENTS; H2S; 3 COLUMN; GAS CHROMATOGRAPH CONSISTING OF PGC 5000A CONTROLLER; PGC 5000B OVEN; AND ASSOCIATED INSTRUMENT ACCESSORIES ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME ABB ENGINEERING (SHANGHAI) LTD MODEL NUMBER PGC 5000 SERIAL NUMBER 1098916-040 DRAWING NUMBER 1098916-A30 1098916-A40 1098916-B30 1098916-B40 1098916-C40 1098916-D40 11049D-NH36001A-ABB-ANS-088 TAG NUMBER Q68-AIT-5151 | No |  | USD | each | 1001070618 |  |  | 2 |  |  |  | 2025-10-25 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831410 |  |  | No | E - Exempt | 36- | AC-A/C 48 D.F - 79 D.F | A009-113/GM3 YANBU B-3; AREA V-84;MAINT. | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002757407 10018684 ABB AUTOMATION INCORPORATED US ANALYTICAL DIVISION-PASTECH PART NUMBER 847D003-0620710000086001
6.4 | DETECTOR; RESISTANCE TEMPERATURE; | DETECTOR RESISTANCE TEMPERATURE; BEARING EMBEDMENT TYPE;1/8 IN OD X 4876.8 MM (192 IN) LEAD LG;100 OHMS AT 0 DEG C;PLATINUM WIREWOUND ELEMENT;TR -50 TO 260 DEG C (-58 TO 500 DEG F);0.003926 OHM/OHM/DEG C COEFFICN;(3) 26 AWG WIRE;TIN PLATED COPPER ALLOY CASE TUBE;IPTS-68;SINGLE; NON-HYGROSCOPIC INSULATION FOR MOUNTING IN A TILTING PAD KINGSBURY OR THRUST BEARING; 7.6 MM (0.3 IN) LG ELEMENT; 10 MEG OHM MIN INSULATION RESIST AT 100 VDC; LEADS TO CASE; ACC +/-0.1% AT O DEG C (32 DEG F); STRD LEADS; TEFLON INSULATION; SSTL BRAID JACKET | No |  | USD | each | 1000369233 |  |  | 32 |  |  |  | 2025-12-29 02:55 | [6 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000648576 10020168 MINCO PRODUCTS INCORPORATED US PART NUMBER S341PA3S192 SUPERSEDED NUMBER S341PA3192 5002592837 10060621 QYASAT ALTAQA COMPANY FOR SA MEASURING DEVICES PART NUMBER 1105PS3GP10A32XXXL4876.8R2T10 5001479753 10001688 THERMO ELECTRIC INSTRUMENTATION BV NL PART NUMBER SA7-32-3WS-4877-SS 5002804956 10003151 ASHCROFT INSTRUMENTS GMBH DE 5001478869 10024603 $$ ABB AUTOMATION PRODUCTS GMBH DE INSTRUMENTATION 5001481476 10023035 WATLOW ELECTRIC MANUFACTURING US 5001481017 10021385 CONAX BUFFALO TECHNOLOGIES; LLC US 5001480187 10022107 THERMO ELECTRIC COMPANY US INCORPORATED
6.5 | DETECTOR; RESISTANCE TEMPERATURE; | DETECTOR RESISTANCE TEMPERATURE; PROBE; MINIATURE TYPE;2 MM (0.08 IN)DIA X 7.62 MM(0.3 IN) LONG;100 OHM +/-0.36% @ 0 DEG C;PLATINUM ELEMENT;TR (-)58 TO 500 DEG F (-50 TO 260 DEG C;0.00385 OHM/OHM/DEG C COEFFICN;3 WIRE;SS WITH BABBITT TIP TUBE;10 MEGOHMS INSULATION RESISTANCE @ 100 VDC | No |  | USD | each | 1000278642 |  |  | 7 |  |  |  | 2026-03-02 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000478986 10020168 MINCO PRODUCTS INCORPORATED US PART NUMBER S13282PD3S36 5002592678 10060621 QYASAT ALTAQA COMPANY FOR SA MEASURING DEVICES PART NUMBER 1105PS3GP10A32XXXL0007.62R2T10 5002856949 10049203 YAMARI SINGAPORE PTE LTD SG SALES AND MARKETING DIVISION 5001479582 10001688 THERMO ELECTRIC INSTRUMENTATION BV NL 5001479136 10001447 RUEGER SA CH 5001478665 10024603 $$ ABB AUTOMATION PRODUCTS GMBH DE INSTRUMENTATION 5001481282 10023035 WATLOW ELECTRIC MANUFACTURING US 5001480824 10021385 CONAX BUFFALO TECHNOLOGIES; LLC US 5001480009 10022107 THERMO ELECTRIC COMPANY US INCORPORATED 5002568929 10034771 YAMARI INDUSTRIES LIMITED JP OVERSEAS SALES HEADQUARTERS | 5021746267000101MS8314004SHTS05012005.pdf
6.6 | DETECTOR; RESISTANCE TEMPERATURE; | DETECTOR RESISTANCE TEMPERATURE; BEARING EMBEDMENT TYPE;3.2 MM (1/8 IN) O DIA X 457.2 MM (18 IN) LEAD LG;100 OHMS AT 0 DEG C;PLATINUM WIREWOUND ELEMENT;TR -80 TO 260 DEG C (-112 TO 500 DEG F);0.003926 OHM/OHM/DEG C COEFFICN;(3) 26 AWG WIRE;TIN PLATED COPPER TUBE;IPTS-68;SINGLE; NON-HYGROSCOPIC INSULATION FOR MOUNTING IN A TILTING PAD KINGSBURY OR THRUST BEARING; 7.6 MM (0.3 IN) LG ELEMENT; 10 MEG OHM MIN INSULATION RESIST AT 100 VDC; LEADS TO CASE; ACC +/-0.1% AT O DEG C (32 DEG F); STRD LEADS; TEFLON INSULATION; SSTL BRAID JACKET | No |  | USD | each | 1000369183 |  |  | 3 |  |  |  | 2026-03-17 03:55 | [6 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000648470 10020168 MINCO PRODUCTS INCORPORATED US PART NUMBER S341PA3S18 5002592831 10060621 QYASAT ALTAQA COMPANY FOR SA MEASURING DEVICES PART NUMBER 1105PS3GP10A32XXXL0457.2R2T10 5002857218 10049203 YAMARI SINGAPORE PTE LTD SG SALES AND MARKETING DIVISION 5001479748 10001688 THERMO ELECTRIC INSTRUMENTATION BV NL 5002804951 10003151 ASHCROFT INSTRUMENTS GMBH DE 5001478864 10024603 $$ ABB AUTOMATION PRODUCTS GMBH DE INSTRUMENTATION 5001481471 10023035 WATLOW ELECTRIC MANUFACTURING US 5001481012 10021385 CONAX BUFFALO TECHNOLOGIES; LLC US 5001480182 10022107 THERMO ELECTRIC COMPANY US INCORPORATED 5002569366 10034771 YAMARI INDUSTRIES LIMITED JP OVERSEAS SALES HEADQUARTERS | 5021768432000101MS8314004SHTS05012005.pdf
6.7 | WIRE; THERMOCOUPLE EXTENSION; | WIRE THERMOCOUPLE; KX TYPE;0.52 MM2 (20 AWG) CONDUCTO;SOLID;TR 510 DEG C (950 DEG F) MAXIMUM;BRAIDED FIBERGLASS INSUL;BRAIDED FIBERGLASS JACKET;YELLOW;34-SAMSS-913;ANSI MC96.1;ISA/ANSI COLOR CODED; SINGLE PAIR | No |  | USD | Feet | 1000374761 |  |  | 200 |  |  |  | 2026-04-04 03:55 | [6 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | C003-C953 RIYADH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002486310 30000865 SAUDI CABLE COMPANY SA 5000659173 10023035 WATLOW ELECTRIC MANUFACTURING US NUMBER K20/1/321 5002647273 30001824 MARMON INDUSTRIAL ENERGY & INFRASTR US NUMBER - 5002647274 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002327136 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5001560822 30003774 TE WIRE AND CABLE COMPANY US PART NUMBER G/G-20-KX 5001470658 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5001471062 10024603 $$ ABB AUTOMATION PRODUCTS GMBH DE INSTRUMENTATION 5001471157 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002638797 10056746 BELDEN HIRSCHMANN SOLUTIONS CN (SHANGHAI) COMPANY LIMITED NUMBER - 5002638796 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5001470609 10028102 ** CBI ELECTRIC ABERDARE ATC TELECO ZA 5001470709 10026424 SUMITOMO ELECTRIC INDUSTRIES LTD JP HITAKA/MINATO WORKS 5001471013 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5001471111 10024590 PRYSMIAN POWERLINK SRL IT 5001470964 10000947 ** LEONI KERPEN GMBH DE 5001728347 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC PART NUMBER G/G-20-KX 5002483825 10013724 SAUDI CABLE COMPANY SA 5001471291 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED | 502179393800010134SAMSS9131000999166.pdf
6.8 | VALVE; RELIEF; 1/4 IN; MALE NPT; 2 BAR | VALVE RELIEF; SIZE 1/4 IN;MALE NPT END CONN;2 BAR SPRING;600 PSIG;5 MM ORIFICE;SS;SS AISI 316 SEAT SPARE PART FOR; ACCESSORY; MULTIWAVE ANALYZER HOUSE TYPE;COMPRISES VARIOUS INSTRUMENT & ELECTRICAL COMPONENTS ORIGINAL EQUIPMENT REFERENCES; DRAWING NUMBER SDPD 0600191-102 TO 109 | No |  | USD | each | 1000772911 |  |  | 7 |  |  |  | 2025-12-29 02:55 | [6 empty] | Normal/staged | X | No |  | No | 831410 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001820432 10026423 ABB ANALYTICAL GB UNIT OF ABB LTD 5001820433 10014395 ** BIS VALVES LTD GB PART NUMBER TS25-N-10B
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value