## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000927184 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | AE Utd.Arab Emir. | 5000920650 SUMITOMO ELECTRIC INDUSTRIES L ( JP - HITACHI-SHI, IBARAKI-KEN ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000927185 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan | 5001272232 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000927186 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | AG Antigua/Barbuda | 5001318577 $$ DEMIRER KABLO TESISLERI SAN ( TR - BOZUYUK ) | We are currently at full capacity
|  | POE - Port of Export | 5000927190 THE OKONITE CO. INC. ( US - SANTA MARIA ) | AI Anguilla | 5001336123 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | Missing information / not enough information provided
|  |  | 5000927191 THE OKONITE COMPANY ( US - RICHMOND ) | AB Abu Dhabi | 5001871782 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | Other
|  |  | 5000927192 THE OKONITE COMPANY ( US - ORANGEBURG ) | AL Albania | 5001929481 BAOSHENG HIGH VOLTAGE CABLE CO ( CN - BAOYING YANGZHOU )
|  |  | 5001779380 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | AM Armenia | 5002043029 SUMITOMO ELECTRIC INDUSTRIES L ( JP - OSAKA )
|  |  | 5001871781 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | AN Dutch Antilles | 5002159182 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
|  |  | 5001920977 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) | AO Angola | 5002280520 FURUKAWA ELECTRIC CO LTD ( JP - ICHIHARA-SHI, CHIBA-KEN )
|  |  | 5002159181 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | AQ Antarctica | 5002292579 SHENYANG FURUKAWA CABLE CO LTD ( CN - SHENYANG )
|  |  | 5002300525 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) | AR Argentina | 5002379189 DUBAI CABLE COMPANY (PVT) LTD ( AE - DUBAI )
|  |  | 5002332034 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | AS Samoa,American | 5002430604 LS CABLE & SYSTEM LTD ( KR - GUMI, GYEONGBUK )
|  |  | 5002366569 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | AT Austria | 5002476712 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
|  |  | 5002379188 DUBAI CABLE COMPANY (PVT) LTD ( AE - DUBAI ) | AU Australia | 5002580008 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
|  |  | 5002476711 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | AW Aruba | 5002581623 TAIHAN CABLE & SOLUTION CO LTD ( KR - DANGJIN, CHUNGNAM )
|  |  | 5002580007 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | AZ Azerbaijan | 5003100359 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1
2.1 | Do you accept the bidding instructions & conditions attached in this section? |  |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  |  | 2025-12-29 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  |  | 10282177 TDS.PDF
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  |  | 10282177 Offer.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Unloading Point | Quantity | Please Enter Unit Price Below Excluding VAT | * Price | HS Code | Requested Delivery Date | * Lead Time (Days) | * Lead Time (Days) Comments | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Hazardous Indicator | Handling Priority | Inspection Flag | Inspection Description | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Delivery Priority | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1
6.1 | CABLE; POWER; 5KV THROUGH 35 KV |  |  | Electrical cable; Medium Voltage Power Cable; 36kV (18/30)kV; single CU core; conductor size 120 SQ. MM; cable OD (66MM approx.); inner semi-conductor (conductor screen); XLPE insulation with nominal thickness 9.0MM approx. outer semi-conductor (insulation screen) as per IEC 60228. Dia over insulation 45MM approx.; S/C SHLD; Metallic Screen Metal SH; Double Galvanized Steel Armor; Black PVC Jacket; Temp. 90 Deg C max.as per 15-SAMSS-502. Marking Reel as per 15-SAMSS-502. Measure Unit is in Meters; Cable Length 2000M CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 KV THROUGH 35 KV SUPPLY;ANY CONDUCTO;COPPER CONDUCTO;XLPE OR EPR INSUL;POWER TYPE;15-SAMSS-502;NOTICE TO REQUISITIONER; THIS 9COM REQUIRES REQUISITION TEMPLATE FOR CREATING MATERIAL PO TEXT ACCESS TEMPLATE DATASHEETS UNDER ARAMCO STANDARD 15-SA REPLACE THIS MESSAGE WITH YOUR MATERIAL PO TEXT | Yes |  | SAR | each | 6000000797 | Z02F-813 TANAJIB POWER DISTRIBUTION DEPT | 2,000 |  | 83.18 |  | 2025-12-11 02:55 | 70 |  | 5002332034 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | No | S | Yes | IR150200 501 08/25/2021 |  |  |  | No | D - Dutible |  |  | Urgent | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000927184 30000598 JEDDAH CABLE COMPANY LIMITED SA 5000927185 30000865 SAUDI CABLE COMPANY SA 5000927186 30000926 SAUDI MODERN COMPANY FOR CABLE SA INDUSTRY LIMITED (RIYADH CABLES) 5000927190 30001855 THE OKONITE CO. INC. US 5000927191 30001856 THE OKONITE COMPANY US 5000927192 30001858 THE OKONITE COMPANY US 5002476711 30007746 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. 5002300525 30005137 QINGDAO HANHE CABLE CO LTD CN 5002379188 30007138 DUBAI CABLE COMPANY (PVT) LTD AE 5002580007 30008237 BRANCH OF JEDDAH CABLES COMPANY SA 5001920977 30004750 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO. LTD 5001871781 30004522 EGYTECH CABLES EL SEWEDY EG 5002332034 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. 5002159181 30005612 ELSEWEDY CABLES COMPANY LTD. SA 5002366569 30005611 AL-FANAR ELECTRICAL SYSTEMS SA 5001779380 30004402 OMAN CABLES INDUSTRY (SAOG) OM | 1001023350000011IR150200Formpdf06132021.pdf
6.2 | CABLE; POWER; 69 KV THROUGH 138 KV |  |  | CABLE ELECTRICAL HIGH VOLTAGE; POWER TYPE; 69 KV SUPPLY; 1 CONDUCTOR; 500 SQ MM (1000 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER CONDUCTOR; XLPE INSUL; 133% INSUL LV with thickness 16.5 MM; EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD; PVC JACKET; TR 90 DEG C MAX; REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.; 15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; Metallic Shield Lead Alloy. Measure unit is in meters Cable Lenght 2000m CABLE ELECTRICAL HIGH VOLTAGE; 69 KV THROUGH 138 KV SUPPLY;ANY CONDUCTO;XLPE OR EPR INSUL;POWER TYPE;SAES-P-104;11-TMSS-01 11-TMSS-02 | No | Missing information / not enough information provided | SAR | each | 6000000799 | Z02F-813 TANAJIB POWER DISTRIBUTION DEPT | 2,000 |  |  |  | 2025-12-17 02:55 | [8 empty] | No | S | Yes | IR150400 501 08/25/2021 |  |  |  | No | D - Dutible |  |  | Urgent | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000920650 30001351 SUMITOMO ELECTRIC INDUSTRIES LTD JP HITAKA/MINATO WORKS 5002280520 30005478 FURUKAWA ELECTRIC CO LTD JP CHIBA WORKS; POWER CABLE PLANT 5001318577 30003156 $$ DEMIRER KABLO TESISLERI SANAYI TR VE TICARET AS 5001272232 30000865 SAUDI CABLE COMPANY SA 5001336123 30000926 SAUDI MODERN COMPANY FOR CABLE SA INDUSTRY LIMITED (RIYADH CABLES) 5002430604 30005877 LS CABLE & SYSTEM LTD KR GUMI PLANT 5002581623 30006189 TAIHAN CABLE & SOLUTION CO LTD KR DANGJIN PLANT & DANGJIN INSTRUMENT 5002292579 30006177 SHENYANG FURUKAWA CABLE CO LTD CN 5002476712 30007746 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. 5002379189 30007138 DUBAI CABLE COMPANY (PVT) LTD AE 5002580008 30008237 BRANCH OF JEDDAH CABLES COMPANY SA 5001929481 30004952 BAOSHENG HIGH VOLTAGE CABLE CO LTD CN 5001871782 30004522 EGYTECH CABLES EL SEWEDY EG 5002043029 30001454 SUMITOMO ELECTRIC INDUSTRIES LTD JP OSAKA WORKS 5002159182 30005137 QINGDAO HANHE CABLE CO LTD CN 5003100359 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. | 1001023350000021IR150400HVcables.pdf
6.3 | CABLE; POWER; 5KV THROUGH 35 KV |  |  | Electrical cable; Medium Voltage Power Cable; 36kV (18/30)kV; single CU core; conductor size 500 SQ. MM; cable OD (66MM approx.); inner semi-conductor (conductor screen); XLPE insulation with nominal thickness 9.0MM approx. outer semi-conductor (insulation screen) as per IEC 60228. Dia over insulation 45MM approx.; S/C SHLD; Metallic Screen Metal SH; Double Galvanized Steel Armor; Black PVC Jacket; Temp. 90 Deg C max.as per 15-SAMSS-502. Marking Reel as per 15-SAMSS-502. Measure unit is in meters. Cable Length 2000m CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 KV THROUGH 35 KV SUPPLY;ANY CONDUCTO;COPPER CONDUCTO;XLPE OR EPR INSUL;POWER TYPE;15-SAMSS-502;NOTICE TO REQUISITIONER; THIS 9COM REQUIRES REQUISITION TEMPLATE FOR CREATING MATERIAL PO TEXT ACCESS TEMPLATE DATASHEETS UNDER ARAMCO STANDARD 15-SA REPLACE THIS MESSAGE WITH YOUR MATERIAL PO TEXT | Yes |  | SAR | each | 6000000797 | Z02F-813 TANAJIB POWER DISTRIBUTION DEPT | 2,000 |  | 265 |  | 2025-12-24 02:55 | 70 |  | 5002332034 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | No | S | Yes | IR150200 501 08/25/2021 |  |  |  | No | D - Dutible |  |  | Urgent | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000927184 30000598 JEDDAH CABLE COMPANY LIMITED SA 5000927185 30000865 SAUDI CABLE COMPANY SA 5000927186 30000926 SAUDI MODERN COMPANY FOR CABLE SA INDUSTRY LIMITED (RIYADH CABLES) 5000927190 30001855 THE OKONITE CO. INC. US 5000927191 30001856 THE OKONITE COMPANY US 5000927192 30001858 THE OKONITE COMPANY US 5002476711 30007746 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. 5002300525 30005137 QINGDAO HANHE CABLE CO LTD CN 5002379188 30007138 DUBAI CABLE COMPANY (PVT) LTD AE 5002580007 30008237 BRANCH OF JEDDAH CABLES COMPANY SA 5001920977 30004750 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO. LTD 5001871781 30004522 EGYTECH CABLES EL SEWEDY EG 5002332034 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. 5002159181 30005612 ELSEWEDY CABLES COMPANY LTD. SA 5002366569 30005611 AL-FANAR ELECTRICAL SYSTEMS SA 5001779380 30004402 OMAN CABLES INDUSTRY (SAOG) OM | 1001023350000031IR150200Formpdf06132021.pdf
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AM5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AM6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AM7: Answer Type: Text (multiple lines) Acceptable Values: Any Value