## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000381526 761402C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390696 711101C05000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001120897 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382717 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002983489 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | 5000383623 761419C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5000383515 761419C0025U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001328112 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000381527 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5000390697 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001308845 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5000382718 761404C02500U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002983490 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | 5000383624 SAUDI CABLE COMPANY ( SA - Jeddah ) | AF Afghanistan | 5000383516 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5001557383 THE OKONITE CO. INC. ( US - SANTA MARIA ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000381528 THE OKONITE COMPANY ( US - HOUSTON ) | 5000390698 THE OKONITE COMPANY ( US - HOUSTON ) | 5001328130 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000382719 SAUDI CABLE COMPANY ( SA - Jeddah ) | 5002983491 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | 5000383625 THE OKONITE COMPANY ( US - HOUSTON ) | AG Antigua/Barbuda | 5001277353 DA5LU19BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001557384 THE OKONITE COMPANY ( US - RICHMOND ) | We are currently at full capacity
|  | POE - Port of Export | 5001277336 DA5LU02BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001277362 HB3DU01GG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001894116 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5000382790 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5002983492 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | 5001301511 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | AI Anguilla | 5001755892 SAUDI MODERN COMPANY FOR ( SA - Riyadh ) | 5001557385 THE OKONITE COMPANY ( US - ORANGEBURG ) | Missing information / not enough information provided
|  |  | 5001893712 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775658 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002206248 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5000382791 THE OKONITE COMPANY ( US - HOUSTON ) | 5002983493 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | 5001327960 DA7LU19BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | AB Abu Dhabi | 5001893755 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001557388 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Other
|  |  | 5002143858 C210XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002158121 12154210 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002206249 THE OKONITE COMPANY ( US - RICHMOND ) | 5001277345 DB1LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5001893757 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AL Albania | 5002144054 C210XA11900SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001557389 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH )
|  |  | 5002157857 14515103 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002206250 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5001893738 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002144056 C213XA11900SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AM Armenia | 5002157890 13515219 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001894073 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN )
[5 empty] | 5002206253 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | 5002143879 C316XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5002157892 13515619 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AN Dutch Antilles | 5002332626 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5002205966 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT )
[5 empty] | 5002332762 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | 5002157880 14515310 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002332628 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | AO Angola |  | 5002364350 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
[5 empty] | 5002364507 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) |  |  |  | AQ Antarctica |  | 5002364351 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
[5 empty] | 5002364508 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) |  |  |  | AR Argentina |  | 5002364352 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
[5 empty] | 5002364509 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  | AS Samoa,American |  | 5002364353 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
[5 empty] | 5002527080 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) |  |  |  | AT Austria |  | 5002527062 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
[5 empty] | 5002589267 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) |  |  |  | AU Australia |  | 5002589259 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
[5 empty] | 5002983519 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) |  |  |  | AW Aruba |  | 5002983453 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2026-04-08 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | 10291494 TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | Printing Sales Quotation.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;15 (12/20) KV SUPPLY;3 CONDUCTO;70 SQ MM (138 MCM) CONDUCTO;12 STRANDS CONDUCTO;60.0 MM (2.362 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;5.5 MM (0.216 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;BLACK;PVC JACKET;4420 KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 0.5 MM STEEL TAPE ARMOR; FLAME RETARDANT. | Yes |  | SAR | Meter | 1000417186 |  | 175 | 2,000 |  | 70 |  | 2026-06-21 03:55 | 5002364509 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001120897 30000865 SAUDI CABLE COMPANY SA 5001328130 30000598 JEDDAH CABLE COMPANY LIMITED SA 5002364507 30004750 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO. LTD NUMBER - 5002364508 30005137 QINGDAO HANHE CABLE CO LTD CN NUMBER - 5002364509 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. NUMBER - 5002206248 30001855 THE OKONITE CO. INC. US 5002206249 30001856 THE OKONITE COMPANY US 5002206250 30001858 THE OKONITE COMPANY US 5002206253 30004402 OMAN CABLES INDUSTRY (SAOG) OM 5001327943 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER HB4YOD2G 5002332762 30005612 ELSEWEDY CABLES COMPANY LTD. SA NUMBER - 5001894116 30004522 EGYTECH CABLES EL SEWEDY EG 5002589267 30007746 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. NUMBER - 5001893692 10037887 EGYTECH CABLES EL SEWEDY EG 5001301487 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002198038 10020512 THE OKONITE COMPANY US 5002198039 10035589 OMAN CABLES INDUSTRY (SAOG) OM 5002587524 10058298 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. NUMBER - 5001308845 30000926 SAUDI MODERN COMPANY FOR CABLE SA INDUSTRY LIMITED (RIYADH CABLES) 5000380358 10013724 SAUDI CABLE COMPANY SA 5002526936 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002332579 10046468 ELSEWEDY CABLES COMPANY SA 5002364177 10037383 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO LTD 5002364178 10040262 QINGDAO HANHE CABLE CO LTD CN 5002364179 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. 5002527080 30005611 AL-FANAR ELECTRICAL SYSTEMS SA NUMBER - 5002980005 10062253 BRANCH OF JEDDAH CABLES COMPANY SA 5002983519 30008237 BRANCH OF JEDDAH CABLES COMPANY SA | 502175684100010115SAMSS50203272023.pdf
6.2 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;177.35 SQ MM (350 MCM) CONDUCTO;37 STRANDS CONDUCTO;67.1 MM (2.640 IN) CABLE OD;COPPER CONDUCTO;XLPE INSUL;2.92 MM (0.115 IN) INSUL TH;133% INSUL LV;EXTRUDED OVER CONDUCTOR S/C SHLD;STEEL WIRE ARMOR ARMOR;PVC JACKET;PER 15-SAMSS-502;7678 KG/KM (5160 LBS PER 1000 FT) LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MC TYPE;FOR DIRECT BURIAL; CABLE TRAY;15-SAMSS-502;DRY AND WET LOCATIONS; IMPERVIOUS CONTINUOUS CORRUGATED ALUMINUM SHEATH; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT | No | We don't carry a compatible part/material | SAR | Feet | 1000416923 |  |  | 1,700 |  |  |  | 2026-07-19 03:55 | [6 empty] | Normal/staged | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002197849 10004926 NEXANS NORWAY AS NO 5002197852 10024590 PRYSMIAN POWERLINK SRL IT 5002979975 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002979976 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. 5002979977 10046468 ELSEWEDY CABLES COMPANY SA 5002979978 10058298 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. 5002979979 10062253 BRANCH OF JEDDAH CABLES COMPANY SA 5002983489 30005611 AL-FANAR ELECTRICAL SYSTEMS SA 5002983490 30005612 ELSEWEDY CABLES COMPANY LTD. SA 5002983491 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. 5002983492 30007746 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. 5002983493 30008237 BRANCH OF JEDDAH CABLES COMPANY SA | 502182420500010115SAMSS50203272023.pdf
6.3 | WIRE; BUILDING; 450-750V; |  | WIRE ELECTRICAL; 50 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;12.5 MM OD;490 KG/KM LG;TR 85 DEG C MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | Yes |  | SAR | Meter | 1000420052 |  | 25.5 | 1,000 |  | 70 |  | 2026-07-05 03:55 | 5002158121 12154210 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000390696 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 05000 - U0 GN-8 5002158121 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12154210 SUPERSEDED NUMBER 12151210 5001775658 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001277362 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER HB3DU01GG 5000390697 10013724 SAUDI CABLE COMPANY SA 5000390698 10020512 THE OKONITE COMPANY US
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;25 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;25.8 MM (1.016 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;1390 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED BLACK; YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417935 |  | 60 | 500 |  | 70 |  | 2026-12-13 02:55 | 5002157880 14515310 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT | MOQ is 1000m |  | Manufacturer Part Number Text : 5000382718 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-04C-02500-U0 BK8 5001893738 10037887 EGYTECH CABLES EL SEWEDY EG 5002157880 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515310 SUPERSEDED NUMBER 14510310 5002143879 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C316XA10400SBK08IMR 5001277345 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DB1LU04BG 5000382719 10013724 SAUDI CABLE COMPANY SA 5000382791 10020512 THE OKONITE COMPANY US 5000382790 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000382717 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.5 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;19 CONDUCTO;29.3 MM (1.154 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 19. | Yes |  | SAR | Meter | 1000418164 |  | 60 | 50 |  | 70 |  | 2026-02-11 02:55 | 5002157892 13515619 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | MOQ is 2000m |  | Manufacturer Part Number Text : 5000383623 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614 - 19C - 00600 - U0 BK8 5001327960 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA7LU19BEG 5001893757 10037887 EGYTECH CABLES EL SEWEDY EG 5001301511 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002157892 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 13515619 SUPERSEDED NUMBER 13512151 5002144056 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C213XA11900SBK21IMR 5000383624 10013724 SAUDI CABLE COMPANY SA 5000383625 10020512 THE OKONITE COMPANY US 5002332628 10046468 ELSEWEDY CABLES COMPANY SA
6.6 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;35 SQ MM (69.1 MCM) CONDUCTO;7 STRANDS CONDUCTO;42.9 MM (1.69 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;2.92 MM (0.115 IN) INSUL TH;133% INSUL LV;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 2.0 MM (0.080 IN) JKT THK | Yes |  | SAR | Feet | 1000414842 |  | 94 | 1,000 |  | 70 |  | 2026-07-19 03:55 | 5002364353 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ is 1000m = 3280f |  | Manufacturer Part Number Text : 5001557388 30000865 SAUDI CABLE COMPANY SA 5001327919 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER HB1WOD2G 5002364350 30004750 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO. LTD 5002364351 30005137 QINGDAO HANHE CABLE CO LTD CN 5002364352 30005612 ELSEWEDY CABLES COMPANY LTD. SA 5002364353 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. 5001328112 30000598 JEDDAH CABLE COMPANY LIMITED SA 5002205966 30004402 OMAN CABLES INDUSTRY (SAOG) OM 5001557384 30001856 THE OKONITE COMPANY US 5001557383 30001855 THE OKONITE CO. INC. US 5001557389 30000926 SAUDI MODERN COMPANY FOR CABLE SA INDUSTRY LIMITED (RIYADH CABLES) 5001894073 30004522 EGYTECH CABLES EL SEWEDY EG 5001557385 30001858 THE OKONITE COMPANY US 5002589259 30007746 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. NUMBER - 5001893614 10037887 EGYTECH CABLES EL SEWEDY EG 5001556685 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002197619 10020512 THE OKONITE COMPANY US 5002197623 10035589 OMAN CABLES INDUSTRY (SAOG) OM 5002587498 10058298 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. NUMBER - 5001556684 10013724 SAUDI CABLE COMPANY SA 5002526896 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002364039 10046468 ELSEWEDY CABLES COMPANY SA 5002364038 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. 5002364036 10037383 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO LTD 5002364037 10040262 QINGDAO HANHE CABLE CO LTD CN 5002527062 30005611 AL-FANAR ELECTRICAL SYSTEMS SA 5002979939 10062253 BRANCH OF JEDDAH CABLES COMPANY SA 5002983453 30008237 BRANCH OF JEDDAH CABLES COMPANY SA | 502190869000010115SAMSS50203272023.pdf
6.7 | CABLE; ELECTRICAL; LOW VOLTAGE; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;19 CONDUCTO;21.9 MM (0.862 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF MANU FACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;BS 6746 TYPE 5;IEC 228 CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR BS 6746 TYPE 5;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; RESISTANT TO ABRASION; MOISTURE ACID; OIL & SUN LGHT; | Yes |  | SAR | Meter | 1000418119 |  | 35.5 | 70 |  | 70 |  | 2027-03-02 02:55 | 5002157890 13515219 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ is 2000m |  | Manufacturer Part Number Text : 5000383515 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614 - 19C - 0025 - U0 BK8 5001893755 10037887 EGYTECH CABLES EL SEWEDY EG 5001755892 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002157890 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 13515219 SUPERSEDED NUMBER 13512129 5002144054 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA11900SBK21IMR 5001277353 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA5LU19BEG CODE NUMBER DA5LU19BEG 5000383516 10013724 SAUDI CABLE COMPANY SA 5002332626 10046468 ELSEWEDY CABLES COMPANY SA
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;165 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417609 |  | 6.8 | 2,850 |  | 70 |  | 2027-02-25 02:55 | 5002157857 14515103 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000381526 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-02C-00250-U0 BK8 5001893712 10037887 EGYTECH CABLES EL SEWEDY EG 5002157857 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515103 SUPERSEDED NUMBER 14510103 5002143858 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA10200SBK01IMR 5001277336 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA5LU02BEG 5000381527 10013724 SAUDI CABLE COMPANY SA 5000381528 10020512 THE OKONITE COMPANY US
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value